| Jefferson Lab Alignment Group Data Transmittal |  |  |  |
| --- | --- | --- | --- |
| TO: D. Higinbotham, J. LeRose |  | DATE: 17 Feb 2011 |  |
| FROM: J. Dahlberg | Checked: |  | # : A1378 |

DETAILS: 						   			 Data: Aalign\hadron\2011\H020411a

Below are the results from the SRC Big Bite magnet and detector survey carried out on Feb 04, 2011.  A right handed coordinate system was established based on the ideal target center and rotated 64.4 degrees clockwise from straight ahead beam.  A +X is to the beam left, a +Z is downstream, and a +Y is up.  A +yaw angle is counter clockwise looking from above and a +pitch angle is ccw looking from the beam right side.  Values are in millimeters and degrees.  The detector location is to the upstream set of detectors.  The Z coordinate is to a bisected plane from the upstream and downstream faces, the Y is to the vertical center, and the X is to the center of the support frame.  Also included are the fiducial points surveyed for the magnet and detector stack based on the ideal target center and straight ahead beam.

LOCATION	     Z		  X		   Y		YAW		PITCH		ROLL

MAGNET CL 	1448.50	2.34		-1.01		-0.241		-0.346		 0.095

DETECTOR	2458.7		0.9	           419.9		 0.429		25.506		-0.059

FIDUCIALS	      Z		      X		      Y

BBMAG1	 -123.98	-1696.35	  919.65

BBMAG3	  185.36	-2039.97	  311.16

BBMAG4	    97.53	-2107.03	 -291.16

BBMAG5	 -126.20	-1684.38	 -892.61

BBMAG6	  108.81	-2180.16	 -896.00

BBDETA	1243.72	-3903.28	 -178.81

BBDETB	2280.38	-3400.21	 -181.05

BBDETC	1802.89	-3048.74	  921.09

BBDETD	1262.53	-3313.61	  917.95

BBDETE	  840.87	-3072.04	1759.44

BBDETF	1876.06	-2568.49	1757.02

BBDETG	1308.84	-1954.63	1261.27

BBDETH	1612.23	-2570.99	 -178.71

BBDETJ	1006.06	-2869.22	 -184.57

BBDETK	  703.67	-2248.80	1263.78