Jefferson Lab Alignment Group

DATA TRANSMITTAL

TO:	Ed Folts, Mark Stevens				DATE: Jan. 05, 2001

FROM:     Jim Dahlberg	                       		Checked:		# :  A647

DETAILS:

Below are the results of the survey performed on the Hall A Electron bogie wheel.

The yaw angle of the wheel is relative to a line formed between the wheels

centerline and the spectrometer central bearing.

Ideal:	         0.25 deg.  (toe out as per drawing 65311-D-16185)

`	Yaw angle : 0.34 deg.  (toe out)

Diff :	         0.09 deg.  (toe out)