Jefferson Lab Alignment Group

DATA TRANSMITTAL

TO: J. Gomez, J.P. Chen, N. Liyanage, J. LeRose	  DATE: 12 Aug 2001

FROM:      C.J. Curtis	                     		         	  Checked:			# : A699

DETAILS:

Below are the results from the spectrometer pointing surveys carried out on the Electron and Hadron arms on August 31st.

================ RESULTS =============== E083101A

The central ray of the spectrometer is at  -15.798 degrees.

It is missing the defined target center by   1.61 mm   upstream,

and   -0.09 mm vertically (positive = up).

If the offset is corrected by secondary alignment, the

spectrometer will be at  -15.809 degrees.

*.9pr = 0.114		*.3dd = 1.03

================ RESULTS =============== H083101A

The central ray of the spectrometer is at   15.822 degrees.

It is missing the defined target center by   2.89 mm downstream,

and   -0.36 mm vertically (positive = up).

If the offset is corrected by secondary alignment, the

spectrometer will be at   15.803 degrees.

*.9pr = 0.098		*.3dd = 1.42