## Slide 1
Pion Tagged Deep Inelastic Scattering
Thia Keppel
SBS Collaboration Meeting
August 2019
Notes: 1

## Slide 2
Semi-inclusive deep inelastic scattering technique
  but not to access the current regime
“Tagging” facilitates effective targets not readily found in nature
Tagged DIS provides novel probe of partonic structure of these effective targets
Three examples:
Neutron
Pion
Kaon (Rachel’s talk)
Tagged Deep Inelastic Scattering (TDIS)
SBS Collaboration Meeting
August 2019

## Slide 3
Abundant Evidence for Some Mesonic Content of the Nucleon
Pion Form Factor
Blok et al., Phys.Rev. C78 (2008) 045202
Neutron Charge Density
Pasquini and Boffi, Phys. Rev. D 76, 074011 (2007) Kelly, Phys. Rev. C 66, 065203 (2002)
Partially conserved axial current, chiral quark models, vector meson dominance models - substantial, successful theory development
In contrast, scant experimental data – do not know magnitude of mesonic content
How does mesonic content affect structure functions, parton distributions?

## Slide 4: Tagged Deep Inelastic Scattering: Basic Experimental Approach
detect scattered electron
DIS event – reconstruct missing mass W, and also MX, of undetected recoiling hadronic system(s)
incoming electron
detect outgoing target nucleon
A or N
incoming target
N’
Describe with standard DIS variables xBj, Q2, W2, plus:
Mx = mass of system X
t = four-momentum transfer squared at the nucleon vertex
This is the “tag”!

## Slide 5: Example 1: TDIS to access neutron valence structure ”BONuS” Experiment at Jefferson Lab – use fixed target tagging to create an effective free neutron target
p
p
n
Deuteron Target
Measure DIS electron in coincidence with proton tag
“Hard” scattering inelastic event (high Q, W)
Proton remains intact
Low momentum proton = nucleons barely off shell
Neutron target!

## Slide 6: The BONuS experimental approach: use low mass radial TPC detector / target in magnetic field to TAG “spectator” proton at (very) low momenta (~65 MeV/c) and large angles (> 90o in lab) ….difficult but doable
Bound / free neutron structure
O (1%)
Final state interactions
O (5%)
V. Palli, C. Ciofi degli Atti, L.P. Kaptari, C.B. Mezzetti, M. Alvioli
Phys.Rev. C80 (2009) 054610
W. Melnitchouk et al, Phys. Lett. B 335(1994) 11
(updated 2010)

## Slide 7: BONUS effective neutron target via TDIS achieved!
> 200 neutron data points
Nucl. Instrum. Meth. A592 (2008) 273-286
Phys. Rev. Lett. 108 (2012) 199902
Phys. Rev. C89 (2014) 045206 – editor’s suggestion
Phys. Rev. C92 (2015) 1, 015211
Phys. Rev. C91 (2015) 5, 055206
E = 4.223 GeV
<Q2> = 1.19 (GeV/c)2
Textbook Physics
F2D
F2n
F2n/F2p

## Slide 8: Example 2: TDIS to access pion structure function - use Sullivan process scattering from nucleon-pion fluctuation
detect scattered electron
DIS event – reconstruct x, Q2, W2, also MX (Wp) of undetected recoiling hadronic system
pion target (undetected)
Initial state nucleon
tagged outgoing target nucleon
incoming electron
t = four-momentum transfer squared at the nucleon vertex

## Slide 9
Extrapolation
to the pole
Need range of low momentum protons
The ratio of off-shell to on-shell pion electromagnetic form factor
Si-Xue Qin, Chen Chen, Cedric Mezrag, Craig D. Roberts Phys.Rev. C97 (2018) no.1
“…we demonstrated that for v < vS ~ 31, which corresponds to −t < ~0.6 GeV2….the off-shell correlation serves as a valid pion target.”
Within ~10% at JLab TDIS kinematics, best at lowest t values
~100
MeV/c
GeV/c
pp
Like BONUS, a challenging low p proton tag experiment

## Slide 10: TDIS+BONUS Technique Provides Sullivan Process scattering from neutron-pion fluctuation
detect scattered electron – large acceptance a plus
DIS event – reconstruct x, Q2, W2, also MX of undetected recoiling hadronic system
Want charged pion target (undetected)
need fluctuating nucleon to be a neutron…….
…..for detected nucleon to be a proton
p
p
detected spectator proton tags neutron target (BONUS experiment technique)
detecting two protons with common vertex in coincidence tags “pion” target!
Note: only need one p for hydrogen target
Incoming electron – Signal is orders of magnitude smaller than inclusive DIS – need high luminosity
Detected protons need to be low momentum
- Tag target hadron
- Extrapolate to pole
Barely off-shell neutron
neutron in deuteron target

## Slide 11
Pion Structure Function Measurements
Knowledge of the pion structure function is very limited:
  HERA TDIS data - at low x
  Pionic Drell-Yan from nucleons in nuclei - at large x
x_pi
Initial observations:
PDF ~ (1-xp) as xp->1
Agrees with structureless model
Differs from pQCD prediction of (1-xp)2

## Slide 12: Web-based Self-Serve Pion PDF: More Large x Concern
From combined HERA TDIS Leading-Neutron and Drell-Yan analysis…
Web-based self-server performs a combined data analysis – can test sensitivity to new data
Github: https://github.com/JeffersonLab/jamfitter
Jupyter notebook: https://jupyter.jlab.org/
P.C. Barry, N. Sato, W. Melnitchouk, C-R Ji
arXiv: 1804.01965 (2018)
Tension at large x!
Need new data!
Notes: 12

## Slide 13: JLab Hall A TDIS Experiment
Hall A with SBS:
High luminosity,
50 mAmp,
L = 3x1036/cm2 s
Large acceptance
~70 msr
Important for small cross sections
proton tag detection in GEM-based mTPC at pivot
e- beam
mTPC inside superconducting solenoid
Scattered electron detection in Super Bigbite Spectrometer (SBS)

## Slide 14: SBS Electron Detection
MSU refurbishing in ESB
NIM A 537 (2005) 562
217 cm x 400 cm active area
33 layers (17 + 16)
Time resolution ~ 0.25 ns
Energy resolution 7.5%/E1/2
p- rejection factor ~ 10-20
GEANT simulation
CLAS6 Large Angle Calorimeter
SBS SIDIS (HERMES) RICH
NIM A479 (2002) 511
14.6 GeV e-
aerogel
1.5 GeV p-
Gas radiator: C4F8
Group small PMTs, TDC readout
Nph.e. ~ 12 in the 5x5 PMT group
Combine to form electron trigger
+ electron PID

## Slide 15: Projected Results – Pion Structure Function from TDIS at JLab
- Large x structure of the pion is of particular interest, verify (?) resummed Drell-Yan results
- Large x, low Q complementary to HERA low x, high Q via evolution
Projected data in xp
Low t extrapolation to the pion pole
J. R. McKenney, et al., Phys. Rev. D93 (2016), 054011
T. J. Hobbs et al, Few Body Syst. 56 (2015) no.6-9

## Slide 16
Status
C2 approval
- Physics rating, days approved – no need to return to PAC
- Full approval requires passing laboratory technical review
Concerns:
  Thin, cold target – now room temperature (D. Dutta)
  (Nitrogen) cold detector (K. Gnanvo, N. Liyanage)
  High rate data acquisition and tracking
    New detector design (K. Gnanvo, N. Liyanage)
    Simulation (J. Annand, E. Fuchey, R. Montgomery, A. Tadepalli)
    Streaming data acquisition (E. Jastrzembski, E. Pooser)
    Tracking (R. Montgomery, A. Tadepalli, S. Wood)
SBS Collaboration Meeting
August 2019
More going on (LAC, magnet,…) and more people helping – just a snapshot!

## Slide 17
Summary
TDIS provides unique access to effective neutron, pion, kaon.. targets
- Nucleons and mesons are the basic building blocks of matter.
- Critical, fundamental hadron structure measurements!
TDIS can directly probe the meson cloud of the nucleon
- Direct measurement of nucleon-meson fluctuation component of DIS
- Access pion and kaon structure functions
Very few experiments to date
- Neutron at JLab BONUS, pion at HERA
- Neutron and pion, also kaon, with SBS TDIS
- TDIS can perhaps also provide a new window on neutron DVCS, perhaps highest Q n/p, other ideas?….
Challenging measurement - working towards full approval
SBS Collaboration Meeting
August 2019

## Slide 18: TDIS Kinematics – optimized for meson cloud
High W2
- High Mx2
- DIS!
x range ~ 0.1
1 < Q2 < 2 GeV2
All data obtained simultaneously at one E = 11 GeV setting, only a target change – will run hydrogen and deuterium (neutron)
Low t, high (1-z)