## Slide 1: SBS Monte Carlo Simulation—status and results
Andrew Puckett
University of Connecticut
SBS Winter Collaboration Meeting
February 27, 2019

## Slide 2: Outline
Status of g4sbs software package and documentation
Review and discussion of existing and missing geometry/event generators/features
Highlights of g4sbs simulation studies/results
Near-term simulation priorities

## Slide 3: g4sbs Package Status
Source code is maintained in a github repository controlled by JLab: https://github.com/JeffersonLab/g4sbs
Master branch is most stable/full-featured
Active development of the core framework and geometries of the “core” experiment geometries is done in uconn_dev
uconn_dev merged into master as of Feb. 20, 2019.
  First update to master since summer 2016—2.5 years worth of uconn_dev commits
18 branches of g4sbs currently exist, many (most?) obsolete/defunct.
Six “forks” of g4sbs exist, mostly not in active development (according to repo)
Glasgow group maintains a separate GEANT4 simulation derived from an older version of g4sbs, with GEANT4 source code modifications to accommodate models for spin-dependent nuclear scattering physics
  Glasgow simulation is not part of g4sbs repository; not publicly available.

## Slide 4: G4SBS team (core group)
Name | Institution | Major Contributions/Responsibilities
Seamus Riordan | ANL | Github repository creation, GEANT4 application framework, cmake build system, BB+SBS magnets, magnetic field implementation, event generators, GEMs, field clamps, targets, beamline, example scripts, UI commands, etc.
Andrew Puckett, Eric Fuchey, Freddy Obrecht (former) | UConn | RICH, GEP beamline and scattering chamber, CDET, LAC, dynamic ROOT Tree output w/STL vectorization of array-valued branches, sensitive detector classification, organization and signal processing (hit aggregation), LUND/PYTHIA interface, more event generators, GEP ECAL, documentation, ROOT macros for analysis of simulation output, more example scripts, more UI commands, GMN/GEN beamline, GMN scattering chamber, GRINCH, BB shielding, GEP ECAL, TDIS geometry
Juan Carlos Cornejo | CMU | HCAL, GMN event generators, command-line interface improvements, example script organization and maintenance, more UI commands
John Annand, David Hamilton, Rachel Montgomery | Glasgow U | GEN-RP simulation, TDIS simulations, BB timing hodoscope
Ole Hansen | JLab | Hall A software, repository maintenance, write access control

## Slide 5: Documentation wiki and status
https://hallaweb.jlab.org/wiki/index.php/Documentation_of_g4sbs
As comprehensive as possible
Last major update summer 2016
Most information is still accurate
Update in progress to reflect most recent additions/modifications
Some UI commands added, minor modifications and additions to ROOT output file.

## Slide 6: Four core experiments: ”inventory” of (default) simulation geometry

## Slide 8: GMN simulation inventory
Existing: Beamline (both configurations), LH2/LD2 target, scattering chamber, SBS magnet, HCAL, CDET (layout not final), BigBite magnet, GEMs, GRINCH, PS, hodoscope, shower, final TOSCA map for 13.5 GeV2, BigBite field map
Missing: TOSCA maps for all configurations other than highest Q2
Details to be finalized: field clamps (if any), exact target cell geometry, CDET layout, local shielding layout (if any), check simulation default layout against final CAD design

## Slide 9: GEN simulation inventory
Existing: BigBite magnet and detectors, HCAL, SBS magnet, 3He target, BigBite field map
Missing: beamline details (design exists, just needs to be imported), (simulation-relevant) target details (again, design exists), field clamps, TOSCA maps for all four configurations
Details to be finalized: see ”missing”, + detailed 3He target cell geometry w/collimators, metal end windows/etc.

## Slide 10: GEP simulation inventory
Existing: beamline + scattering chamber w/snout + basic LH2 target cell geometry + SBS magnet + field clamps + pole shims + lead shielding + FT+FPP1+FPP2 GEMs + CH2 + HCAL + CDET + ECAL + TOSCA map for 12 GeV2 + thermal annealing model
Missing: TOSCA maps for 5 and 8 GeV2, SBS sieve slit
Details to be finalized: Final ECAL supermodule layout and lead-glass blocks, final CDET layout, final GEM+CH2 layout

## Slide 11: SIDIS simulation inventory
Existing: BigBite + SBS magnet + SBS GEMs + RICH + HCAL + 3He target + BigBite field map
Missing: Beamline, (simulation-relevant) target details, TOSCA maps (design for most of these missing geometries doesn’t exist yet for SIDIS), field clamps, etc.
Details to be finalized: finalize SIDIS layout and specifications—minimize differences from GEN wrt beamline, target, etc with notion of running SIDIS after GEN w/minimal config. changes
 |  |  |  |  |  | Beam Line Configuration #
11.0 | 30.0 | 1.55 | 14.0 | 2.8 | 8.5 | 2
8.8 | 30.0 | 1.55 | 14.0 | 2.8 | 8.5 | 2
 |  |  |  |  |  | Beam Line Configuration #
11.0 | 30.0 | 1.55 | 14.0 | 2.8 | 8.5 | 2
8.8 | 30.0 | 1.55 | 14.0 | 2.8 | 8.5 | 2

## Slide 12: “Built-in” event generator inventory
“Elastic”—elastic ep or quasi-elastic 2H(e,e’N), 3He(e,e’N).
  Includes realistic Fermi smearing, but not binding effects.
  Includes nucleon spin tracking in magnetic field
“Inelastic”—Christy-Bosted fit of inclusive structure functions, assumes hadronic final state, isotropic decay in photon-nucleon rest frame
“DIS”—CTEQ6 PDFs, Callan-Gross relation assumed
“beam”—throw beam electrons at the target, with uniform “raster” pattern; no beam angular or momentum spread included yet, but easy enough to do.
“SIDIS”—CTEQ6 PDFs, DSS2007 FFs, Callan-Gross relation assumed, flavor-independent Gaussian transverse momentum widths for PDF and FF
“WISER”-–Wiser inclusive pion cross sections
“gun”—Generic particle gun. All GEANT4 particle types, user-specified kinematics/generation limits. Can include polarization for spin tracking
“PYTHIA”—PYTHIA6.4 interface (actually doesn’t directly call PYTHIA, but loads events from a ROOT tree in a LUND-style format, which could in principle be prepared by any physics generator.
“ESEPP” (Freddy’s gen branch only): Radiatively corrected elastic ep event generator. Doesn’t include pre-vertex external radiative corrections, E loss and multiple scattering.
New: option to turn on rejection sampling to produce events distributed according to cross section (as opposed to throwing flat in phase space volume and weighting by cross section)

## Slide 13: Selected results from g4sbs
Recent and not-so-recent…

## Slide 14: Detailed simulation of RICH PID performance
HERMES/SBS RICH @UConn, Sept. 2014
GEANT4-simulated RICH performance in SBS
GEANT4 simulated RICH PID performance in SBS for π/K/p: https://hallaweb.jlab.org/12GeV/SuperBigBite/SBS-minutes/2014/Puckett_RICH_MC_update.pdf

## Slide 15: C16/ECAL Thermal Annealing Simulation
Longitudinal segmentation of C16 lead-glass to implement depth-dependent radiation-induced darkening

## Slide 16: Projected ECAL Performance
Left: ECAL photoelectron yield vs. energy deposition, undamaged case
Right: ECAL photoelectron yield vs. energy deposition, thermal equilibrium state in GEP 12 GeV2 point
Average ratio equilibrium/undamaged = (96.3 +/- 0.2) %
More details in final report to DOE (see Mark's final report to DOE (requires login) )

## Slide 17: GEP GEM rates vs. target thickness,
For a given beam current, GEM background rate in FT increases non-linearly with target thickness
This is an expected result, as the primary beam and the secondary interactions of Bremsstrahlung photons contribute to the background rates
Rates vs. thickness fitted with a power-law:
For the front tracker, the power appears to be about 3/2.
Results imply that for a given luminosity, higher current on a thinner target leads to a better background situation

## Slide 18: GEP Trigger Logic Definition and Simulations

## Slide 19: GEP Trigger Analysis—Latest ECAL geometry
Left—near-final layout of GEP ECAL, color-coded by “level 1” sums—2 (horizontal) x 4 (vertical) lead-glass blocks, non-overlapping. Note that these don’t neatly correspond to 3x3 ”supermodules”
Right—color-coded by “level 2” sums. L2 sums are a combination of 2 (horizontal) x 2 (vertical) L1 sums, with 1 L1-sum of horizontal and vertical overlap with adjacent L2 sums.
Non-rectangular geometry is awkward, but straightforward for trigger organization.
Every block is included in at least one L2 sum with at least 17 blocks.
Total of 213 independent trigger logic sums—overlap increases efficiency with high threshold we want to use

## Slide 20: ECAL Trigger Efficiency vs threshold, Q2
ECAL Trigger Efficiency vs. threshold, expressed as a fraction of the elastic peak position, for ”final” ECAL layout/logic
ECAL Trigger Efficiency vs. Q2, for events with a proton track in the FT.

## Slide 21: Reminder: HCAL Trigger analysis with “L2” logic
Signal in HCAL logic group with max signal for elastic ep events, with different cuts on FPP event topology (top left)
Top right: HCAL trigger efficiency vs. threshold for different event topologies
Bottom right: Dependence of efficiency on FPP scattering angle in FPP1 (2)

## Slide 22: Correlated ECAL-HCAL trigger efficiency
For events with a “good” scattering in FPP1 (left) and events with a “good” scattering in FPP2 (right).

## Slide 23: PYTHIA: GEP Singles and Coincidence Trigger rates with “L2” HCAL logic
Top left: ECAL trigger rate vs threshold
Top right: HCAL L2 trigger rate vs threshold (based on global OR of all possible 4x4 sums of HCAL signals)
Bottom left: real coincidence rate (PYTHIA6 events) vs ECAL/HCAL thresholds.
TO DO: analysis of accidentals (not trivial for correlated coincidence trigger with many overlapping logic combinations)

## Slide 24: FPP FOM considerations
 | Full FPP2 CH2 thickness | 50% FPP2 CH2 thickness | 75% FPP2 CH2 thickness
FPP1 rate, 0.4 < theta < 12 deg. (Hz) | 1.66 | 1.92 | 1.85
FPP2 rate, 0.4 < theta < 12 deg. (Hz) | 0.93 | 0.75 | 0.77
Total ”good event” rate | 2.59 | 2.67 | 2.62
Ratio to default scenario | 1 | 1.03 | 1.01

## Slide 25: SBS GEP Optics and Spin Transport

## Slide 26: SBS Optics
New formalism for momentum reconstruction: Expand the product . For non-focusing dipole spectrometer like SBS, with approximately uniform field integral, this quantity is almost constant within the acceptance. Trajectory bend angle is easily reconstructed, then . This expansion converges very rapidly: a 4th-order fit gives accuracy well below intrinsic resolution over entire phase space.

## Slide 27: SBS Optics: Angle, vertex, momentum resolution

## Slide 28: SBS forward optics expansion
Forward optics also needed to translate electron arm reconstructed track into a search region for elastically scattered protons in the SBS FT

## Slide 29: SBS Forward Optics: resolution of “fp” coordinates and angles

## Slide 30: SBS Optics—”physics angles”, proton angle-momentum correlation, etc.

## Slide 31: SBS Spin Transport—updated formalism
Precession angle is nearly constant within SBS acceptance as , except at rather small momenta
Non-focusing dipole spectrometer  deviations from ideal dipole approximation are small
Reconstructed target and focal plane trajectories define a plane—assume proton trajectory bend takes place entirely in this plane
”Modified dipole approximation” (MDA) = rotate spin by (absolute) or (relative) about the unit normal vector to the reconstructed bend plane.
Expand deviations of spin transport matrix elements from MDA in a power series in the target trajectory parameters
Only 15 expansion are terms needed to achieve a good description of SBS spin transport for protons over the 2-11 GeV momentum range
Use proton gun generator with equal numbers of protons starting with “pure X”, “pure Y” and “pure Z” polarizations
Track proton spins all the way to SBS FT

## Slide 32: SBS Spin Transport—Quality of 2nd-order fit

## Slide 33: GEP electron arm reconstruction and FT track search constraint

## Slide 34: Electron Arm Reconstruction—ECAL Clustering
Note: pure elastic ep events, no background!
Curiously, the “missing” energy fraction is about 15% on average. Where is it going? Resolution still about 6%

## Slide 35: ECAL final shower coordinate resolution
Note: y offset of ~7.5 mm results from vertical deflection in SBS fringe field

## Slide 36: CDET Reconstruction
Search for CDET hits within of ECAL shower cluster
Compute y coordinate at each CDET plane from energy deposition-weighted average strip y position

## Slide 37: Projecting expected elastically scattered proton track to SBS FT—with and without vertex information

## Slide 38: FT track projections vs. true vertex z position
Electron angles reconstructed from ECAL/CDET assuming

## Slide 39: ECAL shower coordinates—measured vs SBS predicted
Top row: using . Bottom row: using

## Slide 40: GEP electron arm constraint to FT tracking—conclusions
SBS forward and backward optics formalism developed, stable
GEP electron arm basic reconstruction and calibration algorithms written
Without knowing vertex z coordinate, ECAL+CDET information localizes elastic proton track to within an area of , slopes to within and
GEP electron arm has no sensitivity to the vertex z coordinate, BUT:
  Once ECAL shower coordinate is fixed, there is a one-to-one correspondence between vertex z coordinate and electron scattering angle, and therefore also proton scattering angle/momentum/etc.
If the vertex coordinate is known, ECAL shower coordinate predicts FT track coordinates to within ~ , slopes to within ~. Area of search region at each plane is of order 1 cm2.
This suggests a tracking strategy in which we divide the target length into an appropriate number of bins in vertex z coordinate, scan the assumed value of vertex z along the length of the target, and search for tracks within the narrow allowed region for elastic protons implied by a particular choice of vertex z. This should minimize the combinatorics and speed up tracking, and lead to cleaner results.
For each bin in vertex z, we record the number of “good” FT 2D hits/planes/track candidates found, and then we do target reconstruction, perhaps some kind of kinematic fitting to choose “best” quantities.
Use tight chi^2 cuts, requirements on agreement with exclusivity requirements, etc.

## Slide 41: Near-term simulation priorities
Finalize SIDIS layout—minimize deviations from GEN with the idea of running SIDIS after GEN (before GEP)
Finish simulation digitization (interface to SBS-offline reconstruction code)
Put as much brainpower on the GEP tracking problem as possible (GEP PAC47 jeopardy, UVA “UV” GEM project)
Carry out full simulated experiment analysis for GMN with realistic signal and superimposed background, test offline reconstruction (see Seamus’ talk)

## Slide 42: Backup

## Slide 43: ECAL-HCAL Kinematic Correlations in “Level 2” Coincidence Trigger
Implement ep angular correlations in the coincidence trigger, by listing for each HCAL trigger sum all ECAL trigger sums exceeding 0.1% of the total event rate

## Slide 44: Note on elastic event rates and FOM
Total FT (10.5 < Q2 < 14 GeV2): ~25 Hz
Total FPP1 (10.5 < Q2 < 14 GeV2): 12 Hz (including small-angle Coulomb)
Total FPP2 (10.5 < Q2 < 14 GeV2): 5 Hz (including Coulomb)
If HCAL trigger efficiency for FPP1 events is 70% and FPP2 efficiency is 90%, the total “good event” rate is:
  Rate = 0.7*12 Hz + 0.9 * 5 Hz = 12.9 Hz
Suppose instead that we only used one FPP, with an efficiency of 90%. Then we would have:
  Rate = 0.9*12 Hz = 10.8 Hz
Therefore, efficiency gain from using double-FPP in SBS is about 1.2, not ~1.5 as in GEp-III.
I have assumed that the angular distribution and the average analyzing power are the same for both FPPs

## Slide 45: SBS Forward Optics: Recon. Vs. True

## Slide 46: SBS Optics: Correlation between “recon” and “true” quantities

## Slide 47: SBS Spin Transport—MDA + 2nd-order corrections
Only 15 expansion terms needed to achieve a good description of SBS spin transport for protons over the 2-11 GeV momentum range

## Slide 48: C16 Individual block spectra
Left: Simulated number of photoelectrons in C16 blocks, elastic events
Right: Actual data from prototype (assumption of identical spectra in “undamaged” state, validated by GEANT4, used to simplify gain matching)

## Slide 49: C16 Signal Reduction after calibration of model