Instrumentation Request List for Experiment E06-007

Beam

Polarization [%]  					n/a

Beam polarimetry (Compton/Møller) 		n/a

Helicity flip scheme (delayed/quartet/duo)		n/a

Energy range [GeV]					2.775 GeV

Energy measurement (Arc/EP)			yes

Current range [µA]					90 uA

Spot size (h x v) [] [µm]				h < 200, v < 100

Raster size (square/round) (h x v/ø) [mm]		4x6 (square)

Energy spread []					<2.5x10-5

Energy lock						yes

Targets (specify thickness)

Photon radiator					no

LH2 (4/15/20 cm)					no

LD2 (4/15/20 cm)					no

Helium-3/4 (4/10/15/20 cm)				no

Target ladder angle (w.r.t. beam)			30 deg

Solid targets (specify each)				208Pb (0.5 mm thick, 1” x 1”)

12C, BeO

Spectrometers (specify required detectors)

HRS-L	HRS-R

Angle range [°] fixed at 20.37 deg	Angle range [°] 25 – 85 deg

Momentum range [GeV/c] 2.366 GeV/c	Momentum range [GeV/c] 0.989 GeV/c

VDC1	VDC1

VDC2	VDC2

S0	S0

S1	S1

Gas Cerenkov (short)	A1, A2 (Aerogel Cerenkov)

S2 (Prefer S2m)	S2 (Prefer S2m)

NaI

Preshower/Shower	Preshower/Shower

Trigger/DAQ

Coincidence/single

Define trigger

T5 coincidence, T1 electron arm single, T3 proton arm single,

T2 only electron arm S1 (or electron arm S2), T4 only proton arm S1 (or proton arm S2)

Other Instrumentation

None