Hall A L-HRS cabling map

L HRS Pion Rejecter

| Detector position | Patch panel Name&posit. | Flat Cable name | Flat cable Wire No | ADC FB BOT Slot-ch. | TDC FB TOP Slot –ch. | HV Slot-ch |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PiR-1L | CHARLIE A-1 | PiR (1-16)L | 1 | 20 - 0 |  | 3-0 |  |
| PiR-2L | CHARLIE A-2 | PiR (1-16)L | 2 | 20 - 1 |  | 3-1 |  |
| PiR-3L | CHARLIE A-3 | PiR (1-16)L | 3 | 20 - 2 |  | 3-2 |  |
| PiR-4L | CHARLIE A-4 | PiR (1-16)L | 4 | 20 - 3 |  | 3-3 |  |
| PiR-5L | CHARLIE A-5 | PiR (1-16)L | 5 | 20 - 4 |  | 3-4 |  |
| PiR-6L | CHARLIE A-6 | PiR (1-16)L | 6 | 20 - 5 |  | 3-5 |  |
| PiR-7L | CHARLIE A-7 | PiR (1-16)L | 7 | 20 - 6 |  | 3-6 |  |
| PiR-8L | CHARLIE A-8 | PiR (1-16)L | 8 | 20 - 7 |  | 3-7 |  |
| PiR-9L | CHARLIE A-9 | PiR (1-16)L | 9 | 20 - 8 |  | 3-8 |  |
| PiR-10L | CHARLIE A-10 | PiR (1-16)L | 10 | 20 - 9 |  | 3-9 |  |
| PiR-11L | CHARLIE A-11 | PiR (1-16)L | 11 | 20 - 10 |  | 3-10 |  |
| PiR-12L | CHARLIE A-12 | PiR (1-16)L | 12 | 20 - 11 |  | 3-11 |  |
| PiR-13L | CHARLIE A-13 | PiR (1-16)L | 13 | 20 - 12 |  | 4-0 |  |
| PiR-14L | CHARLIE A-14 | PiR (1-16)L | 14 | 20 - 13 |  | 4-1 |  |
| PiR-15L | CHARLIE A-15 | PiR (1-16)L | 15 | 20 - 14 |  | 4-2 |  |
| PiR-16L | CHARLIE A-16 | PiR (1-16)L | 16 | 20 - 15 |  | 4-3 |  |
| PiR-1R | CHARLIE B-1 | PiR (1-16)R | 1 | 18 - 32 |  | 10-0 |  |
| PiR-2R | CHARLIE B-2 | PiR (1-16)R | 2 | 18 - 33 |  | 10-1 |  |
| PiR-3R | CHARLIE B-3 | PiR (1-16)R | 3 | 18 - 34 |  | 10-2 |  |
| PiR-4R | CHARLIE B-4 | PiR (1-16)R | 4 | 18 - 35 |  | 10-3 |  |
| PiR-5R | CHARLIE B-5 | PiR (1-16)R | 5 | 18 - 36 |  | 10-4 |  |
| PiR-6R | CHARLIE B-6 | PiR (1-16)R | 6 | 18 - 37 |  | 10-5 |  |
| PiR-7R | CHARLIE B-7 | PiR (1-16)R | 7 | 18 - 38 |  | 10-6 |  |
| PiR-8R | CHARLIE B-8 | PiR (1-16)R | 8 | 18 - 39 |  | 11-0 |  |
| PiR-9R | CHARLIE B-9 | PiR (1-16)R | 9 | 18 - 40 |  | 11-1 |  |
| PiR-10R | CHARLIE B-10 | PiR (1-16)R | 10 | 18 - 41 |  | 11-2 |  |
| PiR-11R | CHARLIE B-11 | PiR (1-16)R | 11 | 18 - 42 |  | 11-3 |  |
| PiR-12R | CHARLIE B-12 | PiR (1-16)R | 12 | 18 - 43 |  | 11-4 |  |
| PiR-13R | CHARLIE B-13 | PiR (1-16)R | 13 | 18 - 44 |  | 11-5 |  |
| PiR-14R | CHARLIE B-14 | PiR (1-16)R | 14 | 18 - 45 |  | 11-6 |  |
| PiR-15R | CHARLIE B-15 | PiR (1-16)R | 15 | 18 - 46 |  | 11-7 |  |
| PiR-16R | CHARLIE B-16 | PiR (1-16)R | 16 | 18 - 47 |  | 11-8 |  |
| PiR-18L | CHARLIE C-1 | PiR (18-33)L | 1 | 18 - 0 |  | 4-5 |  |
| PiR-19L | CHARLIE C-2 | PiR (18-33)L | 2 | 18 - 1 |  | 4-6 |  |
| PiR-20L | CHARLIE C-3 | PiR (18-33)L | 3 | 18 - 2 |  | 4-7 |  |
| PiR-21L | CHARLIE C-4 | PiR (18-33)L | 4 | 18 - 3 |  | 4-8 |  |
| PiR-22L | CHARLIE C-5 | PiR (18-33)L | 5 | 18 - 4 |  | 4-9 |  |
| PiR-23L | CHARLIE C-6 | PiR (18-33)L | 6 | 18 - 5 |  | 4-10 |  |
| PiR-24L | CHARLIE C-7 | PiR (18-33)L | 7 | 18 - 6 |  | 4-11 |  |
| PiR-25L | CHARLIE C-8 | PiR (18-33)L | 8 | 18 - 7 |  | 5-0 |  |
| PiR-26L | CHARLIE C-9 | PiR (18-33)L | 9 | 18 - 8 |  | 5-1 |  |
| PiR-27L | CHARLIE C-10 | PiR (18-33)L | 10 | 18 - 9 |  | 5-2 |  |
| PiR-28L | CHARLIE C-11 | PiR (18-33)L | 11 | 18 - 10 |  | 5-3 |  |
| PiR-29L | CHARLIE C-12 | PiR (18-33)L | 12 | 18 - 11 |  | 5-4 |  |
| PiR-30L | CHARLIE C-13 | PiR (18-33)L | 13 | 18 - 12 |  | 5-5 |  |
| PiR-31L | CHARLIE C-14 | PiR (18-33)L | 14 | 18 - 13 |  | 5-6 |  |
| PiR-32L | CHARLIE C-15 | PiR (18-33)L | 15 | 18 - 14 |  | 5-7 |  |
| PiR-33L | CHARLIE C-16 | PiR (18-33)L | 16 | 18 - 15 |  | 5-8 |  |
| PiR-18R | CHARLIE D-1 | PiR (18-33)R | 1 | 19 - 32 |  | 9-0 |  |
| PiR-19R | CHARLIE D-2 | PiR (18-33)R | 2 | 19 - 33 |  | 9-1 |  |
| PiR-20R | CHARLIE D-3 | PiR (18-33)R | 3 | 19 - 34 |  | 9-2 |  |
| PiR-21R | CHARLIE D-4 | PiR (18-33)R | 4 | 19 - 35 |  | 9-3 |  |
| PiR-22R | CHARLIE D-5 | PiR (18-33)R | 5 | 19 - 36 |  | 9-4 |  |
| PiR-23R | CHARLIE D-6 | PiR (18-33)R | 6 | 19 - 37 |  | 9-5 |  |
| PiR-24R | CHARLIE D-7 | PiR (18-33)R | 7 | 19 - 38 |  | 9-6 |  |
| PiR-25R | CHARLIE D-8 | PiR (18-33)R | 8 | 19 - 39 |  | 9-7 |  |
| PiR-26R | CHARLIE D-9 | PiR (18-33)R | 9 | 19 - 40 |  | 9-8 |  |
| PiR-27R | CHARLIE D-10 | PiR (18-33)R | 10 | 19 - 41 |  | 9-9 |  |
| PiR-28R | CHARLIE D-11 | PiR (18-33)R | 11 | 19 - 42 |  | 9-10 |  |
| PiR-29R | CHARLIE D-12 | PiR (18-33)R | 12 | 19 - 43 |  | 9-11 |  |
| PiR-30R | CHARLIE D-13 | PiR (18-33)R | 13 | 19 - 44 |  | 10-7 |  |
| PiR-31R | CHARLIE D-14 | PiR (18-33)R | 14 | 19 - 45 |  | 10-8 |  |
| PiR-32R | CHARLIE D-15 | PiR (18-33)R | 15 | 19 - 46 |  | 10-9 |  |
| PiR-33R | CHARLIE D-16 | PiR (18-33)R | 16 | 19 - 47 |  | 10-10 |  |
| PiR-17L | DEX A-1 | PiR (17,34)L,R,S | 1 | 20 - 32 |  | 4-4 |  |
| PiR-17R | DEX A-2 | PiR (17,34)L,R,S | 2 | 20 - 33 |  | 11-9 |  |
| PiR-34L | DEX A-3 | PiR (17,34)L,R,S | 3 | 20 - 34 |  | 5-9 |  |
| PiR-34R | DEX A-4 | PiR (17,34)L,R,S | 4 | 20 - 35 |  | 10-11 |  |
| Sum-1Lay | DEX A-5 | PiR (17,34)L,R,S | 5 | 20 - 36 |  |  |  |
| Sum-2Lay | DEX A-6 | PiR (17,34)L,R,S | 6 | 20 - 37 |  |  |  |
| Sum-Total | DEX A-7 | PiR (17,34)L,R,S | 7 | 20 - 38 |  |  |  |

L HRS S2m and S1

| S2m-1L | ALFRED A-1 | S2m(1L-16L) | 1 | 16 - 0 | 11 - 0 | 0-0 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S2m-2L | ALFRED A-2 | S2m(1L-16L) | 2 | 16 - 1 | 11 - 1 | 0-1 |  |
| S2m-3L | ALFRED A-3 | S2m(1L-16L) | 3 | 16 - 2 | 11 - 2 | 0-2 |  |
| S2m-4L | ALFRED A-4 | S2m(1L-16L) | 4 | 16 - 3 | 11 - 3 | 0-3 |  |
| S2m-5L | ALFRED A-5 | S2m(1L-16L) | 5 | 16 - 4 | 11 - 4 | 5-10 |  |
| S2m-6L | ALFRED A-6 | S2m(1L-16L) | 6 | 16 - 5 | 11 - 5 | 5-11 |  |
| S2m-7L | ALFRED A-7 | S2m(1L-16L) | 7 | 16 - 6 | 11 - 6 | 2-11 |  |
| S2m-8L | ALFRED A-8 | S2m(1L-16L) | 8 | 16 - 7 | 11 - 7 | 2-10 |  |
| S2m-9L | ALFRED A-9 | S2m(1L-16L) | 9 | 16 - 8 | 11 - 8 | 0-8 |  |
| S2m-10L | ALFRED A-10 | S2m(1L-16L) | 10 | 16 - 9 | 11 - 9 | 0-9 |  |
| S2m-11L | ALFRED A-11 | S2m(1L-16L) | 11 | 16 - 10 | 11- 10 | 0-10 |  |
| S2m-12L | ALFRED A-12 | S2m(1L-16L) | 12 | 16 - 11 | 11 - 11 | 0-11 |  |
| S2m-13L | ALFRED A-13 | S2m(1L-16L) | 13 | 16 - 12 | 11 - 12 | 13-0 |  |
| S2m-14L | ALFRED A-14 | S2m(1L-16L) | 14 | 16 - 13 | 11 - 13 | 13-1 |  |
| S2m-15L | ALFRED A-15 | S2m(1L-16L) | 15 | 16 - 14 | 11 - 14 | 13-2 |  |
| S2m-16L | ALFRED A-16 | S2m(1L-16L) | 16 | 16 - 15 | 11 - 15 | 13-3 |  |
| S2m-1R | ALFRED B-1 | S2m(1R-16R) | 1 | 16 - 32 | 11 - 16 | 12-0 |  |
| S2m-2R | ALFRED B-2 | S2m(1R-16R) | 2 | 16 - 33 | 11 - 17 | 12-1 |  |
| S2m-3R | ALFRED B-3 | S2m(1R-16R) | 3 | 16 - 34 | 11 - 18 | 12-2 |  |
| S2m-4R | ALFRED B-4 | S2m(1R-16R) | 4 | 16 - 35 | 11 - 19 | 12-3 |  |
| S2m-5R | ALFRED B-5 | S2m(1R-16R) | 5 | 16 - 36 | 11 - 20 | 12-4 |  |
| S2m-6R | ALFRED B-6 | S2m(1R-16R) | 6 | 16 - 37 | 11 - 21 | 12-5 |  |
| S2m-7R | ALFRED B-7 | S2m(1R-16R) | 7 | 16 - 38 | 11 - 22 | 12-6 |  |
| S2m-8R | ALFRED B-8 | S2m(1R-16R) | 8 | 16 - 39 | 11 - 23 | 12-7 |  |
| S2m-9R | ALFRED B-9 | S2m(1R-16R) | 9 | 16 - 40 | 11 - 24 | 12-8 |  |
| S2m-10R | ALFRED B-10 | S2m(1R-16R) | 10 | 16 - 41 | 11 - 25 | 12-9 |  |
| S2m-11R | ALFRED B-11 | S2m(1R-16R) | 11 | 16 - 42 | 11 - 26 | 12-10 |  |
| S2m-12R | ALFRED B-12 | S2m(1R-16R) | 12 | 16 - 43 | 11 - 27 | 12-11 |  |
| S2m-13R | ALFRED B-13 | S2m(1R-16R) | 13 | 16 - 44 | 11 - 28 | 13-4 |  |
| S2m-14R | ALFRED B-14 | S2m(1R-16R) | 14 | 16 - 45 | 11 - 29 | 13-5 |  |
| S2m-15R | ALFRED B-15 | S2m(1R-16R) | 15 | 16 - 46 | 11 - 30 | 13-6 |  |
| S2m-16R | ALFRED B-16 | S2m(1R-16R) | 16 | 16 - 47 | 11 - 31 | 13-7 |  |
| S1-1L | ALFRED C-1 | S1(1-6)L,R | 1 | 18 - 0 |  | 1-0 |  |
| S1-2L | ALFRED C-2 | S1(1-6)L,R | 2 | 18 - 1 |  | 1-1 |  |
| S1-3L | ALFRED C-3 | S1(1-6)L,R | 3 | 18 - 2 |  | 1-2 |  |
| S1-4L | ALFRED C-4 | S1(1-6)L,R | 4 | 18 - 3 |  | 1-3 |  |
| S1-5L | ALFRED C-5 | S1(1-6)L,R | 5 | 18 - 4 |  | 1-4 |  |
| S1-6L | ALFRED C-6 | S1(1-6)L,R | 6 | 18 - 5 |  | 1-5 |  |
| S1-1R | ALFRED C-7 | S1(1-6)L,R | 7 | 18 - 6 |  | 1-6 |  |
| S1-2R | ALFRED C-8 | S1(1-6)L,R | 8 | 18 - 7 |  | 1-7 |  |
| S1-3R | ALFRED C-9 | S1(1-6)L,R | 9 | 18 - 8 |  | 1-8 |  |
| S1-4R | ALFRED C-10 | S1(1-6)L,R | 10 | 18 - 9 |  | 1-9 |  |
| S1-5R | ALFRED C-11 | S1(1-6)L,R | 11 | 18 - 10 |  | 1-10 |  |
| S1-6R | ALFRED C-12 | S1(1-6)L,R | 12 | 18 - 11 |  | 1-11 |  |

NOTE: S1 is not active anymore.

L HRS Gas Cerenkov&S0

| Detector position | Patch panel Name&posit. | Flat Cable name | Flat cable Wire No | ADC FB BOT Slot-ch. | TDC Fast bus Slot –ch. | HV Slot-ch |
| --- | --- | --- | --- | --- | --- | --- |
| Gas Cer-1 | ALFRED D-1 | Gas,Sum&S0 | 1 | 19 - 0 | 11 - 32 | 2-0 |
| Gas Cer-2 | ALFRED D-2 | Gas,Sum&S0 | 2 | 19 - 1 | 11 - 33 | 2-1 |
| Gas Cer-3 | ALFRED D-3 | Gas,Sum&S0 | 3 | 19 - 2 | 11 - 34 | 2-2 |
| Gas Cer-4 | ALFRED D-4 | Gas,Sum&S0 | 4 | 19 - 3 | 11 - 35 | 2-3 |
| Gas Cer-5 | ALFRED D-5 | Gas,Sum&S0 | 5 | 19 - 4 | 11 - 36 | 2-4 |
| Gas Cer-6 | ALFRED D-6 | Gas,Sum&S0 | 6 | 19 - 5 | 11 - 37 | 2-5 |
| Gas Cer-7 | ALFRED D-7 | Gas,Sum&S0 | 7 | 19 - 6 | 11 - 38 | 2-6 |
| Gas Cer-8 | ALFRED D-8 | Gas,Sum&S0 | 8 | 19 - 7 | 11 - 39 | 2-7 |
| Gas Cer-9 | ALFRED D-9 | Gas,Sum&S0 | 9 | 19 - 8 | 11 - 40 | 2-8 |
| Gas Cer-10 | ALFRED D-10 | Gas,Sum&S0 | 10 | 19 - 9 | 11 - 41 | 2-9 |
| Gas Cer-Sum | ALFRED D-11 | Gas,Sum&S0 | 11 | 19 - 10 | 11 - 42 |  |
| S0A-Low | ALFRED D-12 | Gas,Sum&S0 | 12 | 19 - 11 | 11 - 43 | 13-9 |
| S0B-Up | ALFRED D-13 | Gas,Sum&S0 | 13 | 19 - 12 | 11 - 44 | 13-8 |

L HRS VDC and Straws (HV)

| Detector position | Patch panel Name&posit. | Flat Cable name | Flat cable Wire No | ADC FB BOT Slot-ch. | TDC Fast bus Slot –ch. | HV Slot-ch |
| --- | --- | --- | --- | --- | --- | --- |
| VDC Top |  |  |  |  |  | 7-0 |
| VDC Bottom |  |  |  |  |  | 7-3 |
| Straw UM1234 |  |  |  |  |  | 8-0 |
| Straw UM5678 |  |  |  |  |  | 8-2 |
| Straw UM91011 |  |  |  |  |  | 8-4 |
| Straw VM123 |  |  |  |  |  | 8-6 |
| Straw VM4567 |  |  |  |  |  | 8-8 |
| StrawVM891011 |  |  |  |  |  | 8-10 |

Flat coaxial cable: One end 17 BNC connectors other end 34 pin connector.

PS: Line number 17-in not used

Albert Shahinyan

Sep 30, 2013

Latest modification by Florian Hauenstein

January 24, 2016