## Slide 1
Brief overview of
the Hall A scintillators
Reynier Cruz Torres

## Slide 2
VDC
Straw Chamber
S0 S2
Gas Cherenkov
Lead-Glass Calorimeter
HRS Detector Configuration

## Slide 3
S0 S2
S0 and S2
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
S2 Left
S2 Right
S0 down
S0
up

## Slide 4
S0
downstairs upstairs
Scintillator
PMT
Amplifier
S0

## Slide 5
S0 S2
S2
downstairs upstairs
Scintillator
PMT
Mixer/Splitter
fadc
Discriminator
Level Translator
Mixer/Splitter
+ Disc

## Slide 6
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
S2 Left
S2 Right
S0
LHRS
S0A
S0B
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
S2 Left
S2 Right
S0
S0A
S0B
RHRS
S0A and S0B have different meanings in the two arms

## Slide 7
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
S2 Left
S2 Right
S0
LHRS
S0A
S0B
DISC
Level
Translator
fadc
DISC
Level
Translator
fadc
Amplifier
Mixer
Mixer
12 ns
11 ns
88 ns
84 ns
46 ns
76 ns
7 ns
8 ns
69 ns
69 ns
Italic = calculated

## Slide 8
RHRS
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
S2 Left
S2 Right
S0
S0A
S0B
DISC
Level
Translator
fadc
DISC
Level
Translator
fadc
Mixer
Mixer
12 ns
11 ns
94 ns
94 ns
55 ns
57 ns
8 ns
7 ns
57 ns
57 ns
Italic = calculated
Amplifier

## Slide 9
5 ns
5 ns
LHRS
RHRS
65 ns
69 ns
95 ns
57 ns
75 ns
75 ns
t0
t0 + 20 ns
Level
Translator
Level
Translator
Level
Translator
Level
Translator
Amplifier
Amplifier
t0 + 69ns
t0 + 5ns + 65ns
t0 + 5ns + 95ns
t0 + 20ns + 57ns
t0 + 20ns + 5ns+ 75ns
t0 + 20ns + 5ns+ 75ns
s2L
s2L
s2R
s2R
S0
S0

## Slide 10
5 ns
5 ns
LHRS
RHRS
65 ns
69 ns
95 ns
57 ns
75 ns
75 ns
t0
t0 + 20 ns
Level
Translator
Level
Translator
Level
Translator
Level
Translator
Amplifier
Amplifier
t0 + 69ns
t0 + 70ns
t0 + 100ns
t0 + 77ns
t0 + 100ns
t0 + 100ns
s2L
s2L
s2R
s2R
S0
S0

## Slide 11
LHRS
RHRS
Level
Translator
Level
Translator
Level
Translator
Level
Translator
Amplifier
Amplifier
t1
t1 + 1ns
t1 + 31ns
t1 + 8ns
t1 + 31ns
t1 + 31ns
t1 = t0 + 69ns

## Slide 12
LHRS
RHRS
Level
Translator
Level
Translator
Level
Translator
Level
Translator
Amplifier
Amplifier
t1
t1 + 1ns
t1 + 31ns
t1 + 8ns
t1 + 31ns
t1 + 31ns
Clock on the LHRS
222 ns delay
FIFO
FIFO
222 ns