## Slide 1
Florian, Tyler, & Rey
(with lots of help from Jonathan and Shujie)
Update on triggers

## Slide 2
FIFO
FIFO
FIFO
GC analog
sum disc.
S2 coinc
S0 coinc
delay
delay
S0||S2
S0&S2
width 30ns
width 50ns
One to (NIM => ECL)->TS
One to other arm
(S0&S2)&GC
(S0||S2)&GC
S0||S2
S0&S2
GC
GC
20ns
20ns
To adjust S0 and S2 relative to each other for S0&S2 and S0||S2
Single Arm Triggers (S0&S2); (S0&S2)&GC; (S0||S2)&GC
S0&S2, S0&S2&GC timed on S2
(S0||S2)&GC timed on S0 if S0 fires
50ns
50ns
30ns
30ns
S2
S0
20ns
50ns
30ns
S2
S0
20ns
50ns
30ns
delay
To adjust GC analog sum to S0&S2
Previously, on Florian’s talk

## Slide 3
LHRS

## Slide 4
L
R
S2 coinc
1 ns
1 ns
S2 Logic Unit
8 ns
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
S2
S0
GC
LHRS
Delay
20 ns
S0 coinc
3 ns
3 ns
1 ns
GC disc
GC coinc
Delay
20 ns
1 ns
3 ns
8 ns
(S0||S2)
(S0&S2)
(S0||S2)&GC
(S0&S2)&GC
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
8 ns
1 ns
FIFO
8 ns
S2_R gets here delayed by 25 ns with respect to S2_L
S0A disc
S0B disc
Delay
5 ns
8 ns
Analog sum
10 ns delay (09/26/17)

## Slide 5
(Same length) cables used to project information onto the scope.
Clock input
Legend

## Slide 6
L
R
S2 coinc
1 ns
1 ns
S2 Logic Unit
S2_R gets here delayed by 25 ns with respect to S2_L
8 ns
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
LHRS
Delay
20 ns
S0 coinc
3 ns
3 ns
1 ns
GC disc
GC coinc
Delay
20 ns
1 ns
3 ns
8 ns
8 ns
COSMICS
25 ns
S0A disc
S0B disc
We wanted for S2_R to lead the S2 time, and S2_R is already delayed (by 25 ns) with respect to S2_L in the cables from the detectors to the electronics

## Slide 7
L
R
S2 coinc
1 ns
1 ns
S2 Logic Unit
S2_R gets here delayed by 25 ns with respect to S2_L
8 ns
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
LHRS
Delay
20 ns
S0 coinc
3 ns
3 ns
1 ns
GC disc
GC coinc
Delay
20 ns
1 ns
3 ns
8 ns
8 ns
COSMICS
0 ns
S0A disc
S0B disc
We wanted for S0A to lead the S0 time, and in this case there is no delay in the cables from the detectors to the electronics, so we need to create this delay ourselves.

## Slide 8
L
R
S2 coinc
1 ns
1 ns
S2 Logic Unit
S2_R gets here delayed by 25 ns with respect to S2_L
8 ns
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
LHRS
Delay
20 ns
S0 coinc
3 ns
3 ns
1 ns
GC disc
GC coinc
Delay
20 ns
1 ns
3 ns
8 ns
8 ns
COSMICS (single shot)
CLOCK
S0A disc
S0B disc
25 ns
25 ns
S0A delayed with respect to S0B by ~25ns

## Slide 9
L
R
S2 coinc
1 ns
1 ns
S2 Logic Unit
S2_R gets here delayed by 25 ns with respect to S2_L
8 ns
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
LHRS
Delay
20 ns
S0 coinc
3 ns
3 ns
1 ns
GC disc
GC coinc
Delay
20 ns
1 ns
3 ns
8 ns
8 ns
COSMICS
CLOCK
S0A disc
S0B disc
0 ns
37 ns

## Slide 10
cable to electronics
L
R
S2 coinc
1 ns
1 ns
S2 Logic Unit
Delay
20 ns
S0 coinc
3 ns
3 ns
1 ns
S0A disc
S0B disc
cable to electronics
S2
S0
COSMICS
37 ns
(S0 cable to electronics) + 8ns + 26ns + 8ns + TOF
- (S2 cable to electronics + 8ns + 1ns + 8ns) = 37ns
Δ(S2-S0 cable length) = 12ns - TOF
TOF ~ 5ns
Δ(S2-S0 cable length) = 7ns
S0A cable is longer than S2_R by 7ns
COSMICS

## Slide 11
L
R
S2 coinc
1 ns
1 ns
S2 Logic Unit
S2_R gets here delayed by 25 ns with respect to S2_L
8 ns
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
LHRS
Delay
20 ns
S0 coinc
3 ns
3 ns
1 ns
GC disc
GC coinc
Delay
20 ns
1 ns
3 ns
8 ns
8 ns
COSMICS
CLOCK
S2
S0
FIFO
GC
COSMICS
CLOCK
S0A disc
S0B disc
10 ns
This implies the S2 signal will come 20ns after the S0 one because of TOF and opposite direction of real signal with respect to cosmics
S2
S0
20ns
50ns
30ns
REAL

## Slide 12
L
R
S2 coinc
1 ns
1 ns
S2 Logic Unit
S2_R gets here delayed by 25 ns with respect to S2_L
8 ns
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
LHRS
Delay
20 ns
S0 coinc
3 ns
3 ns
1 ns
GC disc
GC coinc
Delay
20 ns
1 ns
3 ns
8 ns
8 ns
COSMICS
CLOCK
S2
S0
FIFO
GC
COSMICS
CLOCK
S0A disc
S0B disc
10 ns
This implies the S2 signal will come 20ns after the S0 one because of TOF and opposite direction of real signal with respect to cosmics
42 ns

## Slide 13
S0||S2
GC
20ns
50ns
30ns
S0||S2
GC
25ns
50ns
30ns
(S0||S2)&GC
REAL
COSMICS
S0&S2
GC
20ns
50ns
30ns
S0&S2
GC
15ns
50ns
30ns
(S0&S2)&GC
REAL
COSMICS
(Assuming 2.5ns TOF between scintillator and GC)

## Slide 14
8 ns
Delay
5 ns
8 ns
L
R
S2 coinc
1 ns
1 ns
S2 Logic Unit
8 ns
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
S2
S0
GC
LHRS
Delay
20 ns
S0 coinc
3 ns
3 ns
1 ns
GC disc
GC coinc
Delay
20 ns
1 ns
3 ns
8 ns
(S0||S2)
(S0&S2)
(S0||S2)&GC
(S0&S2)&GC
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
FIFO
8 ns
S2_R gets here delayed by 25 ns with respect to S2_L
CLOCK
COSMICS
S0A disc
S0B disc
70 ns
70 ns

## Slide 15
8 ns
Delay
5 ns
L
R
S2 coinc
1 ns
1 ns
S2 Logic Unit
8 ns
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
S2
S0
GC
LHRS
Delay
20 ns
S0 coinc
3 ns
3 ns
1 ns
GC disc
GC coinc
Delay
20 ns
1 ns
3 ns
8 ns
(S0||S2)
(S0&S2)
(S0||S2)&GC
(S0&S2)&GC
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
FIFO
8 ns
S2_R gets here delayed by 25 ns with respect to S2_L
CLOCK
COSMICS
S0A disc
S0B disc
8 ns
60 ns
COSMICS
(Single shot)
28 ns

## Slide 16
8 ns
Delay
5 ns
8 ns
L
R
S2 coinc
1 ns
1 ns
S2 Logic Unit
8 ns
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
S2
S0
GC
LHRS
Delay
20 ns
S0 coinc
3 ns
3 ns
1 ns
GC disc
GC coinc
Delay
20 ns
1 ns
3 ns
8 ns
(S0||S2)
(S0&S2)
(S0||S2)&GC
(S0&S2)&GC
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
FIFO
8 ns
S2_R gets here delayed by 25 ns with respect to S2_L
COSMICS
S0A disc
S0B disc
15 ns

## Slide 17
8 ns
Delay
5 ns
8 ns
L
R
S2 coinc
1 ns
1 ns
S2 Logic Unit
8 ns
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
S2
S0
GC
LHRS
Delay
20 ns
S0 coinc
3 ns
3 ns
1 ns
GC disc
GC coinc
Delay
20 ns
1 ns
3 ns
8 ns
(S0||S2)
(S0&S2)
(S0||S2)&GC
(S0&S2)&GC
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
FIFO
8 ns
S2_R gets here delayed by 25 ns with respect to S2_L
S0A disc
S0B disc
S0&S2
GC
15ns
50ns
30ns
COSMICS

## Slide 18
8 ns
Delay
5 ns
8 ns
L
R
S2 coinc
1 ns
1 ns
S2 Logic Unit
8 ns
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
S2
S0
GC
LHRS
Delay
20 ns
S0 coinc
3 ns
3 ns
1 ns
GC disc
GC coinc
Delay
20 ns
1 ns
3 ns
8 ns
(S0||S2)
(S0&S2)
(S0||S2)&GC
(S0&S2)&GC
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
FIFO
8 ns
S2_R gets here delayed by 25 ns with respect to S2_L
COSMICS
S0A disc
S0B disc
26 ns

## Slide 19
8 ns
Delay
5 ns
L
R
S2 coinc
1 ns
1 ns
S2 Logic Unit
8 ns
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
S2
S0
GC
LHRS
Delay
20 ns
S0 coinc
3 ns
3 ns
1 ns
GC disc
GC coinc
Delay
20 ns
1 ns
3 ns
8 ns
(S0||S2)
(S0&S2)
(S0||S2)&GC
(S0&S2)&GC
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
FIFO
8 ns
S2_R gets here delayed by 25 ns with respect to S2_L
S0A disc
S0B disc
S0||S2
GC
25ns
50ns
30ns
8 ns
COSMICS

## Slide 20
RHRS

## Slide 21
L
R
S2 coinc
1 ns
S2 Logic Unit
8 ns
8 ns
Delay
20 ns
S2
S0
GC
RHRS
Delay
10 ns
6 ns
1 ns
GC disc
GC coinc
Delay
20 ns
0.3 ns
2 ns
8 ns
(S0||S2)
(S0&S2)
(S0||S2)&GC
(S0&S2)&GC
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
16 ns
1 ns
FIFO
17 ns
S0B disc
S0A disc
Analog sum
8 ns
Delay
10 ns
Delay
5 ns
S0 coinc
Delay
5 ns
3 ns
6 ns
0.5 ns

## Slide 22
L
R
S2 coinc
6 ns
1 ns
S2 Logic Unit
8 ns
8 ns
Delay
20 ns
RHRS
Delay
10 ns
6 ns
1 ns
GC disc
GC coinc
Delay
20 ns
0.3 ns
2 ns
8 ns
17 ns
Analog sum
8 ns
Delay
10 ns
Delay
5 ns
S0 coinc
Delay
5 ns
3 ns
COSMICS
0 ns
0.5 ns
S0B disc
S0A disc

## Slide 23
L
R
S2 coinc
1 ns
S2 Logic Unit
8 ns
8 ns
Delay
20 ns
RHRS
Delay
10 ns
6 ns
1 ns
GC disc
GC coinc
Delay
20 ns
0.3 ns
2 ns
8 ns
17 ns
Analog sum
8 ns
Delay
10 ns
Delay
5 ns
S0 coinc
Delay
5 ns
3 ns
6 ns
25 ns
COSMICS
0.5 ns
S0B disc
S0A disc

## Slide 24
L
R
S2 coinc
1 ns
S2 Logic Unit
8 ns
8 ns
Delay
20 ns
RHRS
Delay
10 ns
6 ns
1 ns
GC disc
GC coinc
Delay
20 ns
0.3 ns
2 ns
8 ns
17 ns
Analog sum
8 ns
Delay
10 ns
Delay
5 ns
S0 coinc
Delay
5 ns
3 ns
6 ns
COSMICS
0.5 ns
10 ns
trigger on S0 coinc (external)
S0B disc
S0A disc

## Slide 25
L
R
S2 coinc
1 ns
S2 Logic Unit
8 ns
8 ns
Delay
20 ns
RHRS
Delay
10 ns
6 ns
1 ns
0.5 ns
GC disc
GC coinc
Delay
20 ns
0.3 ns
2 ns
8 ns
17 ns
Analog sum
8 ns
Delay
10 ns
Delay
5 ns
S0 coinc
Delay
5 ns
3 ns
6 ns
COSMICS
25 ns
25 ns
S0B disc
S0A disc

## Slide 26
L
R
S2 coinc
1 ns
S2 Logic Unit
8 ns
8 ns
Delay
20 ns
RHRS
Delay
10 ns
6 ns
1 ns
0.5 ns
GC disc
GC coinc
Delay
20 ns
0.3 ns
2 ns
8 ns
17 ns
Analog sum
8 ns
Delay
10 ns
Delay
5 ns
S0 coinc
Delay
5 ns
3 ns
6 ns
COSMICS
21 ns
S0B disc
S0A disc

## Slide 27
cable to electronics
L
R
S2 coinc
24 ns
1 ns
S2 Logic Unit
S0 coinc
25 ns
0.5 ns
S0B disc
S0A disc
cable to electronics
S2
S0
COSMICS
21 ns
(S0 cable to electronics) + 8ns + 25ns + 8ns + TOF
- (S2 cable to electronics + 8ns + 24ns + 8ns) = 21ns
Δ(S2-S0 cable length) = 21ns – TOF – 1ns
TOF ~ 5ns
Δ(S2-S0 cable length) = 15ns
S0A cable is longer than S2_R by 15ns
COSMICS

## Slide 28
L
R
S2 coinc
1 ns
S2 Logic Unit
8 ns
8 ns
Delay
20 ns
RHRS
Delay
10 ns
6 ns
1 ns
0.5 ns
GC disc
GC coinc
Delay
20 ns
0.3 ns
2 ns
8 ns
17 ns
S0B disc
S0A disc
Analog sum
8 ns
Delay
10 ns
Delay
5 ns
S0 coinc
Delay
5 ns
3 ns
6 ns
10 ns
S2
S0
20ns
50ns
30ns
S2
S0
GC
FIFO
COSMICS
REAL

## Slide 29
S0||S2
GC
20ns
50ns
30ns
S0||S2
GC
25ns
50ns
30ns
(S0||S2)&GC
REAL
COSMICS
S0&S2
GC
20ns
50ns
30ns
S0&S2
GC
15ns
50ns
30ns
(S0&S2)&GC
REAL
COSMICS
(Assuming 2.5ns TOF between scintillator and GC)

## Slide 31
L
R
S2 coinc
24 ns
S2 Logic Unit
S0 coinc
25 ns
S0B disc
S0A disc
S2
S0
COSMICS
21 ns
(S0 cable to electronics) + 8ns + 25ns + 8ns + TOF
- (S2 cable to electronics + 8ns + 24ns + 8ns) = 21ns
Δ(S0-S2 cable length) = 21ns – TOF – 1
TOF ~ 5ns
Δ(S0-S2 cable length) = 15ns
S0A cable is longer than S2_R by 15ns
COSMICS
S2_R & S0_A
RHRS
signal to electronics
signal to electronics

## Slide 32
L
R
S2 coinc
1 ns
S2 Logic Unit
S0 coinc
25 ns
S2
S0
(S0 cable to electronics) + 8ns + 25ns + 8ns + TOF
- (S2 cable to electronics + 8ns + 1ns + 8ns) = 44ns
Δ(S0-S2 cable length) = 44ns – TOF – 24ns
TOF ~ 5ns
Δ(S0-S2 cable length) = 15ns
S0A cable is longer than S2_L by 15ns
COSMICS
S2_L & S0_A
COSMICS
44 ns
RHRS
signal to electronics
signal to electronics
S0B disc
S0A disc

## Slide 33
L
R
S2 coinc
24 ns
S2 Logic Unit
S0 coinc
0.5 ns
S2
S0
(S0 cable to electronics) + 8ns + 0.5ns + 8ns + TOF
- (S2 cable to electronics + 8ns + 24ns + 8ns) = -14ns
Δ(S0-S2 cable length) = -14ns – TOF + 24ns – 0.5
TOF ~ 5ns
Δ(S0-S2 cable length) = 4.5ns
S0B cable is longer than S2_R by 4.5ns
S2_R & S0_B
COSMICS
COSMICS
14 ns
RHRS
signal to electronics
signal to electronics
S0B disc
S0A disc

## Slide 34
signal to electronics
L
R
S2 coinc
1 ns
S2 Logic Unit
S0 coinc
0.5 ns
S2
S0
(S0 cable to electronics) + 8ns + 0.5ns + 8ns + TOF
- (S2 cable to electronics + 8ns + 1ns + 8ns) = 9ns
Δ(S0-S2 cable length) = 9ns – TOF – 0.5 + 1
TOF ~ 5ns
Δ(S0-S2 cable length) = 4.5ns
S0B cable is longer than S2_L by 4.5ns
S2_L & S0_B
COSMICS
COSMICS
9 ns
signal to electronics
RHRS
S0B disc
S0A disc

## Slide 35
In conclusion
S0A
RHRS
signal to electronics
S0B
signal to electronics
S2_L
S2_R
signal to electronics
signal to electronics
l0
l0
S0A cable is longer than S2_R by 15ns
S0A cable is longer than S2_L by 15ns
S0B cable is longer than S2_R by 4.5ns
S0B cable is longer than S2_L by 4.5ns
l0+15ns
l0+4.5ns