## Slide 1
Trigger Setup
Reynier Cruz Torres

## Slide 2
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
S2 Left
S2 Right
S0
LHRS
S0A
S0B
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
S2 Left
S2 Right
S0
S0A
S0B
RHRS
S0A and S0B have different meanings in the two arms

## Slide 3
LHRS

## Slide 4
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
S2 Left
S2 Right
S0
LHRS
S0A
S0B
DISC
Level
Translator
fadc
DISC
Level
Translator
fadc
Amplifier
Mixer
Mixer
12 ns
11 ns
88 ns
84 ns
46 ns
76 ns
7 ns
8 ns
69 ns
69 ns
Italic = calculated

## Slide 5
L
R
S2 coinc
1 ns
1 ns
S2 Logic Unit
8 ns
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
S2
S0
GC
LHRS
Delay
20 ns
S0 coinc
3 ns
3 ns
1 ns
GC disc
GC coinc
Delay
20 ns
1 ns
3 ns
8 ns
(S0||S2)
(S0&S2)
(S0||S2)&GC
(S0&S2)&GC
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
8 ns
1 ns
FIFO
8 ns
S2_R gets here delayed by 25 ns with respect to S2_L
S0A disc
S0B disc
Delay
5 ns
8 ns
Analog sum
10 ns delay (09/26/17)

## Slide 6
L
R
S2 coinc
1 ns
S2 Logic Unit
S0 coinc
26 ns
S0B disc
S0A disc
S2_R
S0_A
COSMICS
38 ns
(S0_A PMT delay) + 69 + 15.4 + 26 + 8 + TOF - [(S2_R PMT delay) + 95 + 15.8 + 1 + 8] = 38
COSMICS
S2_R & S0_A
LHRS
95 ns
S2 PMT
delay
S0 PMT
delay
Level translator
69 ns
1 ns
Amplifier
15.8 ns
15.4 ns
(S0_A PMT delay) - (S2_R PMT delay) = 38 – 3.6 = 34.4
* where we assumed TOF = 5 ns
* all numbers in nano-seconds
(S0_A PMT delay) - (S2_R PMT delay) = 34.4 ns

## Slide 7
L
R
S2 coinc
1 ns
S2 Logic Unit
S0 coinc
26 ns
S0B disc
S0A disc
S2_L
S0_A
COSMICS
65 ns
(S0_A PMT delay) + 69 + 15.4 + 26 + 8 + TOF - [(S2_L PMT delay) + 65 + 15.8 + 1 + 8] = 65
COSMICS
S2_L & S0_A
LHRS
65 ns
S2 PMT
delay
S0 PMT
delay
Level translator
69 ns
1 ns
Amplifier
15.8 ns
15.4 ns
(S0_A PMT delay) - (S2_L PMT delay) = 65 – 33.6 = 31.4
* where we assumed TOF = 5 ns
* all numbers in nano-seconds
(S0_A PMT delay) - (S2_L PMT delay) = 31.4 ns

## Slide 8
L
R
S2 coinc
1 ns
S2 Logic Unit
S0 coinc
1 ns
S0B disc
S0A disc
S2_L
S0_B
COSMICS
30 ns
(S0_B PMT delay) + 69 + 15.4 + 1 + 8 + TOF - [(S2_L PMT delay) + 65 + 15.8 + 1 + 8] = 30
COSMICS
S2_L & S0_B
LHRS
65 ns
S2 PMT
delay
S0 PMT
delay
Level translator
69 ns
1 ns
Amplifier
15.8 ns
15.4 ns
(S0_B PMT delay) - (S2_L PMT delay) = 30 – 8.6 = 21.4
* where we assumed TOF = 5 ns
* all numbers in nano-seconds
(S0_B PMT delay) - (S2_L PMT delay) = 21.4 ns

## Slide 9
L
R
S2 coinc
1 ns
S2 Logic Unit
S2_R
95 ns
S2 PMT
delay
Level translator
1 ns
15.8 ns
S0 coinc
1 ns
S0B disc
S0A disc
S0_B
COSMICS
2 ns
(S0_B PMT delay) + 69 + 15.4 + 1 + 8 + TOF - [(S2_R PMT delay) + 95 + 15.8 + 1 + 8] = 2
COSMICS
S2_R & S0_B
LHRS
S0 PMT
delay
69 ns
Amplifier
15.4 ns
(S0_B PMT delay) - (S2_R PMT delay) = 2 + 21.4 = 23.4
* where we assumed TOF = 5 ns
* all numbers in nano-seconds
(S0_B PMT delay) - (S2_R PMT delay) = 23.4 ns

## Slide 10
LHRS
(S0_B PMT delay) - (S2_R PMT delay) = 23.4 ns
(S0_B PMT delay) - (S2_L PMT delay) = 21.4 ns
(S0_A PMT delay) - (S2_L PMT delay) = 31.4 ns
(S0_A PMT delay) - (S2_R PMT delay) = 34.4 ns
S2_R delay = l0
S2_L delay = l0 + 3 ns
S0_A delay = l0 + 34.4 ns
S0_B delay = l0 + 23.4 ns

## Slide 11
LHRS
S0B
S0B
S0A
S0A
Triggering externally on S2_L(16) & S2_R(16) & S0A & S0B
Triggering externally on S2_L(1) & S2_R(1) & S0A & S0B
A
B
A
B
21 ns
9 ns

## Slide 12
LHRS
S0B
S0A
Triggering externally on S2_L(8) & S2_R(8) & S0A & S0B
A
B
21 ns

## Slide 13
RHRS

## Slide 14
RHRS
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
S2 Left
S2 Right
S0
S0A
S0B
DISC
Level
Translator
fadc
DISC
Level
Translator
fadc
Mixer
Mixer
12 ns
11 ns
94 ns
94 ns
55 ns
57 ns
8 ns
7 ns
57 ns
57 ns
Italic = calculated
Amplifier

## Slide 15
L
R
S2 coinc
1 ns
S2 Logic Unit
8 ns
8 ns
Delay
20 ns
S2
S0
GC
RHRS
Delay
10 ns
6 ns
1 ns
GC disc
GC coinc
Delay
20 ns
0.3 ns
2 ns
8 ns
(S0||S2)
(S0&S2)
(S0||S2)&GC
(S0&S2)&GC
1 ns
1 ns
1 ns
1 ns
1 ns
1 ns
16 ns
1 ns
FIFO
17 ns
S0B disc
S0A disc
Analog sum
8 ns
Delay
10 ns
Delay
5 ns
S0 coinc
Delay
5 ns
3 ns
6 ns
0.5 or 1? ns
9 ns delay (10/02/17)

## Slide 16
L
R
S2 coinc
24 ns
S2 Logic Unit
S0 coinc
1 or 0.5?
ns
S0B disc
S0A disc
S2_R
S0_A
COSMICS
6.2 ns
(S0_A PMT delay) + 57 + 9.8 + 1 + 8 + TOF - [(S2_R PMT delay) + 75 + 16 + 24 + 8] = - 6.2
COSMICS
S2_R & S0_A
RHRS
75 ns
S2 PMT
delay
S0 PMT
delay
Level translator
57 ns
1 ns
Amplifier
16 ns
9.8 ns
(S0_A PMT delay) - (S2_R PMT delay) = -6.2 + 42.2 = 36
* where we assumed TOF = 5 ns
* all numbers in nano-seconds
(S0_A PMT delay) - (S2_R PMT delay) = 36 ns
9 ns

## Slide 17
L
R
S2 coinc
1 ns
S2 Logic Unit
S0 coinc
1 or 0.5
ns
S0B disc
S0A disc
S2_L
S0_A
COSMICS
18 ns
(S0_A PMT delay) + 57 + 9.8 + 1 + 8 + TOF - [(S2_L PMT delay) + 75 + 16 + 1 + 8] = 18
COSMICS
S2_L & S0_A
75 ns
S2 PMT
delay
S0 PMT
delay
Level translator
57 ns
1 ns
Amplifier
9.8 ns
(S0_A PMT delay) - (S2_L PMT delay) = 18 + 19.2 = 37.2
* where we assumed TOF = 5 ns
* all numbers in nano-seconds
(S0_A PMT delay) - (S2_L PMT delay) = 37.2 ns
RHRS
16 ns
9 ns

## Slide 18
L
R
S2 coinc
1 ns
S2 Logic Unit
S0 coinc
25 ns
S0B disc
S0A disc
S2_L
S0_B
COSMICS
33 ns
(S0_B PMT delay) + 57 + 10 + 25 + 8 + TOF - [(S2_L PMT delay) + 75 + 16 + 1 + 8] = 33
COSMICS
S2_L & S0_B
75 ns
S2 PMT
delay
S0 PMT
delay
Level translator
57 ns
1 ns
Amplifier
10 ns
(S0_B PMT delay) - (S2_L PMT delay) = - 5 + 33 = 28
* where we assumed TOF = 5 ns
* all numbers in nano-seconds
(S0_B PMT delay) - (S2_L PMT delay) = 28 ns
RHRS
16 ns
9 ns

## Slide 19
L
R
S2 coinc
24 ns
S2 Logic Unit
S2_R
75 ns
S2 PMT
delay
Level translator
1 ns
S0 coinc
S0B disc
S0A disc
S0_B
COSMICS
9.4 ns
(S0_B PMT delay) + 57 + 10 + 25 + 8 + TOF - [(S2_R PMT delay) + 75 + 16 + 24 + 8] = 9.4
COSMICS
S2_R & S0_B
S0 PMT
delay
57 ns
Amplifier
10 ns
(S0_B PMT delay) - (S2_R PMT delay) = 9.4 + 18 = 27.4
* where we assumed TOF = 5 ns
* all numbers in nano-seconds
(S0_B PMT delay) - (S2_R PMT delay) = 27.4 ns
RHRS
16 ns
25 ns
9 ns

## Slide 20
RHRS
S2_L delay = l1
S2_R delay = l1 + 1 ns
S0_A delay = l1 + 37 ns
S0_B delay = l1 + 28 ns
(S0_A PMT delay) - (S2_R PMT delay) = 36 ns
(S0_A PMT delay) - (S2_L PMT delay) = 37.2 ns
(S0_B PMT delay) - (S2_L PMT delay) = 28 ns
(S0_B PMT delay) - (S2_R PMT delay) = 27.4 ns

## Slide 21
8.20 ns
14.0 ns
8.80 ns
S0&S2
S0&S2
S0&S2
S0||S2
(S0||S2)&GC
(S0&S2)&GC

## Slide 22
8.80 ns
23.6 ns
16.6 ns
S0&S2
S0&S2
S0&S2
S0||S2
(S0||S2)&GC
(S0&S2)&GC

## Slide 23
8.2 ns
8.8 ns
5.2 ns
RHRS
LHRS
8.8 ns
16.6 ns
7 ns
S0||S2
S0||S2
S0&S2
S0&S2
S0&S2&GC
S0&S2&GC
(S0||S2)&GC
(S0||S2)&GC

## Slide 24
Fake signal for coincidence trigger

## Slide 25
5 ns
5 ns
LHRS
RHRS
69 ns
95 ns
57 ns
75 ns
t0
t0 + 20 ns
Level
Translator
Level
Translator
Amplifier
Amplifier
t0 + tPMT + 34ns + 69ns
t0 + tPMT + 5ns + 95ns
t0 + tPMT + 28ns+ 20ns + 57ns
t0+ tPMT + 1ns + 20ns + 5ns+ 75ns
s2L
s2R
s2R
S0
S0
tPMT
tPMT+34 ns
tPMT+28 ns
tPMT+1 ns

## Slide 26
5 ns
5 ns
LHRS
RHRS
69 ns
95 ns
57 ns
75 ns
t0
t0 + 20 ns
Level
Translator
Level
Translator
Amplifier
Amplifier
t0 + tPMT + 103ns
t0 + tPMT + 100ns
t0 + tPMT + 105ns
t0+ tPMT + 101ns
s2L
s2R
s2R
S0
S0
tPMT
tPMT+34 ns
tPMT+28 ns
tPMT+1 ns

## Slide 27
LHRS
RHRS
Level
Translator
Level
Translator
Amplifier
Amplifier
t1+3ns
t1
t1+5ns
t1+1ns
t1 = t0 + tPMT + 100
s2R
S0
s2R
S0

## Slide 28
LHRS
RHRS
Level
Translator
Level
Translator
Amplifier
Amplifier
t1+3ns
t1
t1 + 5ns
t1 + 1ns
Clock on the LHRS
222 ns delay
FIFO
FIFO
222 ns
10 ns
10 ns
8 ns
8 ns
s2R
S0
s2R
S0

## Slide 29
LHRS
RHRS
Level
Translator
Level
Translator
Amplifier
Amplifier
t1+3ns
t1
t1 + 5ns
t1 + 1ns
Clock on the LHRS
222 ns delay
FIFO
FIFO
222 ns
10 ns
10 ns
8 ns
8 ns
s2R
S0A
s2R
S0
S2_R coinc module
15.8ns
input to S2_L&R coinc
1ns
Disc module
15.4ns
26ns
input to S0 coinc
S2_R coinc module
Disc module
16ns
18ns
25ns
input to S0 coinc
24ns
input to S2_L&R coinc

## Slide 30
LHRS
RHRS
t1 + 48.0ns
t1 + 41ns
Clock on the LHRS
222 ns delay
FIFO
FIFO
222 ns
10 ns
10 ns
8 ns
8 ns
s2R
S0A
s2R
S0
input to S2_L&R coinc
input to S0 coinc
t1 + 16.8ns
t1 + 44.4ns
input to S0 coinc
input to S2_L&R coinc
t2 = t1+16.8ns

## Slide 31
LHRS
RHRS
t2 + 31ns
t2 + 24ns
Clock on the LHRS
222 ns delay
FIFO
FIFO
222 ns
10 ns
10 ns
8 ns
8 ns
s2R
S0A
s2R
S0
input to S2_L&R coinc
input to S0 coinc
t2
t2 + 27ns
input to S0 coinc
input to S2_L&R coinc
t2 = t1+16.8ns

## Slide 32
LHRS
RHRS
39ns
32ns
Clock on the LHRS
222 ns delay
FIFO
FIFO
222 ns
10 ns
10 ns
8 ns
8 ns
s2R
S0A
s2R
S0
input to S2_L&R coinc
input to S0 coinc
8ns
35ns
input to S0 coinc
input to S2_L&R coinc
t2 = t1+16.8ns
Use t2 = 8 ns

## Slide 33
Single arm triggers with fake signal

## Slide 34
S0
LHRS
RHRS
14 ns
10.4 ns

## Slide 35
Coincidence trigger with fake signal

## Slide 36
LHRS
Coincidence triggers
(S0&S2)&GC
(S0||S2)&GC
S0&S2 (T1)
Disc
Disc
Disc
Delay Gen.
(>200ns)
Delay Gen.
(>200ns)
Delay Gen.
(>200ns)
S0&S2 coinc
S0 FIFO
S2 FIFO
RHRS
FIFO
delay
delay
delay
NIM
ECL
(S0&S2)L
&S0R
(S0&S2)L
&S2R
(S0&S2)L
&(S0&S2)R
S0R
S2R
(S0&S2)R
TS
60ns
150ns
150ns
150ns
≈50ns
60ns (e’p)
20ns (e’d)
60ns
60ns (e’p)
20ns (e’d)
60ns
60ns (e’p)
20ns (e’d)
delay
delay
delay
≈220ns
T1
T1
T1
A
B
C
All coincidence trigger timed on T1 which
corresponds to S2LHRS
-> all trigger but (S0||S2)&GCLHRS timed on S2LHRS
(S0||S2)&GCLHRS timed on S0LHRS if S0 fires
LHRS signals on RHRS

## Slide 37
S2 Logic Unit
S2 coinc
S2 Logic Unit
8 ns
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
S2
S0
LHRS
FIFO
10 ns delay (09/26/17)
77.5 ns
S2 coinc
8 ns
8 ns
Delay
20 ns
S2
S0
RHRS
FIFO
61 ns
(S0&S2)
1 ns
1 ns
(S0&S2)
1 ns
1 ns
17 ns
S0 coinc

## Slide 38
S2 Logic Unit
S2 coinc
S2 Logic Unit
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
S2
S0
LHRS
FIFO
10 ns delay (09/26/17)
307.5 ns
S2 coinc
8 ns
Delay
20 ns
S2
S0
RHRS
FIFO
61 ns
8 ns
8 ns
(S0&S2)
1 ns
1 ns
(S0&S2)
1 ns
1 ns
8 + 222 ns
17 ns
S0 coinc

## Slide 39
S2 Logic Unit
S2 coinc
S2 Logic Unit
10 ns
0.5 ns
Delay
20 ns
Delay
10 ns
S2
S0
LHRS
(S0&S2)
1 ns
1 ns
FIFO
10 ns delay (09/26/17)
t3 + 307.5 ns
S2 coinc
8 ns
Delay
20 ns
S2
S0
RHRS
(S0&S2)
1 ns
1 ns
FIFO
t3 + 85 ns
8 + 222 ns
8 ns
8 ns
t3 + 24 ns
t3
17 ns
S0 coinc
t3 + 31 ns

## Slide 40
S2 Logic Unit
T1
S2 Logic Unit
LHRS
t3 + 307.5 ns
S2 coinc
8 ns
Delay
20 ns
S2
S0
RHRS
(S0&S2)
1 ns
1 ns
FIFO
t3 + 85 ns
8 ns
t3 + 24 ns
t3
Patch pannel on RHRS
Disc
8 ns
3 ns
FIFO
2 ns
Coinc unit for coinc trigger
Delay Generator
1 ns
1 ns
1 ns
17 ns
S0 coinc
t3 + 31 ns

## Slide 41
T1
S2 Logic Unit
LHRS
t3 + 307.5 ns
S2 coinc
S2 Logic Unit
8 ns
Delay
20 ns
S2
S0
RHRS
(S0&S2)
1 ns
1 ns
FIFO
t3 + 85 ns
8 ns
t3 + 24 ns
t3
Patch pannel on RHRS
Disc
8 ns
3 ns
FIFO
2 ns
Coinc unit for coinc trigger
t3+77ns
t3+86ns
Disc
0.5 ns
0.5 ns
0.5 ns
0.5 ns
0.5 ns
0.5 ns
T1 – S0R = T1 – S2R = T1 – (S0&S2)R = 60 ns
t3 + 336.5 ns
Delay Generator
x x x
17 ns
S0 coinc
t3 + 31 ns
t3+65ns

## Slide 42
Prediction for the delays on RHRS for coinc trigger
Need to set delay in RHRS delay generator for S2 (RHRS) to:
t3 + 336.5 – (t3 + 77 + x + 0.5 + 8 + 0.5) ns = 60 ns
x = 190.5 ns
Need to set delay in RHRS delay generator for S0 (RHRS) to:
t3 + 336.5 – (t3 + 65 + x + 0.5 + 8 + 0.5) ns = 60 ns
x = 202.5 ns
Need to set delay in RHRS delay generator for S0&S2 (RHRS) to:
t3 + 336.5 – (t3 + 86 + x + 0.5 + 8 + 0.5) ns = 60 ns
x = 181.5 ns

## Slide 43
S0R
60ns
150ns
60ns (e’p)
20ns (e’d)
T1
S2R
150ns
60ns
60ns (e’p)
20ns (e’d)
T1
(S0&S2)R
150ns
60ns
60ns (e’p)
20ns (e’d)
T1
C1:
C2:
C3:
60 ns
60 ns
60 ns
Coincidence triggers
T1
T1
T1
(S0&S2)R
S2R
S0R
150 ns
150 ns
150 ns

## Slide 44
VDC
Straw Chamber
S0 S2
Gas Cherenkov
Lead-Glass Calorimeter
HRS Detector Configuration

## Slide 45
S0 S2
S0 and S2
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
S2 Left
S2 Right
S0 down
S0
up

## Slide 46
S0
downstairs upstairs
Scintillator
PMT
Amplifier
S0

## Slide 47
S0 S2
S2
downstairs upstairs
Scintillator
PMT
Mixer/Splitter
fadc
Discriminator
Level Translator
Mixer/Splitter
+ Disc

## Slide 48: Junk

## Slide 49
5 ns
5 ns
LHRS
RHRS
65 ns
69 ns
95 ns
57 ns
75 ns
75 ns
t0
t0 + 20 ns
Level
Translator
Level
Translator
Level
Translator
Level
Translator
Amplifier
Amplifier
t0 + 69ns
t0 + 70ns
t0 + 100ns
t0 + 77ns
t0 + 100ns
t0 + 100ns
s2L
s2L
s2R
s2R
S0
S0
* We were originally setting up the fake signal for coinc trigger this way (we forgot to include the pmt delays)

## Slide 50
LHRS
RHRS
Level
Translator
Level
Translator
Level
Translator
Level
Translator
Amplifier
Amplifier
t1
t1 + 1ns
t1 + 31ns
t1 + 8ns
t1 + 31ns
t1 + 31ns
t1 = t0 + 69ns
s2L
s2R
S0
s2L
s2R
S0
* We were originally setting up the fake signal for coinc trigger this way (we forgot to include the pmt delays)

## Slide 51
LHRS
RHRS
Level
Translator
Level
Translator
Level
Translator
Level
Translator
Amplifier
Amplifier
t1
t1 + 1ns
t1 + 31ns
t1 + 8ns
t1 + 31ns
t1 + 31ns
Clock on the LHRS
222 ns delay
FIFO
FIFO
222 ns
15 ns
15 ns
8 ns
8 ns
s2L
s2R
S0
s2L
s2R
S0
* We were originally setting up the fake signal for coinc trigger this way (we forgot to include the pmt delays)

## Slide 52
LHRS
RHRS
Level
Translator
Level
Translator
Amplifier
Amplifier
t1
t1 + 31ns
t1 + 8ns
t1 + 31ns
Clock on the LHRS
222 ns delay
FIFO
FIFO
222 ns
15 ns
15 ns
8 ns
8 ns
s2R
S0A
s2R
S0
S2_R coinc module
15.8ns
input to S2_L&R coinc
1ns
Disc module
15.4ns
26ns
input to S0 coinc
S2_R coinc module
Disc module
16ns
18ns
25ns
input to S0 coinc
24ns
input to S2_L&R coinc
* We were originally setting up the fake signal for coinc trigger this way (we forgot to include the pmt delays)

## Slide 53
LHRS
RHRS
t2 + 10ns
t2 + 30ns
Clock on the LHRS
222 ns delay
FIFO
FIFO
222 ns
15 ns
15 ns
8 ns
8 ns
s2R
S0A
s2R
S0
input to S2_L&R coinc
input to S0 coinc
t2 + 7ns
t2
input to S0 coinc
input to S2_L&R coinc
t2 = t1+41ns
* We were originally setting up the fake signal for coinc trigger this way (we forgot to include the pmt delays)

## Slide 54
LHRS
RHRS
18ns
38ns
Clock on the LHRS
222 ns delay
FIFO
FIFO
222 ns
15 ns
15 ns
8 ns
8 ns
s2R
S0A
s2R
S0B
input to S2_L&R coinc
input to S0 coinc
15ns
8ns
input to S0 coinc
input to S2_L&R coinc
use: t2 = 8ns
t2 = t1+41ns
* We were originally setting up the fake signal for coinc trigger this way (we forgot to include the pmt delays)