## Slide 1: Trigger Logic for 1 DAQ mode
Some of the signals on the RHRS have to be delayed to be in time with LHRS triggers
T1 – T3 LHRS triggers - similar for all experiments
T4 – T6 RHRS triggers (single or concidence triggers)
NIM Logic
S0
S2
GC
SH
CLOCK
LHRS
T1: S0 & S2
T2: (S0||S2) & GC
T3: (S0 & S2) & GC
control triggers or free
control triggers or free
control triggers or free
control triggers or free
CLOCK
NIM
Logic
S0
S2
GC
SH
LHRS T1: S0&S2
LHRS T2: (S0||S2)&GC
LHRS T3: (S0 & S2)&GC
CLOCK
RHRS
T1: (S0 & S2)L
T2: ((S0||S2) & GC)L
T3: (S0 & S2 & GC)L
T4: (S0 & S2)R
T5: ((S0||S2) & GC)R
T6: (S0 & S2 & GC)R
Not used
CLOCK
for x >1 and MARATHON
for (e,e‘p)
X
X
X
X
X
X : in/output not used in trigger design
T1: (S0 & S2)L
T2: ((S0||S2) & GC)L
T3: (S0&S2 & GC)L
T4: (S0&S2)L& (S0&S2)R
T5: (S0&S2)L & S2R
T6: (S0&S2)L & S0R
Not used
CLOCK
X
X
X
LHRS TS
PS1 = 0
PS2 = 0
PS3 = 0
PS4 = 0
PS5 = 0
PS6 = 0
PS7 = 0
PS8 = 0
X
X
X
RHRS TS
PS1 = 1-1000
PS2 = 1-1000
PS3 = 1-1000
PS4 = 1-1000
PS5 = 1-1000
PS6 = 1-1000
PS7 = 0
PS8 = 1-10000
X

## Slide 2: Trigger Considerations
Switching between single arm and coincidence mode fast, easy and as little hardware changes as possible
Implementation of triggers in NIM logic
No “cheating“ in coincidence mode as during Argon run
No Retiming of signals (no RT module)
RHRS TS is controlling DAQ in coincidence mode

## Slide 3
TS
LHRS
Trigger Logic LHRS
T1, T2, T3 and clock to RHRS
T1
T2
T3
(T4)
(T5)
(T6)
Clock
FB busy
FIFO
TM
LHRS
L1A
LIV
GO
EN1
LOCAL & REMOTE
LOCAL
REMOTE
Busy from local FB crates
ADC gate
TDC stop
Scaler clear/gate
(see next page)
TM
RHRS
LOCAL
Busy from local FB crates
TS
RHRS
T1
T2
T3
T4/C1
T5/C2
T6/C3
clock
FB busy
L1A
LIV
GO
EN1
BUSY
Remote
(out)
L1A
Remote
(in)
Scaler Clear Remote
(Input)
NIM connection
ECL connection on twisted pair
ECL on LEMO TWINAX connection
ECL on TWINNAX to 2pin
NIM to ECL (custom)
Trigger Logic RHRS
for 2 DAQ setup (MARATHON, x>1)
for 1 DAQ setup (e,e‘p, coincidence)
for both setups
Disc
BUSY
Remote
(in)
L1A
Remote
(out)
Scaler Clear Remote
(out)
LHRS Detectors
2 flat band cables to scaler and TDC (16 channels each)
NIM to ECL (custom)
RHRS Detectors
2 flat band cables to scaler and TDC (16 channels each)
3 connections between spectrometers
NIM to ECL (LeCroy 4616)
NIM to ECL (LeCroy 4616)

## Slide 4
ADC Gate
from TM
Scaler Clear/Gate
from TM
Flow of ADC gate, TDC stop and scaler signals for both arms
LECL -> NIM (LeCroy 4616)
Delay Generator / Dual Gate Generator
Delay Generator / Dual Gate Generator
LNIM -> ECL (LeCroy 4616)
Quad Logic for width adjustmen and signal splitting
LNIM -> ECL (LeCroy 4616)
Discriminator for width adjustment
Gate for all FB ADCs
Gate for Raster/BPM ADC
LNIM -> ECL (LeCroy 4616)
Discriminator for width and signal splitting
LNIM -> ECL (LeCroy 4616)
Stop for
Top FB TDCs
Stop for
Middle FB TDCs
FIFO
FIFO
FIFO
One signal for each of the scalers

## Slide 5: Trigger Logic for 2 DAQ mode (single arm configuration)
Some of the signals on the RHRS have to be delayed to be in time with LHRS triggers
T1 – T3 LHRS single triggers - similar for all experiments
T4 – T6 RHRS single triggers
NIM
Logic
S0
S2
GC
LHRS CLOCK
LHRS
T1: S0 & S2 *
T2 : S0 & S2 & GC *
T3 : (S0||S2) & GC *
Another trigger or free
Another trigger or free
L1A Remote **
RHRS CLOCK **
LHRS CLOCK *
RHRS
Inactive T1 (left)
Inactive T2 (left)
Inactive T3 (left)
T4: (S0 & S2)R
T5: ((S0 & S2) & GC)R
T6: ((S0 || S2) & GC)R
RHRS CLOCK
LHRS CLOCK
* Connections to RHRS are intact but triggers are disabled on RHRS by TS prescales
** Connections from coincidence mode
X
X
X
X : in/output not used in trigger design
X
X
X
LHRS TS
PS1 = 1-1000
PS2 = 1-1000
PS3 = 1
PS4 = 0
PS5 = 0
PS6 = 0
PS7 = 0
PS8 = 1- 10000
X
X
X
RHRS TS
PS1 = 0
PS2 = 0
PS3 = 0
PS4 = 1-1000
PS5 = 1-1000
PS6 = 1
PS7 = 1-10000
PS8 = 0
X
X
X
X
X
X
X
NIM
Logic
S0
S2
GC
LHRS T1: S0&S2
LHRS T2: (S0||S2)&GC
LHRS T3: (S0&S2)&GC
LHRS CLOCK
RHRS CLOCK

## Slide 6
FIFO
FIFO
FIFO
GC analog
sum disc.
S2 coinc
S0 coinc
delay
delay
S0||S2
S0&S2
width 30ns
width 50ns
One to (NIM => ECL)->TS
One to other arm
(S0&S2)&GC
(S0||S2)&GC
S0||S2
S0&S2
GC
GC
20ns
20ns
To adjust S0 and S2 relative to each other for S0&S2 and S0||S2
Single Arm Triggers (S0&S2); (S0&S2)&GC; (S0||S2)&GC
S0&S2, S0&S2&GC timed on S2
(S0||S2)&GC timed on S0 if S0 fires
50ns
50ns
30ns
30ns
S2
S0
20ns
50ns
30ns
S2
S0
20ns
50ns
30ns
delay
To adjust GC analog sum to S0&S2

## Slide 7
Some of the signals on the RHRS have to be delayed to be in time with LHRS triggers
T1 – T3 LHRS single triggers
C1 – C3 Coincidence triggers
NIM Logic
S0
S2
GC
LHRS CLOCK
LHRS
T1: S0 & S2
T2: (S0 & S2) & GC
T3: (S0||S2) & GC
control triggers or free
control triggers or free
L1A Remote (from RHRS)
RHRS CLOCK
LHRS CLOCK
NIM
Logic
S0
S2
GC
LHRS T1: S0&S2
LHRS T2: (S0||S2)&GC
LHRS T3: (S0 & S2)&GC
LHRS CLOCK
RHRS CLOCK
RHRS
X
X
X : in/output not used in trigger design
T1: (S0 & S2)L
T2: ((S0 & S2) & GC)L
T3: ((S0||S2) & GC)L
C1: (S0&S2)L& (S0&S2)R
C2: (S0&S2)L & S2R
C3: (S0&S2)L & S0R
T4: (SO&S2)R *
LHRS CLOCK
X
X
LHRS TS
PS1 = 0
PS2 = 0
PS3 = 0
PS4 = 0
PS5 = 0
PS6 = 0
PS7 = 0
PS8 = 0
X
X
RHRS TS
PS1 = 1-1000
PS2 = 1-1000
PS3 = 1-1000
PS4 = 1-1000
PS5 = 1-1000
PS6 = 1-1000
PS7 = 0
PS8 = 1-10000
X
Trigger Logic for 1 DAQ mode (concidence configuration)
X
* Usually disabled, necessary for right arm cosmics or right arm calibration
X

## Slide 8
LHRS
Coincidence triggers
(S0&S2)&GC
(S0||S2)&GC
S0&S2 (T1)
Disc
Disc
Disc
Delay Gen.
(>200ns)
Delay Gen.
(>200ns)
Delay Gen.
(>200ns)
S0&S2 coinc
S0 FIFO
S2 FIFO
RHRS
FIFO
delay
delay
delay
NIM
ECL
(S0&S2)L
&S0R
(S0&S2)L
&S2R
(S0&S2)L
&(S0&S2)R
S0R
S2R
(S0&S2)R
TS
30ns
120ns
120ns
120ns
≈50ns
60ns (e’p)
20ns (e’d)
30ns
60ns (e’p)
20ns (e’d)
30ns
60ns (e’p)
20ns (e’d)
delay
delay
delay
≈220ns
T1
T1
T1
A
B
C
All coincidence trigger timed on T1 which
corresponds to S2LHRS
-> all trigger but (S0||S2)&GCLHRS timed on S2LHRS
(S0||S2)&GCLHRS timed on S0LHRS if S0 fires
LHRS signals on RHRS

## Slide 9
Signals Exchange LHRS and RHRS
Necessary signal exchange:
T1: NIM, fast timing
T2: NIM, fast timing
T3: NIM, fast timing
LHRS clock: NIM, could be slow timing
RHRS clock: NIM, could be slow timing
Retiming signal: NIM, fast timing
Scaler: ECL with LEMO TWINNAX connectors, could be slow timing
Busy: ECL with LEMO TWINNAX connectors, could be slow timing
L1A: ECL with LEMO TWINNAX connectors, fast timing
Flatband RS485 connection TS to LHRS Fastbus crates
Available cables (found):
6 fast coax cables (222ns, Lemo connectors)
3 slower cables (240ns, Lemo connectors)
1 Flatband RS485 cable (not fully operational -> has to be tested)
Not Available:
2 cables with LEMO TWINNAX connectors

## Slide 10: Status at 09/13/17
Done:
  Single arm trigger setup (connections and timing)
  Coincidence trigger connections
Current work:
  Coincidence trigger timing with physics simulation using the clock
  Connection of TM remote signals
Next steps:
  Coincidence simulation with additional randoms
  Timing of trigger inputs in TS

## Slide 11: Trigger Logic for 1 DAQ mode
Trigger Logic
S0
S2
GC
SH
CLOCK
LHRS
T1: S0 & S2
T2: (S0||S2) & GC
T3: S0 & S2 & GC*
control triggers or free
control triggers or free
control triggers or free
CLOCK
Trigger Logic
S0
S2
GC
SH
LHRS T1: S0&S2
LHRS T2: (S0||S2)&GC
CLOCK
RHRS
T1: (S0 & S2)L
T2: ((S0||S2) & GC)L
T3: (S0 & S2 & GC)L
T4: (S0 & S2)R
T5: ((S0||S2) & GC)R
T6: (S0 & S2 & GC)R
CLOCK
To LHRS scaler and TDC via NIM to ECL custom converter
T1 and T2 to
RHRS Trigger Logic
Clock to RHRS
Trigger Logic
*T3 is regenerated from T1 and T2 on RHRS to save one connection cable
for x >1 and MARATHON
Trigger logic can be either NIM or MLU or both with one output as control in scaler and TDC
Some of the signals on the RHRS have to be delayed to be in time with LHRS triggers
T1 – T3 LHRS triggers - similar for all experiments
T4 – T6 RHRS triggers (single or concidence triggers)
for (e,e‘p)
X
X
X
X
X
X
X : in/output not used in trigger design
To RHRS TS, scaler and TDC via custom NIM -> ECL converter
T1: (S0 & S2)L
T2: ((S0||S2) & GC)L
T3: (S0&S2 & GC)L
T4: (S0&S2)L& (S0&S2)R
T5: (S0&S2)L & S2R
T6: (S0&S2)L & S0R
CLOCK

## Slide 12: Trigger Logic for 2 DAQ mode
Trigger Logic
S0
S2
GC
SH
CLOCK
LHRS
T1: S0 & S2 *
T2: (S0||S2) & GC *
T3: S0 & S2 & GC *
Another trigger or free
Another trigger or free
Another trigger or free
CLOCK *
Trigger Logic
S0
S2
GC
SH
LHRS T1: S0&S2
LHRS T2: (S0||S2)&GC
LHRS CLOCK
RHRS
Inactive T1 (left)
Inactive T2 (left)
Inactive T3 (left)
T4: (S0 & S2)R
T5: ((S0||S2) & GC)R
T6: (S0 & S2 & GC)R
CLOCK
Trigger logic can be either NIM or MLU or both with one output as control in scaler and TDC
T1 – T3 LHRS single triggers
T4 – T6 RHRS single triggers
Single triggers are fed to the indivual TS of the corresponding sides
Using more triggers on the RHRS involves changing cables
X
X
X
X
X
X : in/output not used in trigger design
To LHRS TS, scaler and TDC after custom NIM -> ECL converter
To RHRS TS, scaler and TDC after custom NIM -> ECL converter
* Connections to RHRS are intact but triggers are disabled by TS prescales
X
X
X
X
X

## Slide 13: Next slides are not up to date!!! 27 June 2017 have to be modified for correct setup

## Slide 14
Downstairs
LHRS
C
T1
2
3
4
5
6
7
8
9
12
EXT
2P
2F
3F
3F
FB
INB
1A0
1
2
3
4
5
6
7
8
2A
3A
CLR
2S
3S
ENI
LIV
BSY
ORI
GO
GT
NIM to ECL
TS
TI input
L1A
GO
BSY
EL1
LIV
CLR
L1T1
SG01
SG02
Downstairs
TDC
ADC
TM
TDC gate to LeCroy 4616 input 15 (ECL)
From NIM -> ECL (LeCroy 4616)
BI1 BOT FB
BI2 MID FB
BIR BUSY REMOTE
RHRS
TS, TM
SG_03
ADC
ADC
TDC
TDC
TDC
TDC
- +
- +
- +
+ G
L1A_OR
L1A_IR
L1_T2
TDC ADC
(S0&S2)L & (S0&S2)R
(S0&S2)L & S2R
(S0&S2)L & S0R
(S0&S2)L
(S0&GC)L
(S2&GC)L
CLOCK
for e‘p
(S0&S2)R
(S0&GC)R
(S2&GC)R
(S0&S2)L
(S0&GC)L
(S2&GC)L
CLOCK
for x > 1
ADC gate to LeCroy 4616
input 13 (ECL)
To TM on LHRS
To FIFO

## Slide 15
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
1 2 3 4
5 6 7 8
9 10 11 12
13 14 15 16
LeCroy 4616
TDC Gate
ADC Gate
Dual Gate
Generator
start busy stop
in out
BLANK TTL DEL
OR NIM NIM
start busy stop
in out
BLANK TTL DEL
OR NIM NIM
A
B
C
D
out
out
veto
out
coinc.
level
A
B
C
D
out
out
veto
out
coinc.
level
A
B
C
D
out
out
veto
out
coinc.
level
A
B
C
D
out
out
veto
out
coinc.
level
Quad Logic
FIFO
(Octal conf.)
FB TDC
FB TDC
FB ADC
FB ADC
ADC Gate
TDC Gate

## Slide 16
Busy from LHRS
From LeCroy 4616 Rack 3 Bot Crate – Ch 5
From LeCroy 4616 Rack 3 Bot Crate – Ch 3
From LeCroy 4616 Rack 3 Bot Crate – Ch 4
FIFO
(Octal conf.)
out
out
out
out
out
out
in
in
Sync/Gate/FB/MID
Sync/Gate/FB/TOP
Scaler 4 - Gate
Scaler 5 - Gate
Scaler 1 - Gate
Scaler 3 – Ch1
Ch1 LHRS-RHRS
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
1 2 3 4
5 6 7 8
9 10 11 12
13 14 15 16
TI
scaler 1
scaler 2
scaler 3
scaler 4
scaler 5
scaler 6
scaler 7
RT
RACK 3 – MID CRATE
FB input in TS
Scaler 5 – input 10
Scaler 5 – input 11
Unplugged
From SG_03 in TM module (Rack 3 Mid Crate)
TI output 0
Betty D-10
Betty D-11
LeCroy 4616
(Rack 3 Bot Crate Left)
RHRS
LeCroy 4616 (Left) & FIFO (Rack 3, Bot Crate)
April 18, 2017

## Slide 17
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
1 2 3 4
5 6 7 8
9 10 11 12
13 14 15 16
S0 & S2
S0 & GC
S2 & GC
S0 & SH
S2 & SH
GC & SH
EDTM
CLOCK
From LeCroy 4616 Rack 3 Top Crate (BCM 3)
[EMPTY]
[TERMINATED]
[TERMINATED]
[TERMINATED]
RT
[EMPTY]
[EMPTY]
[EMPTY]
LeCroy 4616
(Rack 3 Bot Crate Right)
Downstairs
?
LeCroy 4616
?
From TM (TDC Gate)
From TS (output 3)
TOP FB TDC
MID FB TDC
BOT FB ADC
?
Going Downstairs
Logic Unit
Logic Unit
Logic Unit (just making copies)
Discriminator
FIFO Rack 3 Bot Crate Module 7
FIFO Rack 3 Bot Crate Module 7
FIFO Rack 3 Bot Crate Module 8
Dual Gate Generator
Dual Gate Generator
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
NIM – ECL
Converter
To TS
RHRS
LeCroy 4616 (Right) & NIM-ECL
(Rack 3, Bot Crate)
April 18, 2017

## Slide 18
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
1 2 3 4
5 6 7 8
9 10 11 12
13 14 15 16
Dual Gate Grator
start busy stop
in out
BLANK TTL DEL
OR NIM NIM
start busy stop
in out
BLANK TTL DEL
OR NIM NIM
A
B
C
D
out
out
veto
out
coinc.
level
A
B
C
D
out
out
veto
out
coinc.
level
A
B
C
D
out
out
veto
out
coinc.
level
A
B
C
D
out
out
veto
out
coinc.
level