SC1 VPlane Signals Map
T- Top row of wires
M- Middle row of wires
B- Bottom row of wires
Module M1V1 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair		Module M2V1 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair
B1.T	1	V1	SC1.2	7		B1.T	1	V1	SC1.2	13
B1.M	2	V2	SC1.2	5		B1.M	2	V2	SC1.2	11
B1.B	3	V3	SC1.2	3		B1.B	3	V3	SC1.2	9
B2.T	4	V1	SC1.2	7		B2.T	4	V1	SC1.2	13
B2.M	5	V2	SC1.2	5		B2.M	5	V2	SC1.2	11
B2.B	6	V3	SC1.2	3		B2.B	6	V3	SC1.2	9
B3.T	7	V1	SC1.2	7		B3.T	7	V1	SC1.2	13
B3.M	8	V2	SC1.2	5		B3.M	8	V2	SC1.2	11
B3.B	9	V3	SC1.2	3		B3.B	9	V3	SC1.2	9
B4.T	10	V1	SC1.2	7		B4.T	10	V1	SC1.2	13
B4.M	11	V2	SC1.2	5		B4.M	11	V2	SC1.2	11
B4.B	12	V3	SC1.2	3		B4.B	12	V3	SC1.2	9
B5.T	13	V1	SC1.2	7		B5.T	13	V1	SC1.2	13
B5.M	14	V2	SC1.2	5		B5.M	14	V2	SC1.2	11
B5.B	15	V3	SC1.2	3		B5.B	15	V3	SC1.2	9
B6.T	16	V1	SC1.2	7		B6.T	16	V1	SC1.2	13
	Connector P2 / (16 pin)						Connector P2 / (16 pin)
B6.M	1	V2	SC1.2	5		B6.M	1	V2	SC1.2	11
B6.B	2	V3	SC1.2	3		B6.B	2	V3	SC1.2	9
B7.T	3	V1	SC1.2	7		B7.T	3	V1	SC1.2	13
B7.M	4	V2	SC1.2	5		B7.M	4	V2	SC1.2	11
B7.B	5	V3	SC1.2	3		B7.B	5	V3	SC1.2	9
B8.T	6	V1	SC1.2	7		B8.T	6	V1	SC1.2	13
B8.M	7	V2	SC1.2	5		B8.M	7	V2	SC1.2	11
B8.B	8	V3	SC1.2	3		B8.B	8	V3	SC1.2	9
A1.T	9	V1	SC1.2	8		A1.T	9	V1	SC1.2	14
A1.M	10	V2	SC1.2	6		A1.M	10	V2	SC1.2	12
A1.B	11	V3	SC1.2	4		A1.B	11	V3	SC1.2	10
A2.T	12	V1	SC1.2	8		A2.T	12	V1	SC1.2	14
A2.M	13	V2	SC1.2	6		A2.M	13	V2	SC1.2	12
A2.B	14	V3	SC1.2	4		A2.B	14	V3	SC1.2	10
A3.T	15	V1	SC1.2	8		A3.T	15	V1	SC1.2	14
A3.M	16	V2	SC1.2	6		A3.M	16	V2	SC1.2	12
	Connector P3 / (16 pin )						Connector P3 / (16 pin )
A3.B	1	V3	SC1.2	4		A3.B	1	V3	SC1.2	10
A4.T	2	V1	SC1.2	8		A4.T	2	V1	SC1.2	14
A4.M	3	V2	SC1.2	6		A4.M	3	V2	SC1.2	12
A4.B	4	V3	SC1.2	4		A4.B	4	V3	SC1.2	10
A5.T	5	V1	SC1.2	8		A5.T	5	V1	SC1.2	14
A5.M	6	V2	SC1.2	6		A5.M	6	V2	SC1.2	12
A5.B	7	V3	SC1.2	4		A5.B	7	V3	SC1.2	10
A6.T	8	V1	SC1.2	8		A6.T	8	V1	SC1.2	14
A6.M	9	V2	SC1.2	6		A6.M	9	V2	SC1.2	12
A6.B	10	V3	SC1.2	4		A6.B	10	V3	SC1.2	10
A7.T	11	V1	SC1.2	8		A7.T	11	V1	SC1.2	14
A7.M	12	V2	SC1.2	6		A7.M	12	V2	SC1.2	12
A7.B	13	V3	SC1.2	4		A7.B	13	V3	SC1.2	10
A8.T	14	V1	SC1.2	8		A8.T	14	V1	SC1.2	14
A8.M	15	V2	SC1.2	6		A8.M	15	V2	SC1.2	12
A8.B	16	V3	SC1.2	4		A8.B	16	V3	SC1.2	10

SC1.2, V2M3, SC1.1, #2CH1- is the flat cables to the level translators.

SC1 V Plane Signals Map
T- Top row of wires
M- Middle row of wires
B- Bottom row of wires

Module M3V1 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair		Module M4V1 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair
B1.T	1	V1	V2M3	3		B1.T	1	V1	V2M3	9
B1.M	2	V2	V2M3	1		B1.M	2	V2	V2M3	7
B1.B	3	V3	SC1.2	15		B1.B	3	V3	V2M3	5
B2.T	4	V1	V2M3	3		B2.T	4	V1	V2M3	9
B2.M	5	V2	V2M3	1		B2.M	5	V2	V2M3	7
B2.B	6	V3	SC1.2	15		B2.B	6	V3	V2M3	5
B3.T	7	V1	V2M3	3		B3.T	7	V1	V2M3	9
B3.M	8	V2	V2M3	1		B3.M	8	V2	V2M3	7
B3.B	9	V3	SC1.2	15		B3.B	9	V3	V2M3	5
B4.T	10	V1	V2M3	3		B4.T	10	V1	V2M3	9
B4.M	11	V2	V2M3	1		B4.M	11	V2	V2M3	7
B4.B	12	V3	SC1.2	15		B4.B	12	V3	V2M3	5
B5.T	13	V1	V2M3	3		B5.T	13	V1	V2M3	9
B5.M	14	V2	V2M3	1		B5.M	14	V2	V2M3	7
B5.B	15	V3	SC1.2	15		B5.B	15	V3	V2M3	5
B6.T	16	V1	V2M3	3		B6.T	16	V1	V2M3	9
	Connector P2 / (16 pin)						Connector P2 / (16 pin)
B6.M	1	V2	V2M3	1		B6.M	1	V2	V2M3	7
B6.B	2	V3	SC1.2	15		B6.B	2	V3	V2M3	5
B7.T	3	V1	V2M3	3		B7.T	3	V1	V2M3	9
B7.M	4	V2	V2M3	1		B7.M	4	V2	V2M3	7
B7.B	5	V3	SC1.2	15		B7.B	5	V3	V2M3	5
B8.T	6	V1	V2M3	3		B8.T	6	V1	V2M3	9
B8.M	7	V2	V2M3	1		B8.M	7	V2	V2M3	7
B8.B	8	V3	SC1.2	15		B8.B	8	V3	V2M3	5
A1.T	9	V1	V2M3	4		A1.T	9	V1	V2M3	10
A1.M	10	V2	V2M3	2		A1.M	10	V2	V2M3	8
A1.B	11	V3	SC1.2	16		A1.B	11	V3	V2M3	6
A2.T	12	V1	V2M3	4		A2.T	12	V1	V2M3	10
A2.M	13	V2	V2M3	2		A2.M	13	V2	V2M3	8
A2.B	14	V3	SC1.2	16		A2.B	14	V3	V2M3	6
A3.T	15	V1	V2M3	4		A3.T	15	V1	V2M3	10
A3.M	16	V2	V2M3	2		A3.M	16	V2	V2M3	8
	Connector P3 / (16 pin )						Connector P3 / (16 pin )
A3.B	1	V3	SC1.2	16		A3.B	1	V3	V2M3	6
A4.T	2	V1	V2M3	4		A4.T	2	V1	V2M3	10
A4.M	3	V2	V2M3	2		A4.M	3	V2	V2M3	8
A4.B	4	V3	SC1.2	16		A4.B	4	V3	V2M3	6
A5.T	5	V1	V2M3	4		A5.T	5	V1	V2M3	10
A5.M	6	V2	V2M3	2		A5.M	6	V2	V2M3	8
A5.B	7	V3	SC1.2	16		A5.B	7	V3	V2M3	6
A6.T	8	V1	V2M3	4		A6.T	8	V1	V2M3	10
A6.M	9	V2	V2M3	2		A6.M	9	V2	V2M3	8
A6.B	10	V3	SC1.2	16		A6.B	10	V3	V2M3	6
A7.T	11	V1	V2M3	4		A7.T	11	V1	V2M3	10
A7.M	12	V2	V2M3	2		A7.M	12	V2	V2M3	8
A7.B	13	V3	SC1.2	16		A7.B	13	V3	V2M3	6
A8.T	14	V1	V2M3	4		A8.T	14	V1	V2M3	10
A8.M	15	V2	V2M3	2		A8.M	15	V2	V2M3	8
A8.B	16	V3	SC1.2	16		A8.B	16	V3	V2M3	6

SC1.2, V2M3, SC1.1, #2CH1- is the flat cables to the level translators.

SC1 V Plane Signals Map
T- Top row of wires
M- Middle row of wires
B- Bottom row of wires

Module M5V1 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair		Module M6V1 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair
B1.T	1	V1	V2M3	15		B1.T	1	V1	SC1.1	5
B1.M	2	V2	V2M3	13		B1.M	2	V2	SC1.1	3
B1.B	3	V3	V2M3	11		B1.B	3	V3	SC1.1	1
B.T	4	V1	V2M3	15		B.T	4	V1	SC1.1	5
B2.M	5	V2	V2M3	13		B2.M	5	V2	SC1.1	3
B2.B	6	V3	V2M3	11		B2.B	6	V3	SC1.1	1
B3.T	7	V1	V2M3	15		B3.T	7	V1	SC1.1	5
B3.M	8	V2	V2M3	13		B3.M	8	V2	SC1.1	3
B3.B	9	V3	V2M3	11		B3.B	9	V3	SC1.1	1
B4.T	10	V1	V2M3	15		B4.T	10	V1	SC1.1	5
B4.M	11	V2	V2M3	13		B4.M	11	V2	SC1.1	3
B4.B	12	V3	V2M3	11		B4.B	12	V3	SC1.1	1
B5.T	13	V1	V2M3	15		B5.T	13	V1	SC1.1	5
B5.M	14	V2	V2M3	13		B5.M	14	V2	SC1.1	3
B5.B	15	V3	V2M3	11		B5.B	15	V3	SC1.1	1
B6.T	16	V1	V2M3	15		B6.T	16	V1	SC1.1	5
	Connector P2 / (16 pin)						Connector P2 / (16 pin)
B6.M	1	V2	V2M3	13		B6.M	1	V2	SC1.1	3
B6.B	2	V3	V2M3	11		B6.B	2	V3	SC1.1	1
B7.T	3	V1	V2M3	15		B7.T	3	V1	SC1.1	5
B7.M	4	V2	V2M3	13		B7.M	4	V2	SC1.1	3
B7.B	5	V3	V2M3	11		B7.B	5	V3	SC1.1	1
B8.T	6	V1	V2M3	15		B8.T	6	V1	SC1.1	5
B8.M	7	V2	V2M3	13		B8.M	7	V2	SC1.1	3
B8.B	8	V3	V2M3	11		B8.B	8	V3	SC1.1	1
A1.T	9	V1	V2M3	16		A1.T	9	V1	SC1.1	6
A1.M	10	V2	V2M3	14		A1.M	10	V2	SC1.1	4
A1.B	11	V3	V2M3	12		A1.B	11	V3	SC1.1	2
A2.T	12	V1	V2M3	16		A2.T	12	V1	SC1.1	6
A2.M	13	V2	V2M3	14		A2.M	13	V2	SC1.1	4
A2.B	14	V3	V2M3	12		A2.B	14	V3	SC1.1	2
A3.T	15	V1	V2M3	16		A3.T	15	V1	SC1.1	6
A3.M	16	V2	V2M3	14		A3.M	16	V2	SC1.1	4
	Connector P3 / (16 pin )						Connector P3 / (16 pin )
A3.B	1	V3	V2M3	12		A3.B	1	V3	SC1.1	2
A4.T	2	V1	V2M3	16		A4.T	2	V1	SC1.1	6
A4.M	3	V2	V2M3	14		A4.M	3	V2	SC1.1	4
A4.B	4	V3	V2M3	12		A4.B	4	V3	SC1.1	2
A5.T	5	V1	V2M3	16		A5.T	5	V1	SC1.1	6
A5.M	6	V2	V2M3	14		A5.M	6	V2	SC1.1	4
A5.B	7	V3	V2M3	12		A5.B	7	V3	SC1.1	2
A6.T	8	V1	V2M3	16		A6.T	8	V1	SC1.1	6
A6.M	9	V2	V2M3	14		A6.M	9	V2	SC1.1	4
A6.B	10	V3	V2M3	12		A6.B	10	V3	SC1.1	2
A7.T	11	V1	V2M3	16		A7.T	11	V1	SC1.1	6
A7.M	12	V2	V2M3	14		A7.M	12	V2	SC1.1	4
A7.B	13	V3	V2M3	12		A7.B	13	V3	SC1.1	2
A8.T	14	V1	V2M3	16		A8.T	14	V1	SC1.1	6
A8.M	15	V2	V2M3	14		A8.M	15	V2	SC1.1	4
A8.B	16	V3	V2M3	12		A8.B	16	V3	SC1.1	2

SC1.2, V2M3, SC1.1, #2CH1- is the flat cables to the level translators.

SC1 V Plane Signals Map

T- Top row of wires
M- Middle row of wires
B- Bottom row of wires

Module M7V1 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair		Module M8V1 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair
B1.T	1	V1	SC1.1	11		B1.T	1	V1	#2CH1	1
B1.M	2	V2	SC1.1	9		B1.M	2	V2	SC1.1	15
B1.B	3	V3	SC1.1	7		B1.B	3	V3	SC1.1	13
B.T	4	V1	SC1.1	11		B.T	4	V1	#2CH1	1
B2.M	5	V2	SC1.1	9		B2.M	5	V2	SC1.1	15
B2.B	6	V3	SC1.1	7		B2.B	6	V3	SC1.1	13
B3.T	7	V1	SC1.1	11		B3.T	7	V1	#2CH1	1
B3.M	8	V2	SC1.1	9		B3.M	8	V2	SC1.1	15
B3.B	9	V3	SC1.1	7		B3.B	9	V3	SC1.1	13
B4.T	10	V1	SC1.1	11		B4.T	10	V1	#2CH1	1
B4.M	11	V2	SC1.1	9		B4.M	11	V2	SC1.1	15
B4.B	12	V3	SC1.1	7		B4.B	12	V3	SC1.1	13
B5.T	13	V1	SC1.1	11		B5.T	13	V1	#2CH1	1
B5.M	14	V2	SC1.1	9		B5.M	14	V2	SC1.1	15
B5.B	15	V3	SC1.1	7		B5.B	15	V3	SC1.1	13
B6.T	16	V1	SC1.1	11		B6.T	16	V1	#2CH1	1
	Connector P2 / (16 pin)						Connector P2 / (16 pin)
B6.M	1	V2	SC1.1	9		B6.M	1	V2	SC1.1	15
B6.B	2	V3	SC1.1	7		B6.B	2	V3	SC1.1	13
B7.T	3	V1	SC1.1	11		B7.T	3	V1	#2CH1	1
B7.M	4	V2	SC1.1	9		B7.M	4	V2	SC1.1	15
B7.B	5	V3	SC1.1	7		B7.B	5	V3	SC1.1	13
B8.T	6	V1	SC1.1	11		B8.T	6	V1	#2CH1	1
B8.M	7	V2	SC1.1	9		B8.M	7	V2	SC1.1	15
B8.B	8	V3	SC1.1	7		B8.B	8	V3	SC1.1	13
A1.T	9	V1	SC1.1	12		A1.T	9	V1	#2CH1	2
A1.M	10	V2	SC1.1	10		A1.M	10	V2	SC1.1	16
A1.B	11	V3	SC1.1	8		A1.B	11	V3	SC1.1	14
A2.T	12	V1	SC1.1	12		A2.T	12	V1	#2CH1	2
A2.M	13	V2	SC1.1	10		A2.M	13	V2	SC1.1	16
A2.B	14	V3	SC1.1	8		A2.B	14	V3	SC1.1	14
A3.T	15	V1	SC1.1	12		A3.T	15	V1	#2CH1	2
A3.M	16	V2	SC1.1	10		A3.M	16	V2	SC1.1	16
	Connector P3 / (16 pin )						Connector P3 / (16 pin )
A3.B	1	V3	SC1.1	8		A3.B	1	V3	SC1.1	14
A4.T	2	V1	SC1.1	12		A4.T	2	V1	#2CH1	2
A4.M	3	V2	SC1.1	10		A4.M	3	V2	SC1.1	16
A4.B	4	V3	SC1.1	8		A4.B	4	V3	SC1.1	14
A5.T	5	V1	SC1.1	12		A5.T	5	V1	#2CH1	2
A5.M	6	V2	SC1.1	10		A5.M	6	V2	SC1.1	16
A5.B	7	V3	SC1.1	8		A5.B	7	V3	SC1.1	14
A6.T	8	V1	SC1.1	12		A6.T	8	V1	#2CH1	2
A6.M	9	V2	SC1.1	10		A6.M	9	V2	SC1.1	16
A6.B	10	V3	SC1.1	8		A6.B	10	V3	SC1.1	14
A7.T	11	V1	SC1.1	12		A7.T	11	V1	#2CH1	2
A7.M	12	V2	SC1.1	10		A7.M	12	V2	SC1.1	16
A7.B	13	V3	SC1.1	8		A7.B	13	V3	SC1.1	14
A8.T	14	V1	SC1.1	12		A8.T	14	V1	#2CH1	2
A8.M	15	V2	SC1.1	10		A8.M	15	V2	SC1.1	16
A8.B	16	V3	SC1.1	8		A8.B	16	V3	SC1.1	14

SC1.2, V2M3, SC1.1, #2CH1- is the flat cables to the level translators.

SC1 V Plane Signals Map
T- Top row of wires
M- Middle row of wires
B- Bottom row of wires

Module M9V1 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair		Module M10V1 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair
B1.T	1	V1	#2CH1	7		B1.T	1	V1	#2CH1	13
B1.M	2	V2	#2CH1	5		B1.M	2	V2	#2CH1	11
B1.B	3	V3	#2CH1	3		B1.B	3	V3	#2CH1	9
B.T	4	V1	#2CH1	7		B.T	4	V1	#2CH1	13
B2.M	5	V2	#2CH1	5		B2.M	5	V2	#2CH1	11
B2.B	6	V3	#2CH1	3		B2.B	6	V3	#2CH1	9
B3.T	7	V1	#2CH1	7		B3.T	7	V1	#2CH1	13
B3.M	8	V2	#2CH1	5		B3.M	8	V2	#2CH1	11
B3.B	9	V3	#2CH1	3		B3.B	9	V3	#2CH1	9
B4.T	10	V1	#2CH1	7		B4.T	10	V1	#2CH1	13
B4.M	11	V2	#2CH1	5		B4.M	11	V2	#2CH1	11
B4.B	12	V3	#2CH1	3		B4.B	12	V3	#2CH1	9
B5.T	13	V1	#2CH1	7		B5.T	13	V1	#2CH1	13
B5.M	14	V2	#2CH1	5		B5.M	14	V2	#2CH1	11
B5.B	15	V3	#2CH1	3		B5.B	15	V3	#2CH1	9
B6.T	16	V1	#2CH1	7		B6.T	16	V1	#2CH1	13
	Connector P2 / (16 pin)						Connector P2 / (16 pin)
B6.M	1	V2	#2CH1	5		B6.M	1	V2	#2CH1	11
B6.B	2	V3	#2CH1	3		B6.B	2	V3	#2CH1	9
B7.T	3	V1	#2CH1	7		B7.T	3	V1	#2CH1	13
B7.M	4	V2	#2CH1	5		B7.M	4	V2	#2CH1	11
B7.B	5	V3	#2CH1	3		B7.B	5	V3	#2CH1	9
B8.T	6	V1	#2CH1	7		B8.T	6	V1	#2CH1	13
B8.M	7	V2	#2CH1	5		B8.M	7	V2	#2CH1	11
B8.B	8	V3	#2CH1	3		B8.B	8	V3	#2CH1	9
A1.T	9	V1	#2CH1	8		A1.T	9	V1	#2CH1	14
A1.M	10	V2	#2CH1	6		A1.M	10	V2	#2CH1	12
A1.B	11	V3	#2CH1	4		A1.B	11	V3	#2CH1	10
A2.T	12	V1	#2CH1	8		A2.T	12	V1	#2CH1	14
A2.M	13	V2	#2CH1	6		A2.M	13	V2	#2CH1	12
A2.B	14	V3	#2CH1	4		A2.B	14	V3	#2CH1	10
A3.T	15	V1	#2CH1	8		A3.T	15	V1	#2CH1	14
A3.M	16	V2	#2CH1	6		A3.M	16	V2	#2CH1	12
	Connector P3 / (16 pin )						Connector P3 / (16 pin )
A3.B	1	V3	#2CH1	4		A3.B	1	V3	#2CH1	10
A4.T	2	V1	#2CH1	8		A4.T	2	V1	#2CH1	14
A4.M	3	V2	#2CH1	6		A4.M	3	V2	#2CH1	12
A4.B	4	V3	#2CH1	4		A4.B	4	V3	#2CH1	10
A5.T	5	V1	#2CH1	8		A5.T	5	V1	#2CH1	14
A5.M	6	V2	#2CH1	6		A5.M	6	V2	#2CH1	12
A5.B	7	V3	#2CH1	4		A5.B	7	V3	#2CH1	10
A6.T	8	V1	#2CH1	8		A6.T	8	V1	#2CH1	14
A6.M	9	V2	#2CH1	6		A6.M	9	V2	#2CH1	12
A6.B	10	V3	#2CH1	4		A6.B	10	V3	#2CH1	10
A7.T	11	V1	#2CH1	8		A7.T	11	V1	#2CH1	14
A7.M	12	V2	#2CH1	6		A7.M	12	V2	#2CH1	12
A7.B	13	V3	#2CH1	4		A7.B	13	V3	#2CH1	10
A8.T	14	V1	#2CH1	8		A8.T	14	V1	#2CH1	14
A8.M	15	V2	#2CH1	6		A8.M	15	V2	#2CH1	12
A8.B	16	V3	#2CH1	4		A8.B	16	V3	#2CH1	10

SC1.2, V2M3, SC1.1, #2CH1- is the flat cables to the level translators.