SC2 U Plane Signals Map

Module M1U6 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair		Module M2U6 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair
B1.T	1	U6	1 CH.2	1		B1.T	1	U6	1 CH.2	7
B1.M	2	U5	1 CH.2	3		B1.M	2	U5	1 CH.2	9
B1.B	3	U4	1 CH.2	5		B1.B	3	U4	1 CH.2	11
B2.T	4	U6	1 CH.2	1		B2.T	4	U6	1 CH.2	7
B2.M	5	U5	1 CH.2	3		B2.M	5	U5	1 CH.2	9
B2.B	6	U4	1 CH.2	5		B2.B	6	U4	1 CH.2	11
B3.T	7	U6	1 CH.2	1		B3.T	7	U6	1 CH.2	7
B3.M	8	U5	1 CH.2	3		B3.M	8	U5	1 CH.2	9
B3.B	9	U4	1 CH.2	5		B3.B	9	U4	1 CH.2	11
B4.T	10	U6	1 CH.2	1		B4.T	10	U6	1 CH.2	7
B4.M	11	U5	1 CH.2	3		B4.M	11	U5	1 CH.2	9
B4.B	12	U4	1 CH.2	5		B4.B	12	U4	1 CH.2	11
B5.T	13	U6	1 CH.2	1		B5.T	13	U6	1 CH.2	7
B5.M	14	U5	1 CH.2	3		B5.M	14	U5	1 CH.2	9
B5.B	15	U4	1 CH.2	5		B5.B	15	U4	1 CH.2	11
B6.T	16	U6	1 CH.2	1		B6.T	16	U6	1 CH.2	7
	Connector P2 / (16 pin)						Connector P2 / (16 pin)
B6.M	1	U5	1 CH.2	3		B6.M	1	U5	1 CH.2	9
B6.B	2	U4	1 CH.2	5		B6.B	2	U4	1 CH.2	11
B7.T	3	U6	1 CH.2	1		B7.T	3	U6	1 CH.2	7
B7.M	4	U5	1 CH.2	3		B7.M	4	U5	1 CH.2	9
B7.B	5	U4	1 CH.2	5		B7.B	5	U4	1 CH.2	11
B8.T	6	U6	1 CH.2	1		B8.T	6	U6	1 CH.2	7
B8.M	7	U5	1 CH.2	3		B8.M	7	U5	1 CH.2	9
B8.B	8	U4	1 CH.2	5		B8.B	8	U4	1 CH.2	11
A1.T	9	U6	1 CH.2	2		A1.T	9	U6	1 CH.2	8
A1.M	10	U5	1 CH.2	4		A1.M	10	U5	1 CH.2	10
A1.B	11	U4	1 CH.2	6		A1.B	11	U4	1 CH.2	12
A2.T	12	U6	1 CH.2	2		A2.T	12	U6	1 CH.2	8
A2.M	13	U5	1 CH.2	4		A2.M	13	U5	1 CH.2	10
A2.B	14	U4	1 CH.2	6		A2.B	14	U4	1 CH.2	12
A3.T	15	U6	1 CH.2	2		A3.T	15	U6	1 CH.2	8
A3.M	16	U5	1 CH.2	4		A3.M	16	U5	1 CH.2	10
	Connector P3 / (16 pin )						Connector P3 / (16 pin )
A3.B	1	U4	1 CH.2	6		A3.B	1	U4	1 CH.2	12
A4.T	2	U6	1 CH.2	2		A4.T	2	U6	1 CH.2	8
A4.M	3	U5	1 CH.2	4		A4.M	3	U5	1 CH.2	10
A4.B	4	U4	1 CH.2	6		A4.B	4	U4	1 CH.2	12
A5.T	5	U6	1 CH.2	2		A5.T	5	U6	1 CH.2	8
A5.M	6	U5	1 CH.2	4		A5.M	6	U5	1 CH.2	10
A5.B	7	U4	1 CH.2	6		A5.B	7	U4	1 CH.2	12
A6.T	8	U6	1 CH.2	2		A6.T	8	U6	1 CH.2	8
A6.M	9	U5	1 CH.2	4		A6.M	9	U5	1 CH.2	10
A6.B	10	U4	1 CH.2	6		A6.B	10	U4	1 CH.2	12
A7.T	11	U6	1 CH.2	2		A7.T	11	U6	1 CH.2	8
A7.M	12	U5	1 CH.2	4		A7.M	12	U5	1 CH.2	10
A7.B	13	U4	1 CH.2	6		A7.B	13	U4	1 CH.2	12
A8.T	14	U6	1 CH.2	2		A8.T	14	U6	1 CH.2	8
A8.M	15	U5	1 CH.2	4		A8.M	15	U5	1 CH.2	10
A8.B	16	U4	1 CH.2	6		A8.B	16	U4	1 CH.2	12

1CH.2 is the cable to the level translators.
T-Top wires row
M-middle wires row
B-bottom wires row

T-Top wires row
M-middle wires row
B-bottom wires row

SC2 U Plane Signals Map

Module M3U6 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair		Module M4U6 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair
B1.T	1	U6	1 CH.2	13		B1.T	1	U6	3 CH.2	3
B1.M	2	U5	1 CH.2	15		B1.M	2	U5	3 CH.2	5
B1.B	3	U4	3 CH.2	1		B1.B	3	U4	3 CH.2	7
B2.T	4	U6	1 CH.2	13		B2.T	4	U6	3 CH.2	3
B2.M	5	U5	1 CH.2	15		B2.M	5	U5	3 CH.2	5
B2.B	6	U4	3 CH.2	1		B2.B	6	U4	3 CH.2	7
B3.T	7	U6	1 CH.2	13		B3.T	7	U6	3 CH.2	3
B3.M	8	U5	1 CH.2	15		B3.M	8	U5	3 CH.2	5
B3.B	9	U4	3 CH.2	1		B3.B	9	U4	3 CH.2	7
B4.T	10	U6	1 CH.2	13		B4.T	10	U6	3 CH.2	3
B4.M	11	U5	1 CH.2	15		B4.M	11	U5	3 CH.2	5
B4.B	12	U4	3 CH.2	1		B4.B	12	U4	3 CH.2	7
B5.T	13	U6	1 CH.2	13		B5.T	13	U6	3 CH.2	3
B5.M	14	U5	1 CH.2	15		B5.M	14	U5	3 CH.2	5
B5.B	15	U4	3 CH.2	1		B5.B	15	U4	3 CH.2	7
B6.T	16	U6	1 CH.2	13		B6.T	16	U6	3 CH.2	3
	Connector P2 / (16 pin)						Connector P2 / (16 pin)
B6.M	1	U5	1 CH.2	15		B6.M	1	U5	3 CH.2	5
B6.B	2	U4	3 CH.2	1		B6.B	2	U4	3 CH.2	7
B7.T	3	U6	1 CH.2	13		B7.T	3	U6	3 CH.2	3
B7.M	4	U5	1 CH.2	15		B7.M	4	U5	3 CH.2	5
B7.B	5	U4	3 CH.2	1		B7.B	5	U4	3 CH.2	7
B8.T	6	U6	1 CH.2	13		B8.T	6	U6	3 CH.2	3
B8.M	7	U5	1 CH.2	15		B8.M	7	U5	3 CH.2	5
B8.B	8	U4	3 CH.2	1		B8.B	8	U4	3 CH.2	7
A1.T	9	U6	1 CH.2	14		A1.T	9	U6	3 CH.2	4
A1.M	10	U5	1 CH.2	16		A1.M	10	U5	3 CH.2	6
A1.B	11	U4	3 CH.2	2		A1.B	11	U4	3 CH.2	8
A2.T	12	U6	1 CH.2	14		A2.T	12	U6	3 CH.2	4
A2.M	13	U5	1 CH.2	16		A2.M	13	U5	3 CH.2	6
A2.B	14	U4	3 CH.2	2		A2.B	14	U4	3 CH.2	8
A3.T	15	U6	1 CH.2	14		A3.T	15	U6	3 CH.2	4
A3.M	16	U5	1 CH.2	16		A3.M	16	U5	3 CH.2	6
	Connector P3 / (16 pin )						Connector P3 / (16 pin )
A3.B	1	U4	3 CH.2	2		A3.B	1	U4	3 CH.2	8
A4.T	2	U6	1 CH.2	14		A4.T	2	U6	3 CH.2	4
A4.M	3	U5	1 CH.2	16		A4.M	3	U5	3 CH.2	6
A4.B	4	U4	3 CH.2	2		A4.B	4	U4	3 CH.2	8
A5.T	5	U6	1 CH.2	14		A5.T	5	U6	3 CH.2	4
A5.M	6	U5	1 CH.2	16		A5.M	6	U5	3 CH.2	6
A5.B	7	U4	3 CH.2	2		A5.B	7	U4	3 CH.2	8
A6.T	8	U6	1 CH.2	14		A6.T	8	U6	3 CH.2	4
A6.M	9	U5	1 CH.2	16		A6.M	9	U5	3 CH.2	6
A6.B	10	U4	3 CH.2	2		A6.B	10	U4	3 CH.2	8
A7.T	11	U6	1 CH.2	14		A7.T	11	U6	3 CH.2	4
A7.M	12	U5	1 CH.2	16		A7.M	12	U5	3 CH.2	6
A7.B	13	U4	3 CH.2	2		A7.B	13	U4	3 CH.2	8
A8.T	14	U6	1 CH.2	14		A8.T	14	U6	3 CH.2	4
A8.M	15	U5	1 CH.2	16		A8.M	15	U5	3 CH.2	6
A8.B	16	U4		2		A8.B	16	U4	3 CH.2	8

1CH.2, 3CH.2 are the cables to the level translators.

T-Top wires row
M-middle wires row
B-bottom wires row
SC2 U Plane Signals Map

Module M5U6 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair		Module M6U6 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair
B1.T	1	U6	3 CH.2	10		B1.T	1	U6	3CH.2	15
B1.M	2	U5	3 CH.2	11		B1.M	2	U5	5CH.2	1
B1.B	3	U4	3 CH.2	13		B1.B	3	U4	5CH.2	3
B2.T	4	U6	3 CH.2	10		B2.T	4	U6	3CH.2	15
B2.M	5	U5	3 CH.2	11		B2.M	5	U5	5CH.2	1
B2.B	6	U4	3 CH.2	13		B2.B	6	U4	5CH.2	3
B3.T	7	U6	3 CH.2	10		B3.T	7	U6	3CH.2	15
B3.M	8	U5	3 CH.2	11		B3.M	8	U5	5CH.2	1
B3.B	9	U4	3 CH.2	13		B3.B	9	U4	5CH.2	3
B4.T	10	U6	3 CH.2	10		B4.T	10	U6	3CH.2	15
B4.M	11	U5	3 CH.2	11		B4.M	11	U5	5CH.2	1
B4.B	12	U4	3 CH.2	13		B4.B	12	U4	5CH.2	3
B5.T	13	U6	3 CH.2	10		B5.T	13	U6	3CH.2	15
B5.M	14	U5	3 CH.2	11		B5.M	14	U5	5CH.2	1
B5.B	15	U4	3 CH.2	13		B5.B	15	U4	5CH.2	3
B6.T	16	U6	3 CH.2	10		B6.T	16	U6	3CH.2	15
	Connector P2 / (16 pin)						Connector P2 / (16 pin)
B6.M	1	U5	3 CH.2	11		B6.M	1	U5	5CH.2	1
B6.B	2	U4	3 CH.2	13		B6.B	2	U4	5CH.2	3
B7.T	3	U6	3 CH.2	10		B7.T	3	U6	3CH.2	15
B7.M	4	U5	3 CH.2	11		B7.M	4	U5	5CH.2	1
B7.B	5	U4	3 CH.2	13		B7.B	5	U4	5CH.2	3
B8.T	6	U6	3 CH.2	10		B8.T	6	U6	3CH.2	15
B8.M	7	U5	3 CH.2	11		B8.M	7	U5	5CH.2	1
B8.B	8	U4	3 CH.2	13		B8.B	8	U4	5CH.2	3
A1.T	9	U6	3 CH.2	9		A1.T	9	U6	3CH.2	16
A1.M	10	U5	3 CH.2	12		A1.M	10	U5	5CH.2	2
A1.B	11	U4	3 CH.2	14		A1.B	11	U4	5CH.2	4
A2.T	12	U6	3 CH.2	9		A2.T	12	U6	3CH.2	16
A2.M	13	U5	3 CH.2	12		A2.M	13	U5	5CH.2	2
A2.B	14	U4	3 CH.2	14		A2.B	14	U4	5CH.2	4
A3.T	15	U6	3 CH.2	9		A3.T	15	U6	3CH.2	16
A3.M	16	U5	3 CH.2	12		A3.M	16	U5	5CH.2	2
	Connector P3 / (16 pin )						Connector P3 / (16 pin )
A3.B	1	U4	3 CH.2	14		A3.B	1	U4	5CH.2	4
A4.T	2	U6	3 CH.2	9		A4.T	2	U6	3CH.2	16
A4.M	3	U5	3 CH.2	12		A4.M	3	U5	5CH.2	2
A4.B	4	U4	3 CH.2	14		A4.B	4	U4	5CH.2	4
A5.T	5	U6	3 CH.2	9		A5.T	5	U6	3CH.2	16
A5.M	6	U5	3 CH.2	12		A5.M	6	U5	5CH.2	2
A5.B	7	U4	3 CH.2	14		A5.B	7	U4	5CH.2	4
A6.T	8	U6	3 CH.2	9		A6.T	8	U6	3CH.2	16
A6.M	9	U5	3 CH.2	12		A6.M	9	U5	5CH.2	2
A6.B	10	U4	3 CH.2	14		A6.B	10	U4	5CH.2	4
A7.T	11	U6	3 CH.2	9		A7.T	11	U6	3CH.2	16
A7.M	12	U5	3 CH.2	12		A7.M	12	U5	5CH.2	2
A7.B	13	U4	3 CH.2	14		A7.B	13	U4	5CH.2	4
A8.T	14	U6	3 CH.2	9		A8.T	14	U6	3CH.2	16
A8.M	15	U5	3 CH.2	12		A8.M	15	U5	5CH.2	2
A8.B	16	U4	3 CH.2	14		A8.B	16	U4	5CH.2	4

3CH.2, 5CH.2 are the cables to the level translators.

T-Top wires row
M-middle wires row
B-bottom wires row
SC2 U Plane Signals Map

Module M7U6 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair		Module M8U6 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair
B1.T	1	U6	5CH.2	5		B1.T	1	U6	5CH.2	11
B1.M	2	U5	5CH.2	7		B1.M	2	U5	5CH.2	13
B1.B	3	U4	5CH.2	9		B1.B	3	U4	5CH.2	15
B2.T	4	U6	5CH.2	5		B2.T	4	U6	5CH.2	11
B2.M	5	U5	5CH.2	7		B2.M	5	U5	5CH.2	13
B2.B	6	U4	5CH.2	9		B2.B	6	U4	5CH.2	15
B3.T	7	U6	5CH.2	5		B3.T	7	U6	5CH.2	11
B3.M	8	U5	5CH.2	7		B3.M	8	U5	5CH.2	13
B3.B	9	U4	5CH.2	9		B3.B	9	U4	5CH.2	15
B4.T	10	U6	5CH.2	5		B4.T	10	U6	5CH.2	11
B4.M	11	U5	5CH.2	7		B4.M	11	U5	5CH.2	13
B4.B	12	U4	5CH.2	9		B4.B	12	U4	5CH.2	15
B5.T	13	U6	5CH.2	5		B5.T	13	U6	5CH.2	11
B5.M	14	U5	5CH.2	7		B5.M	14	U5	5CH.2	13
B5.B	15	U4	5CH.2	9		B5.B	15	U4	5CH.2	15
B6.T	16	U6	5CH.2	5		B6.T	16	U6	5CH.2	11
	Connector P2 / (16 pin)						Connector P2 / (16 pin)
B6.M	1	U5	5CH.2	7		B6.M	1	U5	5CH.2	13
B6.B	2	U4	5CH.2	9		B6.B	2	U4	5CH.2	15
B7.T	3	U6	5CH.2	5		B7.T	3	U6	5CH.2	11
B7.M	4	U5	5CH.2	7		B7.M	4	U5	5CH.2	13
B7.B	5	U4	5CH.2	9		B7.B	5	U4	5CH.2	15
B8.T	6	U6	5CH.2	5		B8.T	6	U6	5CH.2	11
B8.M	7	U5	5CH.2	7		B8.M	7	U5	5CH.2	13
B8.B	8	U4	5CH.2	9		B8.B	8	U4	5CH.2	15
A1.T	9	U6	5CH.2	6		A1.T	9	U6	5CH.2	12
A1.M	10	U5	5CH.2	8		A1.M	10	U5	5CH.2	14
A1.B	11	U4	5CH.2	10		A1.B	11	U4	5CH.2	16
A2.T	12	U6	5CH.2	6		A2.T	12	U6	5CH.2	12
A2.M	13	U5	5CH.2	8		A2.M	13	U5	5CH.2	14
A2.B	14	U4	5CH.2	10		A2.B	14	U4	5CH.2	16
A3.T	15	U6	5CH.2	6		A3.T	15	U6	5CH.2	12
A3.M	16	U5	5CH.2	8		A3.M	16	U5	5CH.2	14
	Connector P3 / (16 pin )						Connector P3 / (16 pin )
A3.B	1	U4	5CH.2	10		A3.B	1	U4	5CH.2	16
A4.T	2	U6	5CH.2	6		A4.T	2	U6	5CH.2	12
A4.M	3	U5	5CH.2	8		A4.M	3	U5	5CH.2	14
A4.B	4	U4	5CH.2	10		A4.B	4	U4	5CH.2	16
A5.T	5	U6	5CH.2	6		A5.T	5	U6	5CH.2	12
A5.M	6	U5	5CH.2	8		A5.M	6	U5	5CH.2	14
A5.B	7	U4	5CH.2	10		A5.B	7	U4	5CH.2	16
A6.T	8	U6	5CH.2	6		A6.T	8	U6	5CH.2	12
A6.M	9	U5	5CH.2	8		A6.M	9	U5	5CH.2	14
A6.B	10	U4	5CH.2	10		A6.B	10	U4	5CH.2	16
A7.T	11	U6	5CH.2	6		A7.T	11	U6	5CH.2	12
A7.M	12	U5	5CH.2	8		A7.M	12	U5	5CH.2	14
A7.B	13	U4	5CH.2	10		A7.B	13	U4	5CH.2	16
A8.T	14	U6	5CH.2	6		A8.T	14	U6	5CH.2	12
A8.M	15	U5	5CH.2	8		A8.M	15	U5	5CH.2	14
A8.B	16	U4	5CH.2	10		A8.B	16	U4	5CH.2	16

 5CH.2 is the cable to the level translators.

T-Top wires row
M-middle wires row
B-bottom wires row

SC2 U Plane Signals Map

Module M9U6 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair		Module M10U6 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair
B1.T	1	U6	7 CH.2	1		B1.T	1	U6	7 CH.2	7
B1.M	2	U5	7 CH.2	3		B1.M	2	U5	7 CH.2	9
B1.B	3	U4	7 CH.2	5		B1.B	3	U4	7 CH.2	11
B2.T	4	U6	7 CH.2	1		B2.T	4	U6	7 CH.2	7
B2.M	5	U5	7 CH.2	3		B2.M	5	U5	7 CH.2	9
B2.B	6	U4	7 CH.2	5		B2.B	6	U4	7 CH.2	11
B3.T	7	U6	7 CH.2	1		B3.T	7	U6	7 CH.2	7
B3.M	8	U5	7 CH.2	3		B3.M	8	U5	7 CH.2	9
B3.B	9	U4	7 CH.2	5		B3.B	9	U4	7 CH.2	11
B4.T	10	U6	7 CH.2	1		B4.T	10	U6	7 CH.2	7
B4.M	11	U5	7 CH.2	3		B4.M	11	U5	7 CH.2	9
B4.B	12	U4	7 CH.2	5		B4.B	12	U4	7 CH.2	11
B5.T	13	U6	7 CH.2	1		B5.T	13	U6	7 CH.2	7
B5.M	14	U5	7 CH.2	3		B5.M	14	U5	7 CH.2	9
B5.B	15	U4	7 CH.2	5		B5.B	15	U4	7 CH.2	11
B6.T	16	U6	7 CH.2	1		B6.T	16	U6	7 CH.2	7
	Connector P2 / (16 pin)						Connector P2 / (16 pin)
B6.M	1	U5	7 CH.2	3		B6.M	1	U5	7 CH.2	9
B6.B	2	U4	7 CH.2	5		B6.B	2	U4	7 CH.2	11
B7.T	3	U6	7 CH.2	1		B7.T	3	U6	7 CH.2	7
B7.M	4	U5	7 CH.2	3		B7.M	4	U5	7 CH.2	9
B7.B	5	U4	7 CH.2	5		B7.B	5	U4	7 CH.2	11
B8.T	6	U6	7 CH.2	1		B8.T	6	U6	7 CH.2	7
B8.M	7	U5	7 CH.2	3		B8.M	7	U5	7 CH.2	9
B8.B	8	U4	7 CH.2	5		B8.B	8	U4	7 CH.2	11
A1.T	9	U6	7 CH.2	2		A1.T	9	U6	7 CH.2	8
A1.M	10	U5	7 CH.2	4		A1.M	10	U5	7 CH.2	10
A1.B	11	U4	7 CH.2	6		A1.B	11	U4	7 CH.2	12
A2.T	12	U6	7 CH.2	2		A2.T	12	U6	7 CH.2	8
A2.M	13	U5	7 CH.2	4		A2.M	13	U5	7 CH.2	10
A2.B	14	U4	7 CH.2	6		A2.B	14	U4	7 CH.2	12
A3.T	15	U6	7 CH.2	2		A3.T	15	U6	7 CH.2	8
A3.M	16	U5	7 CH.2	4		A3.M	16	U5	7 CH.2	10
	Connector P3 / (16 pin )						Connector P3 / (16 pin )
A3.B	1	U4	7 CH.2	6		A3.B	1	U4	7 CH.2	12
A4.T	2	U6	7 CH.2	2		A4.T	2	U6	7 CH.2	8
A4.M	3	U5	7 CH.2	4		A4.M	3	U5	7 CH.2	10
A4.B	4	U4	7 CH.2	6		A4.B	4	U4	7 CH.2	12
A5.T	5	U6	7 CH.2	2		A5.T	5	U6	7 CH.2	8
A5.M	6	U5	7 CH.2	4		A5.M	6	U5	7 CH.2	10
A5.B	7	U4	7 CH.2	6		A5.B	7	U4	7 CH.2	12
A6.T	8	U6	7 CH.2	2		A6.T	8	U6	7 CH.2	8
A6.M	9	U5	7 CH.2	4		A6.M	9	U5	7 CH.2	10
A6.B	10	U4	7 CH.2	6		A6.B	10	U4	7 CH.2	12
A7.T	11	U6	7 CH.2	2		A7.T	11	U6	7 CH.2	8
A7.M	12	U5	7 CH.2	4		A7.M	12	U5	7 CH.2	10
A7.B	13	U4	7 CH.2	6		A7.B	13	U4	7 CH.2	12
A8.T	14	U6	7 CH.2	2		A8.T	14	U6	7 CH.2	8
A8.M	15	U5	7 CH.2	4		A8.M	15	U5	7 CH.2	10
A8.B	16	U4	7 CH.2	6		A8.B	16	U4	7 CH.2	12

7CH.2 is the cable to the level translators.

T-Top wires row
M-middle wires row
B-bottom wires row

SC2 U Plane Signals Map

Module M11U6 Wire	Connector P1 / (16 pin )	Readout board	Flat Cable / marking	Number of / twisted pair
B1.T	1	U6	7CH.2	13
B1.M	2	U5	7CH.2	15
B1.B	3	U4	8CH.2	1
B2.T	4	U6	7CH.2	13
B2.M	5	U5	7CH.2	15
B2.B	6	U4	8CH.2	1
B3.T	7	U6	7CH.2	13
B3.M	8	U5	7CH.2	15
B3.B	9	U4	8CH.2	1
B4.T	10	U6	7CH.2	13
B4.M	11	U5	7CH.2	15
B4.B	12	U4	8CH.2	1
B5.T	13	U6	7CH.2	13
B5.M	14	U5	7CH.2	15
B5.B	15	U4	8CH.2	1
B6.T	16	U6	7CH.2	13
	Connector P2 / (16 pin)
B6.M	1	U5	7CH.2	15
B6.B	2	U4	8CH.2	1
B7.T	3	U6	7CH.2	13
B7.M	4	U5	7CH.2	15
B7.B	5	U4	8CH.2	1
B8.T	6	U6	7CH.2	13
B8.M	7	U5	7CH.2	15
B8.B	8	U4	8CH.2	1
A1.T	9	U6	7CH.2	14
A1.M	10	U5	7CH.2	16
A1.B	11	U4	8CH.2	2
A2.T	12	U6	7CH.2	14
A2.M	13	U5	7CH.2	16
A2.B	14	U4	8CH.2	2
A3.T	15	U6	7CH.2	14
A3.M	16	U5	7CH.2	16
	Connector P3 / (16 pin )
A3.B	1	U4	8CH.2	2
A4.T	2	U6	7CH.2	14
A4.M	3	U5	7CH.2	16
A4.B	4	U4	8CH.2	2
A5.T	5	U6	7CH.2	14
A5.M	6	U5	7CH.2	16
A5.B	7	U4	8CH.2	2
A6.T	8	U6	7CH.2	14
A6.M	9	U5	7CH.2	16
A6.B	10	U4	8CH.2	2
A7.T	11	U6	7CH.2	14
A7.M	12	U5	7CH.2	16
A7.B	13	U4	8CH.2	2
A8.T	14	U6	7CH.2	14
A8.M	15	U5	7CH.2	16
A8.B	16	U4

7CH.2, 8CH.2 are the cables to the level translators.