## Slide 1: Hall A Compton electron detector status
Camsonne
Hall A collaboration meeting
December 15th 2009

## Slide 2: Compton electron detector
Review of project
Issues
Status, results
Timeline

## Slide 3: Electron detector
Installation August 2008
Transversity
  No dedicated commissioning time
  “production data”
  In beam in January, detector cannot go in beam, dark current grows rapidly -> Thicker shielding
  Can put detector in beam but not in Compton position
d2n
  L shape shielding
  Can put detector in beam, no Compton events seen

## Slide 4: Electron detector
February-April : additionnal manpower Bob and Diancheng Wang
  Electronic tests – New electronics seems to operate correctly
  First detector tests with source – difficulties to determine efficiency
  Finish software, fix standalone code
He3 running
  Standard DAQ : First Compton, efficiency confirmed to be low
  Analog signals available
July August
  detector tests with source confirms low efficiency
  Pick-up from motor
  Cross-talk ( reduced to half detector)
  Grounding
Happex

## Slide 5: Electron detector
Happex
  Low current coincidence for photon DAQ calibration
  ( Efficiency low and background)
  Analysis
  Asymmetries
PVDIS : background too high for any measurements

## Slide 6: Efficiency
Signal over background ratio is poor
  Noise
  Signal size

## Slide 7: Noise
Intrinsic noise
  Capacitance larger than expected
Pickup
  Improved grounding, seem to reach the intrinsic noise
Cross Talk
  Half of channels used fro Happex

## Slide 8: Detector design

## Slide 9: Shielding
Aluminium
  Previous thickness was not adequate for this detector
  Sensitivity of the detector to be studied
Copper
  0.5 mm of copper sufficient for 3 GeV running but not for 6 GeV ( 5 times thicker than expected )

## Slide 10: Coincidence spectrum

## Slide 11: Coincidence spectrum

## Slide 12: Coincidence spectrum

## Slide 13: Single arm compton
Compton spectrum

## Slide 14: Single arm compton
Asymmetry

## Slide 15: Single arm compton
Standard
analysis

## Slide 16: Single arm compton
Standard analysis
<PePg_R> = 0.951121 +/- (0.0292806)stat
<PePg_L> = -0.885668 +/- (0.0255228)stat
<PePg> = 0.913927 +/- (0.0192396)stat
Roughly consistant with Moller
To be corrected for background
Contamination
Systematics to be studied

## Slide 17: Status
System works imperfectly
  Problem at high rate coincidence
  Junk events
  Low efficiency
  Odd distribution changes between different modes ( dead time issues)
  Background at high energy
  Effect of shielding
PREX
  DAQ, software work during the down ( uncertainty about the 240 Hz flip rate )
  Lower energy for PREX

## Slide 18: Conclusion
Detector is working sufficiently for calibration, might get a reasonable counting photon if run continuously
Single measurement accuracy not clear needs time and data to be studied
Significant amount of work needed to get a 100 % functional detector
Should work at least as well as HAPPEX III as far as detector is concerned
Question mark for standard DAQ at 240 Hz