## Slide 1
A precise extraction of the induced polarization in 4He(e,e’p)3H from E03-104
Simona Malace
University of South Carolina
Why we need it?
Outline
How we do it?
How precise is it at this point?

## Slide 2
E93-049 in Hall A at JLab
Why?
lalalalalalala
lalalalalalala
A precise extraction of…
Quasielstic scattering off 4He using the polarization transfer technique
- elastic => P’x/P’z ~ GE/GM
- quasielastic => P’x/P’z sensitive to GE/GM
- Py measure of final-state interactions (FSI)
(P’x/P’z)in-medium/ (P’x/P’z) free well described by conventional + unconventional (Madrid) OR conventional only nuclear medium effects (Schiavilla et al.)
Quantitatively, the two models predict different results for Py

## Slide 3
Nuclear Medium Effects: Madrid vs Schiavilla et al.
Why?
A precise extraction of…
RDWIA + QMC:
Relativistic treatment to: initial bound/final outgoing proton WF, current operator; MEC not included
- FSI: relativistic optical potentials (central + spin dependent )
Nuclear density-dependent proton
form factors via QMC model
J. Udias et al., Phys. Rev. Lett. 83, 5451 (1999)
Schiavilla et al.:
Variational wave functions for the bound three- and four-nucleon systems + nonrelativistic MEC
FSI via optical potentials with an additional charge-exchange term (largely unconstrained)
Free proton form factors
R. Schiavilla et al., Phys. Rev. Lett. 94, 072303 (2005)
Relativistic treatment +FSI: reduction by ~ 4 %
Density dependent form factors: reduction by ~ 6%
- FSI, no CH-EX: reduction by ~ 0.5 %
FSI + CH-EX: reduction by ~ 5.5 %
MEC: reduction by ~ 4%

## Slide 4
Extraction of the induced polarization from E03-104
Instrumental asymmetries complicate the extraction of induced polarization and are typically caused by:
- detector inefficiencies
- detector misalignments
- limited acceptance of the detector
Make sure the detector is equally efficient throughout the acceptance
Use straight-through events (no graphite block in FPP ) to determine the misalignment coefficients
Use a “cone test” : the “basis of the cone” has to fit within the active area of the FPP chambers
E03-104: data on both 4He and H (uniform coverage)
=> in 4He – H some false asymmetries cancel
=> use Py in H to estimate the size of false asymmetries
How?
A precise extraction of…

## Slide 5
Detector Inefficiencies
standard
standard
relaxed
u (cm)
Fourier Coefficient
relaxed
  FPP chambers inefficiencies
  Problem: dead wires in some planes => no track reconstructed by standard tracking algorithm
  Solution: relax the algorithm by requiring less hits for track reconstruction
u
v
Relaxed tracking: at least 1 hit in CH3 or CH4
- if 1 hit in each chamber => track
if 1 hit just in one of the chambers => hit + pC vertex = track
Standard tracking:
at least 1 hit in CH3/CH4 & at least 3 hits in total
tries to resolve the left-right ambiguities
How?
A precise extraction of…

## Slide 6
Detector Misalignments
  FPP chambers misalignments: standard alignment
  Problem: physical misalignments of FRONT and REAR FPP chambers => FRONT and REAR track misalignment and incorrect reconstruction of JFPP and fFPP
  Solution: use straight-through events to align the FRONT and REAR
Standard alignment
  Relaxed tracking +
  Standard alignment + Cone test
Strong asymmetries for H across the acceptance => false asymmetries
To minimize false asymmetries we thought of a revised method for alignment
How?
A precise extraction of…

## Slide 7
Alignment Method: Revised
FPP chambers misalignments: comparison standard-revised alignment
Standard Alignment: plane dependent correction
Align tracks in x, y: VDC-FRONT & FRONT-REAR
Revised Alignment: plane and wire dependent correction
Align tracks in u, v: VDC-FRONT & FRONT-REAR
Revised Alignment: Procedure
Select a “clean” sample of events and determine
Align VDC-FRONT & FRONT-REAR tracks in u and v
How?
A precise extraction of…

## Slide 8
Alignment Method: Revised
Select a “clean” sample of events and determine
this is used for alignment …
before correction
after
correction
How?
A precise extraction of…

## Slide 9
Align tracks in u and v
Alignment Method: Revised
No alignment
Plane alignment
Plane + track alignment
VDC-FRONT alignment
How?
A precise extraction of…

## Slide 10
Align tracks in u and v
Alignment Method: Revised
FRONT-REAR alignment
No alignment
Plane alignment
Plane + track alignment
How?
A precise extraction of…

## Slide 11
Cone Test and Cone-Test Cuts
Cuts to delimit the region where alignment coefficients are constrained
Elliptical cut to select the safe active region to be used
How?
A precise extraction of…

## Slide 12
Fourier Coefficients
After new alignment and news cone test cuts: reduction of false asymmetries
Not perfect so we still rely on subtraction of Py(H) from Py(He) to cancel some of the remaining false asymmetries
reduction by factor of 4
How precise?
A precise extraction of…

## Slide 13
Py: Systematic Checks
How precise?
A precise extraction of…

## Slide 14
Py: Preliminary Results
Greatly reduced systematic uncertainties for latest data: preliminary upper limit for systematic uncertainty 0.005, 4 times smaller than for E03-049
Neither calculation agrees presently to the latest, more precise data
How precise?
A precise extraction of…
blanlablablabal

## Slide 15
Summary
To extract the induced polarization with great accuracy:
revised the tracking algorithm to serve our needs
revised the alignment method (with appropriate cuts to eliminate background) for a more precise alignment
Greatly reduced systematic uncertainties for E03-104 data: preliminary upper limit for systematic uncertainty 0.005, 4 times smaller than for E03-049
Neither calculation agrees presently to the latest, more precise data
Draft of the Py paper no later than March 2010

## Slide 16
“What if” slides

## Slide 17
Coulomb distortion
off-shell effects
many-body currents
PmA
PmA-1
Pm N
final state interactions
Medium modifications of the nucleon form factor
Nuclear corrections beyond the impulse approximation: conventional and unconventional
Difficult to disentangle: need exhaustive knowledge of the conventional effects to reliably find signature of unconventional effects
Why?
A precise extraction of…
Nuclear Medium Effects

## Slide 18
Alignment Method: Revised
u plane
v plane
x
y
z
Determine Polynomial(wire) for each plane
Project VDC track to each palne of FRONT chamber and fit position difference: VDC(track)-FRONT(wire)
Project FRONT track to each palne of REAR chamber and fit position difference: FRONT(track)-REAR(wire)
position_u(v)_new = position_u(v)_old + Polynomial(wire)

## Slide 19
E03-104 in Hall A at JLab
Proton arm
Electron arm
Polarized Electron Beam
Target Chamber:
1H and 4He targets
m(3H)
Missing Mass (GeV)
3-body break-up
region
E93-049
0.5, 1.0, 2.6
0.8, 1.3
E03-104
Q2 (GeV2)
Focal Plane Polarimeter (FPP)
Extract with greater accuracy (P’x/P’z)He/ (P’x/P’z)H and Py