## Slide 1
THE GRINCH
Gas Ring Imaging Cherenkov Detector
T. Averett, M. Cummings, Bo Zhao, Valerie Gray William and Mary
B. Wojtsekhowski, Jefferson Lab

## Slide 2
12 GeV A1n will run with BB at 30 deg. Need good PID in noisy
  Environment. Commissioning expt for Hall A at 6.6, 8.8 GeV.
W&M responsibility—design, simulation, prototype, detector construction
Glasgow—Electronics, BB detector package coordination
Previous Concept—2,000 tube array of 0.75” diameter PMT’s
  from HERMES RICH
New Concept—Narrow array of 550 29 mm diameter PMT’s
  Low threshold, high singles rates
  Find timing clusters of ~10 PMT’s using TDC spectrum
  Timing cut ~10 ns
Expect to be able to handle 2 MHz or higher background rate
  per tube.
BigBite Gas Cherenkov for A1n at 12 GeV
T. Averett, M. Cummings, Bo Zhao, William and Mary
B. Wojtsekhowski, Jefferson Lab

## Slide 3: BigBite Spectrometer with Cherenkov at 30 deg

## Slide 4: Update on Simulation
GEANT4 simulation-Bo Zhao
  Basic detector and mirror concept complete
  Results showed narrow stripe of PMT’s are sufficient.
  Basic Design Determined
Design specs:
  1.5 atm C4F8O (1.0 atm, prev BB Cherenkov)
  Path length=60-80 cm (40cm)
  4 cylindrical mirrors, height=60cm, width=70cm, radii=130cm (40 mirrors)
  29mm PMT array on large angle side,
    Total PMT’s needed=550
    Previous BB Cherenkov—20, 5”PMTs

## Slide 5: Cherenkov Ring

## Slide 6: X and Y hit positions at PMTs
Horizontal width ΔX=20 cm
Vertical height ΔY=140 cm

## Slide 7: HERMES RICH. 2,000 PMT array

## Slide 8: PMT’s

## Slide 9: Proposed detector
Top View
Side View

## Slide 10: Number of photon hits per PMT

## Slide 11: PMT’s fired per event about 15-16

## Slide 12: Expected number of p.e.’s per tube

## Slide 13: Update on Prototype Detector
Fall 2010—Received 70 PMT’s on loan from Dirk Ryckbosch at Univ. of Gent, Belgium. Thanks!
Prototype array and housing complete--M. Cummings, W&M
HV distribution complete--M. Cummings, W&M
All DAQ components acquired
Prototype detector and electronics—Recently moved to Jefferson Lab
DAQ running in Hall A—B. Zhao
  Assembled array of 8x8=64 PMT’s
  Begin testing with aerogel, acrylic, gas
  VME QDC, TDC ready.
  Cabling finished on PMT’s
Test run during g2p in Fall

## Slide 14: Prototype PMT array

## Slide 15: Prototype PMT array

## Slide 16: Prototype Detector

## Slide 17: Prototype Detector and Electronics in Hall A—Bo Zhao, W&M

## Slide 18: Raw Data from CODA/VME System

## Slide 19: Update on Design
Nothing yet really
Simulation complete—now time to start engineering and get price quotes, etc.

## Slide 20: Transversity kinematics
Beam Polarimetry
(Møller + Compton)
Luminosity
Monitor
Measure 3He(e,e’) SSA using BB
and LHRS in singles mode.
E=5.89 GeV