## Summary
Set Current (A) | Transducer Readback Current (A) | Measured GL (G) | Old Map GL (G) | % Diff | Hall Probe on Pole | Hall (*-1)
300 | 298.917 | -52321.44 | -50634 | 3.333% | 5604 | -5604
250 | 249.052 | -44466.6046 | -42648.332 | 4.263% | 4760 | -4760
200 | 199.426 | -35810.7263 | -34312.668 | 4.366% | 3827.5 | -3827.5
150 | 149.701 | -26986.3783 | -25791 | 4.635% | 2877 | -2877
100 | 100.019 | -18137.9009 | -17210.666 | 5.388% | 1928.5 | -1928.5
50 | 50.254 | -9236.994 | -8623.334 | 7.116% | 979 | -979
10 | 10.466 | -2119.7911 | -1904 | 11.33% | 221 | -221
0 |  |  |  |  | 24 | -24
-10 | -10.49 | 1648.2917 | 1574.667 | 4.676% | -174.5 | 174.5
-50 | -50.332 | 8755.328 | 8622 | 1.546% | -929.5 | 929.5
-100 | -100.106 | 17643.0414 | 17204 | 2.552% | -1872.5 | 1872.5
-150 | -149.678 | 26480.6257 | 25804 | 2.622% | -2811 | 2811
-200 | -198.006 | 35298.6557 | 34311.668 | 2.877% | -3749.5 | 3749.5
-250 | -249.357 | 43945.1411 | 42677 | 2.971% | -4668.5 | 4668.5
-300 | -298.923 | 52279.4369 | 50680 | 3.156% | -5559.5 | 5559.5
Transducer (V) | I (A) | BL (G-cm) | B (G) | Leff (cm)
5.9797 | 298.985 | 253514.7048 | -5668.4 | 44.7242
Notes:
Gradiant values deterined from fit to7 BL stretched wire measurements along the vertical midplane of the quadrupole at each current
Effective length of the quadrupole was checked using stepped hall probe measurements along the upper beam right pole.
Chamber Dimension (in)
OD | 4
ID | 3.87

## Hall Probe Measurements
| BR TOP Pole |  | Chamber Dimension (in)
| dz | B | OD | 4
-10 | -0.25 | -23.1439 | ID | 3.87
-9.5 | -0.5 | -26.4209 | Transducer | I (A) | BL | B | Leff
-9 | -0.5 | -30.3123 | 5.9797 | 298.985 | 253514.7048 | -5668.4 | 44.7242
-8.5 | -0.5 | -35.023
-8 | -0.5 | -40.7578 | Readings Taken at R=4.6cm (approximate)
-7.5 | -0.5 | -47.3118
-7 | -0.5 | -55.0947
-6.5 | -0.5 | -64.1064
-6 | -0.5 | -75.1663
-5.5 | -0.5 | -88.0695
-5 | -0.5 | -103.4305
-4.5 | -0.5 | -121.8636
-4 | -0.5 | -143.7786
-3.5 | -0.5 | -170.1995
-3 | -0.5 | -201.7406
-2.5 | -0.5 | -239.631
-2 | -0.5 | -285.5091
-1.5 | -0.5 | -340.1941
-1 | -0.5 | -406.3487
-0.5 | -0.5 | -486.6353
0 | -0.5 | -583.5118
0.5 | -0.5 | -700.8695
1 | -0.5 | -843.4193
1.5 | -0.5 | -1017.5102
2 | -0.5 | -1233.3829
2.5 | -0.5 | -1494.5193
3 | -0.5 | -1852.9417
3.5 | -0.5 | -2313.5658
4 | -0.5 | -2955.4492
4.5 | -0.5 | -3893.0824
5 | -0.5 | -5232.1487
5.5 | -0.5 | -6645.9717
6 | -0.5 | -6560.5647
6.5 | -0.5 | -6194.769
7 | -0.5 | -5973.7759
7.5 | -0.5 | -5854.5749
8 | -0.5 | -5784.9385
8.5 | -0.5 | -5743.5663
9 | -0.5 | -5717.7599
9.5 | -0.5 | -5701.9893
10 | -0.5 | -5692.7727
10.5 | -0.5 | -5685.6043
11 | -0.5 | -5681.508
11.5 | -0.5 | -5678.8455
12 | -0.5 | -5676.7973
12.5 | -0.5 | -5674.5444
13 | -0.5 | -5673.1107
13.5 | -0.5 | -5672.0866
14 | -0.5 | -5671.0626
14.5 | -0.5 | -5671.2674
15 | -5.316 | -5668.4
25.132 | -5.066 | -5668.4
25.132 | -5.166 | -5668.4
35.464 | -5.416 | -5668.4
35.964 | -0.5 | -5672.3607
36.464 | -0.5 | -5675.8813
36.964 | -0.5 | -5679.4019
37.464 | -0.5 | -5683.1425
37.964 | -0.5 | -5686.6632
38.464 | -0.5 | -5690.6238
38.964 | -0.5 | -5694.3645
39.464 | -0.5 | -5700.7456
39.964 | -0.5 | -5708.4469
40.464 | -0.5 | -5717.9086
40.964 | -0.5 | -5732.4311
41.464 | -0.5 | -5754.2148
41.964 | -0.5 | -5788.5408
42.464 | -0.5 | -5842.4501
42.964 | -0.5 | -5927.1647
43.464 | -0.5 | -6057.8673
43.964 | -0.5 | -6223.556
44.464 | -0.5 | -6175.1476
44.964 | -0.5 | -5383.6708
45.464 | -0.5 | -4301.7437
45.964 | -0.5 | -3395.187
46.464 | -0.5 | -2713.5091
46.964 | -0.5 | -2203.901
47.464 | -0.5 | -1810.473
47.964 | -0.5 | -1498.239
48.464 | -0.5 | -1245.4153
48.964 | -0.5 | -1038.1395
49.464 | -0.5 | -866.7298
49.964 | -0.5 | -723.9252
50.464 | -0.5 | -605.3247
50.964 | -0.5 | -507.1877
51.464 | -0.5 | -440.7362
51.964 | -0.5 | -361.9626
52.464 | -0.5 | -299.9119
52.964 | -0.5 | -250.8434
53.464 | -0.5 | -210.7964
53.964 | -0.5 | -177.3507
54.464 | -0.5 | -149.6259
54.964 | -0.5 | -126.5219
55.464 | -0.5 | -107.1585
55.964 | -0.5 | -90.8757
56.464 | -0.5 | -77.4534
56.964 | -0.5 | -66.0114
57.464 | -0.5 | -56.3297
57.964 | -0.5 | -48.4084
58.464 | -0.5 | -41.5872
58.964 | -0.5 | -35.8662
59.464 | -0.5 | -31.0254
59.964 | -0.5 | -27.0647
60.464 | -0.25 | -23.5441