## Slide 1
JLab Target Lab Status

## Slide 2
JLab Target Lab Status
People: Jie Liu (graduate student, UVa), half time
Zhiwen Zhao (postdoc, UVa), part time
Supervision: J. P. Chen
Help from: Yi Qiang, Jin Huang, Yawei Zhang ...
Main activities:
  Set up working system
  Tests/measurements needed for completed experiments
    cell characterization, AFP loss study
    tests to collect information to improve systematics
      hot spin up/down
      diffusion test
    analysis: beam depolarization effects, ...
  work on new convection cell
  work on pulse NMR

## Slide 3
JLab Target Lab Status
working system
  3 sets of Helmholtz coils (L/T/V)
  Lasers: ~10 Coherent lasers (half are near end of life?)
    3 Comet lasers with fibers (2 near end of life?)
  Several sets of optics
  optical fibres/ 5-1 combiners
  Complete set of EPR system
  Two sets of NMR systems (pumping/target chambers)
  Oven/heating/temperature monitoring
  Mechanical support/motion system
  Many non-convection style 3He cells
  He3 gas: one 40L bottle at JLab, one 25L at UVa
  additional ERP feedback box need to be made
  some electronics (pre-amp, fun generator etc) need repair

## Slide 4
new convection style cell (single pumping chamber)
  “Protovec-I” tested at UVa, is at Jlab now.
  3D measurement of the cell, transferring into CAD model, making customized mount and oven bottom piece.
JLab Target Lab Status

## Slide 5
pulse NMR
  setting up electronics and testing on a transversity cell.
  try to observe signals in lock-in amplifier and mixer+oscilloscope
JLab Target Lab Status