Cover
E08-011
Measurement of Deuteron PVDIS Asymmetry at 6 GeV
Xiaochao Zheng
for Hall A Parity Collaboration
Physics Motivation and Beam Time Allocation
Timeline: from June 2003 to 9am today
Online Data Analysis
Summary and Outlook

---
The Collaboration
A. Afanasev, D.S. Armstrong, J. Arrington, T.D. Averett, E.J. Beise, W. Bertozzi,
P.E. Bosted, H. Breuer, J.R. Calarco, A. Camsonne, G.D. Cates, J.-P. Chen,
E. Chudakov, W. Deconinck, P. Decowski, Xiaoyan Deng, A. Deur, J. Erler,
J.M. Finn, S. Gilad, K.A. Griffioen, K. Grimm, K. Hafidi, J.-O. Hansen,
D.W. Higinbotham, R. Holmes, T. Holmstrom, R.J. Holt, J. Huang, P.M. King,
W. Korsch, S. Kowalski, K. Kumar, N. Liyanage, A. Lukhanin, D.J. Mack,
D.J. Margoziotis, P. Markowitz, D. McNulty, R. Michaels (co-spokesperson),
B. Moffit, P. Monaghan, N. Muangma, V. Nelyubin, B.E. Norum, Kai Pan,
K. Paschke, C. Perdrisat, A.J. Puckett, Y. Qiang, P.E. Reimer (co-spokesperson),
J. Roche, A. Saha, B. Sawatzky, N. Simicevic, J. Singh, S. Sirca, A. Shahinyan,
R. Snyder, P. Solvignon, P.A. Souder, N. Sparveris, R. Subedi, V. Sulkosky,
W.A. Tobias, Diancheng Wang, K. Wang, S.P. Wells, B. Wojtsekhowski,
X.-H. Zhan, X.-C. Zheng (co-spokesperon)
The Hall A Collaboration
ANL, Calstate, FIU, JLab, Kentucky, Louisiana Tech, U. of Ljubljana (Slovenia), MIT, UMD,
UMass, UNH, Universidad Nacional Autonoma de Mexico, Ohio U., Randolph-Mason C.,
Smith C., Syracuse, Temple U., UVa, W&M, Yerevan Phys. Inst.(Armenia)

---
APV2
PVDIS Asymmetries
Deuterium:
A_d`=`(540 ppm) Q^2{2 color cyan {C_{1u}}[1+R_C(x)]- color cyan {C_{1d}}[1+R_S(x)]+Y(2 color red {C_{2u}}-color red {C_{2d}})R_V(x)}over{5+R_S(x)+4 R_C(x)}
color red {C_{2u}}=g_V^e g_A^u = - {1 over 2}+2 color green {sin^2(%theta_W)}
color red {C_{2d}}=g_V^e g_A^d = {1 over 2}-2 color green {sin^2(%theta_W)}
color red {C_{2d}}=g_V^e g_A^d = {1 over 2}-2 color green {sin^2(%theta_W)}
color cyan {C_{1d}}=g_A^e g_V^d = {1 over 2}-2 over 3 color green {sin^2(%theta_W)}
In the SM, tree level
PVDIS provides an opportunity to study both electroweak Standard Model via the extraction of C1,2q (and sin2qW), and hadronic effects.
The 6 GeV experiment is an exploratory step of this program.
APV =
+

---
The Physics of PVDIS at 6 GeV
First appeared as LOI03-106 in June 2003 (PAC24), then as E05-007 in PAC27 and E08-011 in PAC33.
Total requested 46+4 days
  - PAC27: 13 days approved (A-);
  - PAC33: 32 days approved (A-).
Measure PVDIS asymmetry on a deuterium target, Ad, at Q2=1.10 and 1.90 GeV2 to 2% (stat.) -> 3% with approved 32 days;
    - From Q2=1.10 can help to investigate if there are significant HT effects; — “Baseline” measurement for the future 12 GeV program.
    - If HT is small, from Q2=1.90 GeV2 can extract 2C2u-C2d to ±0.033, a factor of 7.4 improvement; -> factor of 5-6 improvement with approved 32 days.
Scheduled to run Oct. 29 – Dec. 22, 2009 (5 days switchover, 4 days commissioning, production started Nov. 8th).

---
The 6 GeV E08-011
all are 1 s limit
SAMPLE
SLAC/ Prescott
Qweak (expected)
R. Young (combined)
MIT/ Bates
SLAC/Prescott
C2u-C2d
Expected: JLab 6 GeV PV-DIS E08-011 (assuming small hadronic effects and a 3% statistical error. Current expetation is 4%!)
R. Young (PVES)
R. Young (combined)
PDG best fit
Cs APV
C2u+C2d
1.25
1.5
1.75
1.0
0.75
0.5
0.25
0
0.25
-0.5
-0.75
- 0.2
0.4
0.2
0
- 0.4
0.10
0.125
0.15
0.175
C1u-C1d
- 0.4
- 0.6
- 0.8
C1u+C1d
Tl APV

---
A New Fast-Counting DAQ
A new fast-counting DAQ is required:
  - Hardware-based PID, scaler counting up to 1MHz;
  - Full event information sampled at lower rates by HRS DAQ for kinematics, efficiencies and PID analysis;
DAQ was tested off-line July-September 2008, including measurement of known asymmetries and 3 independent deadtime measurements.
Installed in the Right HRS and tested parasitically April-June 2009 (polarized 3He experiments), including 16 hours of 6 GeV beam up to 100uA on a thin carbon target on June 16.
Duplicated and installed in the Left HRS in July 2009.

---
A new fast-counting DAQ
Inputs:
  - Scintillators (“T1”);
  - Gas cherenkov (GC), with hardware threshold provided by discriminators.
  - Lead glass counters (“Pre-shower” and “Shower”), divided into 6 (left) or 8 (right) groups, and with hardware threshold provided by discriminators.;

---
PVDIS DAQ in Situ (Right Arm)

---
Performance Check using fbTDC info in RHRS DAQ
 Run 26007, group 3
no cut
w/ TDC Total Shower cut
w/ TDC Preshower cut
w/ TDC electron narrow cut
Grouped Shower ADC sum
Grouped Preshower ADC sum

---
Performance Check using fbTDC info in RHRS DAQ
 Run 26007
Cerenkov cut applied to all groups electron triggers
Group #3 electron and pion triggers

---
Lead Glass PID Check using fbTDC info in RHRS DAQ
eff=Ne1/Ne0, electron samples Ne0=(GC>800)
rej=Np0/Np1, pion samples Np0=(GC<1)
 electron narrow trigger PID efficiency, run 26007
 pion rejection factor, run 26007
ps.x
Both agree with expections
Checked with VDC ON runs daily.
ps.x

---
PVDIS General Run Information
Beam polarization shared with Hall B and monitored by Moller and Compton (photon-only). Moller results ~87%;
Beam vertical polarization measured to be <2%;
Beam charge asymmetry controlled by “parity feedback”;
Target boiling noise monitored by Lumi;
Beam IHWP switched every 1M helicity pairs (“slugs”);
Deadtime measurement, analysis in progress;
Other background or systematics measurements:
pion asymmetries measured continuously by PVDIS DAQ, consistent with zero so far;
Al dummy and positive polarity runs (8 hours), rate agree with calculation;
transverse beam polarization running (12 hours), systematic uncertainty under control;
random coincidence measurements.

---
Transverse Beam Polarization (Dec. 2)
slug12
slug13
Q2=1.9
Q2=1.1
%DELTA A_T = 2.724E+4 over sqrt{187356} approx 63 ppm
%DELTA A_T = 2.904E+4 over sqrt{150911} approx 75 ppm
%DELTA A_T = 8582 over sqrt{187356} approx 20 ppm
B L I N D E D!

---
Online Asymmetries, Q2=1.1, Left arm only
Nov. 12
B L I N D E D!

---
Online Asymmetries, Q2=1.9, Right arm
Dec. 12
Nov. 12
B L I N D E D!

---
Online Asymmetries, Q2=1.9, Left arm
Dec. 12
B L I N D E D!

---
Deadtime Measurement
Multiple methods planned:
tagger method (fractional loss + timing “pileup” correction);
rate scan method;
By observing TDC “deadzone”;
The DAQ consists of 2 “paths”, with discriminator width 30 and 100ns wide, respectively.

---
Deadtime Measurement
Tagger method results:
Well understood, tagger “see” the same loss as electron signals;
Before Nov. 26, deadtime of all groups proportional to T1 rate, up to 1.4% loss on left arm. Error bar should be well below 0.5%.
After Nov. 26, deadtime proportional to group rates (Preshower or Total Shower).
“Narrow path” sees 50-70ns deadtime (dominated by input width);
“Wide path” sees 100-110ns deadtime (as expected).
Highest loss is for left arm at the lower Q2 point: ~0.5%
Higher Q2 point has much less deadtime: <0.05%.
Error bar should be a fraction of it (dominated by “pileup” correction”).
Rate scan method:
Need to know BCM nonlinearity.

---
Outlook (Resonance Runs: Dec. 17-22)
Q2=1.1
Q2=1.9
vertex
Resonance events contribute up to 15%
No reliable way to calculate PV asymmetry at low W and Q2
Almost impossible to calculate resonance structure
Will measure resonance PV asymmetry to control DAd below 1%.
measured
vertex
measured
vertex
2.75
2.5
2.25
2
1.75
1.5
1.25
1
0.75
0.5
2.75
2.5
2.25
2
1.75
1.5
1.25
1
0.75
0.5
1
2
1
2
W(GeV)
W(GeV)
Q2(GeV/c)2
Q2(GeV/c)2
PVDIS at 6 GeV Simulation

---
Outlook (Resonance Runs: Dec. 17-22)
Q2=1.1
Q2=1.9
6
6
7
7
3
3
4
4
5
5
1
adjusted to balance
L/R HRS
RES beam time: 4days
larger now by 50%
2.75
2.5
2.25
2
1.75
1.5
1.25
1
0.75
0.5
2.75
2.5
2.25
2
1.75
1.5
1.25
1
0.75
0.5
1
2
1
2
W(GeV)
W(GeV)
PVDIS at 6 GeV Simulation
Q2(GeV/c)2
Q2(GeV/c)2

---
Outlook (Analysis)
w-months for asymmetry extraction;
x-months for deadtime analysis;
y-months or 0.y years for radiative correction;
z-months or 0.z years for extracting C2q and higher twists.
Total: N-years before unblinding. (Note: It took 2 years for G0 to unblind).
End of run party: Dec. 22 (Tuesday) 12noon-4pm, ResFac common room

---
We may not make the most important discovery, but we are certainly the first to move both HRSs by hand drills, exclusively throughout the experiment!

---
MVP of the Experiment

---
Backup Slides

---
NewExp
PV DIS and Other SM Test Experiments
NuTeV (FNAL)
Atomic PV
E158/Moller (SLAC)
Weak CC and NC difference
Nuclear structure?
Other hadronic effects?
Purely leptonic
Coherent Quarks in the Nucleus
- 376C1u - 422C1d
Nuclear structure?
Qweak (JLab)
PVDIS (JLab)
Different Experiments
Probe Different
Parts of Lagrangian,
PVDIS is the only one accessing C2q
2 (2C1u+C1d)
Coherent quarks in the proton
(2C1u-C1d)+Y(2C2u-C2d)
Isoscalar quark scattering
Cartoons borrowed from R. Arnold (UMass)

---
Kinematics
Kinematics

---
ErrAd
Expected Uncertainties on Ad
now 5mil Al (was 3mil Be)