Parity Violating Deep Inelastic Scattering at 6 GeV
Xiaoyan Deng
University of Virginia
April 2010
The Physics of PVDIS
Experimental Setup and General Run Information
Online Results and Expected Uncertainties
On-Going Data Analysis
BCM Calibration
Deadtime of the Fast-Counting DAQ
Summary

---
The Physics of PVDIS at 6 GeV (E08-011)
Measure PVDIS asymmetry on a deuterium target, Ad, at Q2=1.10 and 1.90 GeV2 to 2% (stat.);
    - From Q2=1.10 can help to investigate if there are significant HT effects; — “Baseline” measurement for the future 12 GeV program.
    - If HT is small, from Q2=1.90 GeV2 can extract 2C2u-C2d to ±0.060, a factor of 4.1 improvement
A sub {pv} equiv {%sigma^r-%sigma^l} over {%sigma^r+%sigma^l} = {({%MU}_{%gamma}+{%MU}_Z^r)^2-({%MU}_{%gamma}+{%MU}_Z^l)^2} over {({%MU}_{%gamma}+{%MU}_Z^r)^2+({%MU}_{%gamma}+{%MU}_Z^l)^2} approx {{%MU}_{Z}^{r}-{%MU}_{Z}^l} over {{%MU}_{%gamma}}

---
PVDIS Asymmetries
+
Deuterium:
A_d`=`(540 ppm) Q^2{2 color cyan {C_{1u}}[1+R_C(x)]- color cyan {C_{1d}}[1+R_S(x)]+Y(2 color red {C_{2u}}-color red {C_{2d}})R_V(x)}over{5+R_S(x)+4 R_C(x)}
color red {C_{2u}}=g_V^e g_A^u = - {1 over 2}+2 color green {sin^2(%theta_W)}
color cyan {C_{1u}}=g_A^e g_V^u = - {1 over 2}+4 over 3 color green {sin^2(%theta_W)}
color red {C_{2d}}=g_V^e g_A^d = {1 over 2}-2 color green {sin^2(%theta_W)}
color cyan {C_{1d}}=g_A^e g_V^d = {1 over 2}-2 over 3 color green {sin^2(%theta_W)}
 Can extract C1,2q (and sin2qW )– discover new physics beyond the SM
Mass limit:
%LAMBDA wideslash g approx 1 over {left [sqrt 8 G_F abs{%DELTA (2C_{2u}-C_2d)}right ]^{1/2}} approx 0.74 nitalic {TeV}
APV =
+

---
Current Knowledge on C1,2q
all are 1 s limit
SAMPLE
SLAC/ Prescott
Qweak (expected)
MIT/ Bates
PDG best fit
SLAC/Prescott
Best: D(2C2u-C2d) = 0.24
R. Young (PVES)
R. Young (combined)
PDG best fit
Cs APV
C2u+C2d
1.25
1.5
1.75
1.0
0.75
0.5
0.25
0
0.25
-0.5
-0.75
C2u-C2d
- 0.25
0.5
0.25
0
- 0.5
0.10
0.125
0.15
0.175
C1u-C1d
- 0.4
- 0.6
- 0.8
C1u+C1d
Tl APV

---
The 6 GeV E08-011
all are 1 s limit
SAMPLE
SLAC/ Prescott
Qweak (expected)
MIT/ Bates
PDG best fit
SLAC/Prescott
Best: D(2C2u-C2d) = 0.24
Expected: JLab 6 GeV PV-DIS E08-011 (assuming small hadronic effects and a 4% stat error on Ad)
R. Young (PVES)
R. Young (combined)
PDG best fit
Cs APV
C2u+C2d
1.25
1.5
1.75
1.0
0.75
0.5
0.25
0
0.25
-0.5
-0.75
C2u-C2d
- 0.25
0.5
0.25
0
- 0.5
0.10
0.125
0.15
0.175
C1u-C1d
- 0.4
- 0.6
- 0.8
C1u+C1d
Tl APV

---
Overview of the Experimental Setup in Hall A
fast-counting DAQ, design goal: 1MHz; (scaler-based, partially w/ FADC)
Expected Precision: 1~2%
BCM1&BCM2: RF resonant
Unser: absolute reference for beam current
Regular HRS data acquisition (DAQ) count up to 4KHz (expect 500KHz);
Integration method won't work for DIS;
Need a new fast-counting DAQ, design goal: 1MHz with on-line particle identification (PID)
ARC
BCM
Compton
Polarimeter
Raster
Moller Polarimeter
BPM
eP
LD2 Target
Right HRS
Luminosity Monitor
Left HRS

---
A new fast-counting DAQ
Inputs:
  - Scintillators (“T1”);
  - Gas cherenkov (GC), with hardware threshold provided by discriminators.
  - Lead glass counters (“Pre-shower” and “Shower”), divided into 6 (left) or 8 (right) groups, and with hardware threshold provided by discriminators.

---
PVDIS General Run Information
Beam polarization shared with Hall B and monitored by Moller and Compton (photon-only). Moller results ~87%;
Beam vertical polarization measured to be <2%;
Beam charge asymmetry controlled by “parity feedback”;
Target boiling noise monitored by Lumi;
Beam IHWP switched every 1M helicity pairs (1 pair=66ms) (“slugs”);
Deadtime measurement, analysis in progress;
Other background or systematics measurements:
Pion asymmetries measured continuously by PVDIS DAQ, consistent with zero so far;
Al dummy and positive polarity runs (8 hours), rates agree with calculations;
Transverse beam polarization running (12 hours), best DIS transverse measurement so far, systematic uncertainty under control;
Random coincidence measurements.

---
Online Asymmetries, Q2=1.1, Left Arm Only
Statistical Error approx (4.0/sqrt(2))/91.3 approx 3.0{%percent}

---
Online Asymmetries, Q2=1.9, Right Arm
Statistical Error approx (9.6/sqrt(2))/160.7 approx 4.0{%percent}

---
Online Asymmetries, Q2=1.9, Left Arm

---
ErrAd
Expected Uncertainties on Ad

---
BCM Calibration
Goal
To determine the linearity of BCMs and its effect on the rate-scan method of the deadtime
Background
Beam current measured by two BCMs, 25m upstream of the target
In between is Unser Monitor which provides an absolute measurement of the current
Unser Monitor not used for continuous current monitoring, since its output signal drifts during a period of several minutes
I_{unser} = A + B times BCM + C times BCM^2

---
BCM Calibration
Unser vs time

---
BCM Calibration
Unser vs scaler readings of BCMs in PVDIS DAQ

---
Deadtime of the Fast-Counting DAQ
Deadtime measured by multiple methods (goal: 0.3%)
Two resolution time (20, 100ns), rate scan
“tagger”, TDC system
A_{PV} = A_{measured} over {P_b %eta_{DT}}

---
Deadtime of the Fast-Counting DAQ
Rate Scan method to measure the deadtime
Ideally
Rate = aI(1-DT)
DT = aI times w
Where a is a positive constant related to cross section, acceptance
and etc. w is deadtime expressed in width.
Then
Rate over I_{unser} = a(1-aw times I)
So we can plot Rate/I vs I by using BCM calibration result:
I_{unser} = A + B times BCM + C times BCM^2
can be expressed by the fitting results
%omega
w = - {pol1} / {pol0^2}

---
Deadtime of the Fast-Counting DAQ
%sigma = RMS / sqrt{N}
%sigma = RMS

---
Deadtime of the Fast-Counting DAQ

---
Deadtime of the Fast-Counting DAQ

---
Deadtime of the Fast-Counting DAQ
The Tagger method to measure deadtime:
Deadtime = {R_{tagger} - R_{tagger{%and}signal}(1-Pileup)} over R_tagger approx {R_{tagger} - R_{tagger{%and}signal}} over R_tagger +Pileup
{} equiv {Color magenta{Fractional Loss} + Color green{Pileup} }
Measured by scaler
Different for narrow and wide path
Measured by TDC
Same for narrow and wide path

---
Deadtime of the Fast-Counting DAQ
The Tagger method to measure deadtime:
Deadtime = {R_{tagger} - R_{tagger{%and}signal}(1-Pileup)} over R_tagger approx {R_{tagger} - R_{tagger{%and}signal}} over R_tagger +Pileup
{} equiv {Color magenta{Fractional Loss} + Color green{Pileup} }
In theory:
Color red{Deadtime (%percent) = Rate times Width}
Where Width is the widest width through the whole path
For wide path, width = 100ns
For narrow path, width = signal width ~ 60ns

---
Deadtime of the Fast-Counting DAQ
Pileup effect: when the tagger signal follows closely a random PMT signal, the DAQ output caused by the PMT signal would co-incide with the tagger signal, causing a false count that should have lost due to deadtime

---
TDC Pileup Spectrum
Pileup(%percent) = {Color Red {%Red} + Color Blue {%Blue}} over {Color Black {%Black}}

---
Deadtime Measurement

---
Deadtime Measurement

---
Summary
The Physics of PVDIS
Experimental Setup and General Run Information
Online Results and Expected Uncertainties
On-Going Data Analysis
BCM Calibration Need more thinking
Deadtime of the Fast-Counting DAQ
Future Analysis goal
A sub {pv} equiv {%sigma^r-%sigma^l} over {%sigma^r+%sigma^l} = {({%MU}_{%gamma}+{%MU}_Z^r)^2-({%MU}_{%gamma}+{%MU}_Z^l)^2} over {({%MU}_{%gamma}+{%MU}_Z^r)^2+({%MU}_{%gamma}+{%MU}_Z^l)^2} approx {{%MU}_{Z}^{r}-{%MU}_{Z}^l} over {{%MU}_{%gamma}}

---
Deadtime measurement:from test and real data

---
Kinematics