Left S2 timing:

requirements/cuts:

    - no edtm

    - evtypebits ==8 (T3 alone)

    - has track at the center of the paddle abs(try)< 5 cm

    - register signal in S1 in the paddle that is closest to the interested S2 paddle.

Using DBB.s2or[0] as the new gate.

- Time Alignment

The right “rt_c” are self timing. So we have narrow peaks with sigma  = 0.4 ns. All are aligned together at 850 ns.

The left “lt_c” are aligned at the same 850 ns as the requirement on the center of the paddle, (symmetric ly) would suggest.  The sigma are around 0.7-0.8  ns

The “time” are check on the alignment which fall on 848.4 ns +/- 0.1 ns with the sigma around 0.5 ns.

The following are the plot of lt_c/rt_c/time  in order with the mean and sigma given ,at the new gate.

Using only 4 runs 2013-16

Note that the paddle #0 need a lot more statistic. And with the limit of the cut impose, track required,  it will have a larger spread in sigma.

s2bar =   0      mean = 849.7    sigma 1.5       entries = 665

s2bar =   1      mean = 849.9    sigma 0.8       entries = 4226

s2bar =   2      mean = 850.1    sigma 0.7       entries = 8504

s2bar =   3      mean = 849.9    sigma 0.7       entries = 24126

s2bar =   4      mean = 850.1    sigma 0.7       entries = 33313

s2bar =   5      mean = 850.2    sigma 0.7       entries = 19603

s2bar =   6      mean = 850.0    sigma 0.7       entries = 41160

s2bar =   7      mean = 850.2    sigma 0.7       entries = 42225

s2bar =   8      mean = 850.1    sigma 0.7       entries = 42586

s2bar =   9      mean = 850.0    sigma 0.7       entries = 49379

s2bar =  10      mean = 850.2    sigma 0.7       entries = 33196

s2bar =  11      mean = 850.0    sigma 0.7       entries = 42832

s2bar =  12      mean = 850.3    sigma 0.7       entries = 39260

s2bar =  13      mean = 850.2    sigma 0.7       entries = 25594

s2bar =  14      mean = 850.2    sigma 0.7       entries = 21885

s2bar =  15      mean = 850.1    sigma 0.8       entries = 9334

s2bar =   0      mean = 850.0    sigma 0.6       entries = 638

s2bar =   1      mean = 850.0    sigma 0.4       entries = 4258

s2bar =   2      mean = 850.0    sigma 0.4       entries = 8505

s2bar =   3      mean = 850.1    sigma 0.4       entries = 24072

s2bar =   4      mean = 849.9    sigma 0.4       entries = 33236

s2bar =   5      mean = 850.1    sigma 0.4       entries = 19566

s2bar =   6      mean = 850.0    sigma 0.4       entries = 41090

s2bar =   7      mean = 850.0    sigma 0.4       entries = 42503

s2bar =   8      mean = 850.0    sigma 0.4       entries = 42515

s2bar =   9      mean = 850.1    sigma 0.5       entries = 49244

s2bar =  10      mean = 849.9    sigma 0.4       entries = 33131

s2bar =  11      mean = 850.0    sigma 0.4       entries = 42700

s2bar =  12      mean = 849.9    sigma 0.4       entries = 39060

s2bar =  13      mean = 849.9    sigma 0.3       entries = 25543

s2bar =  14      mean = 850.1    sigma 0.4       entries = 21931

s2bar =  15      mean = 850.1    sigma 0.4       entries = 9291

s2bar =   0      mean = 848.3    sigma 1.2       entries = 634

s2bar =   1      mean = 848.2    sigma 0.5       entries = 4217

s2bar =   2      mean = 848.4    sigma 0.5       entries = 8486

s2bar =   3      mean = 848.5    sigma 0.4       entries = 24023

s2bar =   4      mean = 848.4    sigma 0.4       entries = 33180

s2bar =   5      mean = 848.5    sigma 0.5       entries = 19524

s2bar =   6      mean = 848.4    sigma 0.5       entries = 41020

s2bar =   7      mean = 848.4    sigma 0.5       entries = 42186

s2bar =   8      mean = 848.4    sigma 0.5       entries = 42418

s2bar =   9      mean = 848.5    sigma 0.5       entries = 49184

s2bar =  10      mean = 848.4    sigma 0.5       entries = 33065

s2bar =  11      mean = 848.4    sigma 0.5       entries = 42670

s2bar =  12      mean = 848.4    sigma 0.4       entries = 39032

s2bar =  13      mean = 848.4    sigma 0.4       entries = 25497

s2bar =  14      mean = 848.5    sigma 0.5       entries = 21817

s2bar =  15      mean = 848.4    sigma 0.5       entries = 9252

The lt_c, rt_c and the time vs paddle number. The y axis is 10 ns wide.  This require nothing on S1.

- TimeWalk Correction Needed?

I check for the time walk correction. As we expect the

timewalk(tw)  = Const/sqrt(ADC_pedestal)

Note that because of the self timing on the right side, the correction from right ADC needed to transfer to the left lt_c.

The timewalk parameters are eliminate from the database.

The plot of

lt_c vs la_p,

rt_c vs ra_p,

time vs la_p+ra_p

show that our resolution are not high enough for the timewalk effect to change any significant distribution (sigma). See the following plots:

lt_c vs la_p---->There are dependent on the ADC value

scale Y = 10 ns, X = 120 channel

rt_c vs ra_p same scale

time vs adc sum

Now let see whether we can extract the constant.

lt_c vs 1/sqrt(la_p)

rt_c vs 1/sqrt(ra_p)

time vs 1/sqrt(la_p +ra_p)

EXTRA

lt_c vs 1/sqrt(la_p + ra_p)

vdc adjustment

assume that each 16-wire are connect with the same ribbon cable and to the same tdc readout.

I adjust he VDC time offset according to those set of 16 wires each.

The data below 0 are 0.8% which will be ignore from the analyzer in analysis process.