Hall A “LEDEX” RunPlan (Last Updated: 24 July 2006)

2nd Low-Energy Beam Period (Eo = 362 MeV): Aug. 20 – Sep. 1, 2006

E05-004

KINEMATICS TABLE (“KIN-TABLE”):   FOR PRODUCTION A(e,e’)A ELASTIC RUNS: H, D, C, Al, Ta

| KIN POINT |  |  | Spectrometer Settings |  | Primary Target(s) | Pre-Run “Raw Rate” Estimates (2 msr) for I = 1 A |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence # | Q (Gev/c) | Setting # | pe (GeV/c) | e (deg) |  | LD2 |  | C |  |
|  |  |  |  |  |  | Rate | Goal Cts | Rate | Goal Cts. |
| 9 | 0.088 | 1 | 0.3599 | 14.00 | All (H, D, Solid) | 262 kHz | 1 M | 119 kHz | 1 M |
| 1 | 0.100 | 1 | 0.3593 | 15.94 | All (H, D, Solid) | 142 kHz | 1M | 61.7 kHz | 1 M |
| 10 | 0.125 | 1 | 0.3578 | 20.00 | All (H, D, Solid) | 46.3 kHz | 1 M | 18.1 kHz | 1 M |
| 2 | 0.150 | 1 | 0.3560 | 24.12 | All (H, D, Solid) | 17.2 kHz | 1 M | 5.74 kHz | 1 M |
| 11 | 0.175 | 1 | 0.3538 | 28.30 | All (H, D, Solid) | 7.00 kHz | 1 M | 1.86 kHz | 1 M |
| 3 | 0.200 | 1 | 0.3612 | 32.57 | D & Solid | 3.03 kHz 3.03 kHz 3.03 kHz | 1M 1M 1M | 593 Hz 593 Hz | 1 M 1 M |
|  |  | 2 | 0.3513 |  | All (H, D, Solid) |  |  |  |  |
|  |  | 3 | 0.3413 |  | H & D |  |  |  |  |
| 12 | 0.225 | 1 | 0.3610 | 36.93 | Solid | 1.37 kHz | 1 M | 179 Hz | 1 M |
|  |  | 2 | 0.3485 |  | D |  |  |  |  |
|  |  | 3 | 0.3360 |  | H |  |  |  |  |
| 4 | 0.250 | 1 | 0.3607 | 41.41 | Solid | 645 Hz | 1 M | 49.0 Hz | 1 M |
|  |  | 2 | 0.3453 |  | D |  |  |  |  |
|  |  | 3 | 0.3302 |  | H |  |  |  |  |
| 13 | 0.275 | 1 | 0.3604 | 46.02 | Solid | 312 Hz | 1 M | 11.4 Hz | 100-250 k |
|  |  | 2 | 0.3418 |  | D |  |  |  |  |
|  |  | 3 | 0.3238 |  | H |  |  |  |  |
| 5 | 0.300 | 1 | 0.3601 | 50.78 | Solid | 155 Hz | 1 M | 2.00 Hz | 100 k |
|  |  | 2 | 0.3380 |  | D |  |  |  |  |
|  |  | 3 | 0.3170 |  | H |  |  |  |  |
| 14 | 0.325 | 1 | 0.3597 | 55.74 | Solid | 78.2 Hz | 1 M | 0.17 Hz | ~1-3 k |
|  |  | 2 | 0.3338 |  | D |  |  |  |  |
|  |  | 3 | 0.3098 |  | H |  |  |  |  |
| 6 | 0.350 | 1 | 0.3593 | 60.90 | Solid | 40.2 Hz | 1 M | 0.002 Hz | ?? |
|  |  | 2 | 0.3293 |  | D |  |  |  |  |
|  |  | 3 | 0.3021 |  | H |  |  |  |  |
| 15 | 0.375 | 1 | 0.3589 | 66.33 | Solid | 20.9 Hz | 0.5 -1.0 M | 0.04 Hz | ~100 ? |
|  |  | 2 | 0.3245 |  | D |  |  |  |  |
|  |  | 3 | 0.2941 |  | H |  |  |  |  |
| 7 | 0.400 | 1 | 0.3584 | 72.06 | Solid | 10.9 Hz | 100-250 k | 0.05 Hz | ~100 ? |
|  |  | 2 | 0.3194 |  | D |  |  |  |  |
|  |  | 3 | 0.2857 |  | H |  |  |  |  |
| 16 | 0.425 | 1 | 0.3579 | 78.17 | Solid | 5.8 Hz | 100-250 k | 0.04 Hz | ~100 ? |
|  |  | 2 | 0.3138 |  | D |  |  |  |  |
|  |  | 3 | 0.2770 |  | H |  |  |  |  |
| 8 | 0.450 | 1 | 0.3573 | 84.72 | Solid | 3.0 Hz | 100 k | 0.02 Hz | ~100 ? |
|  |  | 2 | 0.3080 |  | D |  |  |  |  |
|  |  | 3 | 0.2681 |  | H |  |  |  |  |

CHOOSING CURRENT AND/OR PRESCALES:  want max DAQ rate that keeps deadtime 10% or less.  Current range between  0.5 A and 10 A.  Try for prescale=1 when rates get low enough, otherwise use lowest current and set prescale to get deadtime.