## Slide 1: SoLID Test stand
Alexandre Camsonne
July 23rd 2013

## Slide 2: Goals of tests
Calorimeter trigger logic and latency, maximum trigger rate
FADC readout maximum speed
APV25 maximum readout speed
Coincidence Cerenkov calorimeter
SIDIS trigger and readout

## Slide 3: Hardware available
2 VXS crates
4 FADC
1 SSP
2 intel CPU
1 TI
1 computer
CTP coming

## Slide 4: Calorimeter trigger tests
VME CPU
TI
CTP
FADC
FADC
FADC
Pulser signals
To simulate
EC+CC
coincidence
MPD
SD
HPS firmware
If possible implement selective readout of FADC channels

## Slide 5: Compton / FADC readout test
VME CPU
TI
FADC
Pulser signals
SD

## Slide 6: SIDIS trigger test
VME CPU
TI
CTP
SD
FADC
FADC
VME CPU
TI
GTP
SSP
VME CPU
TS
SD
MPD
VME CPU
TI
CTP
SD
FADC
FADC

## Slide 7: Aditionnal hardware request
Should
  1 GTP
  L3 computer
  TS
  4 SD
  1 TI
  1 CTP
41 K$
Like
  1 VXS crate
  1 CTP
  More FADC

## Slide 8: Beam test run
Calo
VME CPU
TI
CTP
SD
FADC
FADC
VME CPU
TI
GTP
SSP
VME CPU
TS
SD
MPD
Cer
scintillator
GEM
scintillator
GEM
scintillator
GEM

## Slide 9: Detector testing
Can do same tests with calorimeter and cerenkov detector
  Cosmics
  LED
Useful to check trigger response to real signal from calorimeter and cerenkov
Could plan for test run next year with beam