## Sheet1
constant	8.00E-06
	Detector	PMT used	HV	gain (known)	gain (from manufacturer chart) – setting A	gain (from manufacturer chart) – setting B	observed Single P.E. peak	Calculated Npe (using known gain)	Calculated Npe (using gain chart A)	Calculated Npe (using gain chart B)	observed main peak	Calculated Npe (using known gain)	Calculated Npe (using gain chart A)	Calculated Npe (using gain chart B)	Comments (all files saved under meetings/20161208/)
Beam Test	THU Preshower (CNCS5)	XP2262 S/N 27374	-2150		2.18E+08	2.68E+07	138	#DIV/0!	0.08	0.64	5298	#DIV/0!	3.03	24.75	from Vince email 12/2 histograms
	SDU1 Preshower (CNCS6)	XP2262 S/N 28090	-1700		1.30E+07	1.60E+06					4245	#DIV/0!	40.67	332.11	from Vince email 12/2 histograms
	SDU2 Preshoer (Kedi6)	XP2262 S/N 26836	-1850		3.60E+07	4.41E+06					4272	#DIV/0!	14.84	121.16	from Vince email 12/2 histograms

	THU shashlyk	GDB49	-2500		3.98E+08					2000	#DIV/0!	0.63
	SDU1 shashlyk	GDB49 S/N 67761	-1294	5.10E+06	1.47E+05					5000	122.55	4241.93		gain measured at SDU
			-1177	2.50E+06	4.73E+04
			-1046	1.00E+06	1.15E+04
			-960	5.00E+05	4.10E+03
			-856	2.00E+05	1.03E+03
	SDU2 shashlyk	GDB49 S/N 67746	-1453	5.10E+06	5.92E+05					5000	122.55	1055.81		gain measured at SDU
			-1302	2.50E+06	1.59E+05
			-1140	1.00E+06	3.22E+04
			-1038	5.00E+05	1.05E+04
			-915	2.00E+05	2.30E+03

	FASPD	XP2262 S/N 20193	-1850		3.60E+07	4.41E+06	152.9	#DIV/0!	0.53	4.34	1105	#DIV/0!	3.84	31.34	HV scan during beam test, see Vince email 12/10
			-1900		4.96E+07	6.07E+06	237.8	#DIV/0!	0.60	4.90	1599	#DIV/0!	4.03	32.93
			-1950		6.77E+07	8.29E+06	337.1	#DIV/0!	0.62	5.08	2265	#DIV/0!	4.18	34.15
			-2000		9.17E+07	1.12E+07	487.1	#DIV/0!	0.66	5.42	3265	#DIV/0!	4.45	36.33
			-2050		1.23E+08	1.51E+07	652	#DIV/0!	0.66	5.40	4390	#DIV/0!	4.45	36.33
			-2100		1.65E+08	2.02E+07	895.7	#DIV/0!	0.68	5.55	5764	#DIV/0!	4.37	35.72

UVa Test	THU Preshower (CNCS5)	XP2262 S/N 27374	-1630		7.88E+06	9.65E+05
	SDU1 Preshower (CNCS6)	XP2262 S/N 28090	-1465		2.19E+06	2.68E+05
	SDU2 Preshoer (Kedi6)	XP2262 S/N 26836	-1475		2.37E+06	2.91E+05
	FASPD	XP2262 S/N 20193	-1520		3.41E+06	4.17E+05