## Slide 1: LASPD time resolution test update
Ye Tian(SDU), Jixie Zhang
09/21/2017

## Slide 2: Test setup
LASPD
Trigger bar
0.75”
Narrow side
PMT4
Wide side
PMT1
1.75”
2”
2”
Test result shows in this presentation
PMT0 and PMT2
PMT3 and PMT5

## Slide 3: Low efficiency
Event rate: 3Hz
For run 1155
Original events: 53000
Pass (track==1) cut: 7323
Pass (triggered by main trigger) cut: 1189
With signal in SPD cut: 399
FADC low signal cut: 280

## Slide 4
After time walk correction
Time walk correction X axis: 1/, Y axis: time(ns)

## Slide 5: Time walk correction for trigger bar
Time resolution is calculated as
-
X and Y axis are slopes of two PMTs in trigger bar,
time resolution unit: ns
Result without FADC integral signal cut

## Slide 6: FADC channel Integral cut need all 6 PMTs satisfy the cut
>2800
>2000
>2000
>2000

## Slide 7: Time resolution of single PMT readout(wide side)
Fitting: Y=p0*X+p1
-t1
After correction
Hit position on SPD
Time resolution after correction

## Slide 8: Time resolution of single PMT readout(narrow side)
-t4