Status Update of SoLID Ecal Beam Test @FTBF
Jixie Zhang
University of Virginia
Feb. 11st, 2021

---
In Previous Meeting ...
- We summarized the total statistics
- We looked at the signals of the Chernenko detector, but we do not understand the finger pattern ...
- MWPC decoder bugs were solved and it is ready to cook raw data. There are open questions for how to understand the double peaks of TDC and how to do calibration.
- Multiple hits were found in each layer of MWPC. Cluster finding algorithm is needed and also a false hit removing algorithm
- Ecal CODA decoder is missing events, Alex is looking into it

---
Outline
- MWPC status
- Cherenkov status
- CODA decoder status
- Simulation
- Plan

---
Connect to FTBF Linux
- The gateway machine is FTBF-daq-06.fnal.gov
- To login, you need to
  1. Have a Fermilab linux account. Ask Evan to add your account at .k5login of FTBF-daq-06.fnal.gov
  2. For Linux: yo need to install kerberos ssh also have the following setting:
    1. ForwardX11 yes
    2. ForwardX11Trusted yes
    3. GSSAPIAuthentication yes
    4. GSSAPIDelegateCredentials yes
  1. For windows or Mac: you need to install vpn. Instruction of installing vpn is here https://fermi.servicenowservices.com/kb_view.do?sysparm_article=KB0013046

---
MWPC Status
- Found some empty log files and 2 empty raw data file in MWPC raw data directory. I logined in to FTBF Linux computer to verify that our copy of data are identical to the original copy
- Verified the latest decoder is working properly
- Asked Evan about the double peak of TDC
- Contacted Michael Murray at Kansas University whose group used the chambers in an electron beam a couple years ago. Waiting for his response
- Evan provide another MWPC software from Mickey Chui at BNL.
- Contacted Howard Fenker with questions of MWPC. Waiting for his response

---
MWPC Hits
Chamber 1
Chamber 2
- Timing cut of +/-18 tdc units applied
- Multiple hits in each x-plane and y-plane, can be as much as 64 hits in one plane. The higher to beam intensity the worse.
- Need to tune the timing cut
- Need cluster finding algorithm
- Need to combine Chamber 1 and 2 timing to remove false hits
- Need all possible methods to remove false hits

---
MWPC Double Peaks
- Double peak exist at each 64-channel-TDC module
- Could not decide which is the signal peak
- Once we know which peak is the signal, we can do TDC calibration, then apply NEW timing cut

---
Cherenkov Status
- Asked Evan and Mandy about the finger pattern of the Cherenkov signal. They said they did not look into the signal seriously before and they did not see the finger patter before neither.
- Need to understand it by our own

---
Ecal Decoder Status ...
- Ecal decoder miss events
- Alex is working on it

---
High Rate Issue ...
Cherenkov Detectors
SoLID Ecals were here
MWPC 1,2,3,4
1. 4.2 second per spill, one spill per minute.
2. Inside one spill, particles are not evenly distributed, they are bucket by bucket
3. MWPC triggers above is actually the L1A of MWPC daq, it never exceed 15k per spill
4. MT6SC1 could reach 400k particles per spill, MT6SC3 can reach 300k.
5. Beam profile is not good for momentum less than 12 GeV/c secondary beam.
6. daq crates can be placed in the control room, using existing patch panels …...

---
Pile up ...
10 GeV, beam on top block, ~80k particles per spill, 9k triggers per spill