Status Update of SoLID Ecal Beam Test @FTBF
Jixie Zhang
University of Virginia
March. 18th, 2021

---
Outline
- Determine Pedestal
- Redo total ADC integration
- Redo Merged Ecal and MWPC root files
- Preshower and shower gain match with pion data
- Started analyzing simulated data
- TODO:
  - Reduce false MWPC clusters and determine beam position cuts
  - Calibration
  - Extract Ecal resolution

---
FADC Signals

---
Get Time Window, No Cut…...OLD

---
Method 1: Fit Profile

---
Method 2: Fit Signal Before Main Peak

---
Method 3: Get Maximum Bin
Cut: time < TimePeak + 10

---
Method 3: Get Maximum Bin

---
Get New Pedestal, with Cut…...NEW

---
Compare Results: OLD to NEW

---
Back up ...

---
Gain Match for Ecal, 4 GeV, R=1cm
Fitting the MIP peak
Fitting the e- peak

---
Gain Match for Ecal, 8 GeV, R=1cm
Fitting the MIP peak
Fitting the e- peak

---
Gain Match for Preshower, R=1cm
Fitting the MIP peak, 4 GeV
Fitting the MIP peak, 8GeV

---
Peak Fitting Results
- ch2_main ch3_main ch4_main ch5 ch6 ch7 ch2 ch3 ch4
- double peak4[] = { 7938, 8191, 6990, 127, 56, 141, 675, 759, 617};
- double peak6[] = { 13651, 13803, 11744, 277, 135, 189, 778, 844, 692};
- double peak8[] = { 11860, 12808, 11389, 131, 46, 137, 505, 563, 458};
- double peak10[] = { 15001, 15782, 13856, 130, 57, 132, 485, 542, 436};
- double peak12[] = { 19159, 20728, 18062, 210, 125, 175, 549, 636, 521};
- double peak16[] = { 6884, 7522, 8712, 127, 51, 117, 117, 135, 139};
  Note:
- 1 GeV calibration data do not have MWPC chamber0
- NO 2 GeV calibration data
- Preshower HV almost not changed at all beam energies, except 16 GeV
- 6GeV and 12 GeV has serious pile up issue

---
Signal for 8 Gev Calibration Runs, 1016

---
Signal for 8 Gev Calibration Runs, 1017

---
Signal for 8 Gev Calibration Runs, 1018

---
Pile up … 8 GeV
8 GeV, beam on top block, ~30k particles per spill, 6k triggers per spill

---
Pile up … 10 GeV
10 GeV, beam on top block, ~80k particles per spill, 9k triggers per spill

---
Simulated Result: Ecal only

---
Simulated Result: Ecal and Preshower

---
Summary
- MWPC cluster finding algorithm is developed. But we still need to reduce false cluster and determine a tracking cut
- Merged Ecal and MWPC root files, adding MWPC cluster information
- Ecal gain match is on going
- Preshower gain match is on going
- Started analyzing simulated data
- Building work environment in ifarm, prepare to transfer some tasks to Zhenyu’s group
- TODO:
  - Reduce false MWPC clusters and determine beam position cuts
  - Finish gain matching, then start chi2 fitting to determine matching between preshower and shower
  - Compare to simulation to determine TDC to MeV coefficient
  - Extract Ecal resolution

---
Signal Width