Status Update of SoLID Ecal Beam Test @FTBF
Jixie Zhang
University of Virginia
April 1st, 2021

---
Outline
- Finish Determine Pedestal
- Finish total ADC integration
- Finish Merged Ecal and MWPC root files
- Pre-shower and shower gain match using pion events
- Analyzing simulated data
- TODO:
  - Reduce false MWPC clusters and determine beam position cuts
  - Calibration between pre-shower and Ecal
  - Extract Ecal resolution

---
FADC Signals
sample index
ADC of sample

---
Method 1: Fit Profile after cut ...
Note:
1) Cut must be applied to remove events that a particle show up before the trigger.
2 ) So it has to be 2 iterations.
  The first iteration will determine the the mean value with a loose cut.
  The second iteration will apply a tight cut.
sample index
sample index
averaged ADC of sample
averaged ADC of sample

---
Method 2: Fit Signal Before Trigger
ADC of sample
These events have particle hit before trigger arrives
This is the best method to proceed
number of events

---
Method 3: Get Maximum Bin
ADC of sample
Apply cut: time < TimePeak + 10
A quick and dirty method to get the peak. It is a build-in function of histogram.
In most cases it works, but …
number of events

---
Example That Method 3 Fail
ADC of sample
ADC of sample
number of events
number of events

---
Example of Current Result
Averaged ADC of sample over the whole run

---
Current Result For All Channels

---
Cherencov Cut For Pions Or Electrons
1. Upstream Cherenkov (ch10) and the outer channel of Downstream Cherencov are not working properly
2. Pedestal of ch11 was jumping (grounding issue?)
These two channels are not used to identify particles!
adc[12] < 50 can remove most electrons
adc[12] > 250 can remove most pions
but neither of them can not completely reject pions or electrons.

---
Gain Match Calibration: Gaussian, R=2cm
1

---
Gain Match Calibration: Landau-Gaus, R=2cm
1

---
Summary
- TODO:
  - Reduce false MWPC clusters and determine beam position cuts
  - Finish gain matching, then start chi2 fitting to determine matching between preshower and shower
  - Compare to simulation to determine TDC to MeV coefficient
  - Extract Ecal resolution

---
Back up ...

---
Signal for 8 Gev Calibration Runs, 1016

---
Signal for 8 Gev Calibration Runs, 1017

---
Signal for 8 Gev Calibration Runs, 1018

---
Pile up … 8 GeV
8 GeV, beam on top block, ~30k particles per spill, 6k triggers per spill

---
Pile up … 10 GeV
10 GeV, beam on top block, ~80k particles per spill, 9k triggers per spill

---
Simulated Result: Ecal only

---
Simulated Result: Ecal and Preshower

---
Signal Width