SoLID Ecal Calibration
Jixie Zhang
University of Virginia
April 15th, 2021

---
Outline
- Finish Determine Pedestal
- Finish total ADC integration
- Finish Merged Ecal and MWPC root files
- Pre-shower and shower gain match using pion events
- Analyzing simulated data
- TODO:
  - Reduce false MWPC clusters and determine beam position cuts
  - Calibration between pre-shower and Ecal
  - Extract Ecal resolution

---
Methodology
Minimize the width of Etot (defined below) to get 5 parameters using using electron peak of production data:
Etot = (alpha1 * PS1 + Shower1) * 1.0
        + (alpha2 * PS2 + Shower2) * beta2
        + (alpha3 * PS3 + Shower3) * beta3
- Get 0-th order values for alpha1, alpha2, alpha3 using electron peak of calibration data
  - Minimize width of electron (alpha1 * PS1 + Shower1) to get alpha1
  - Minimize width of electron (alpha2 * PS2 + Shower2) to get alpha2
  - Minimize width of electron (alpha3 * PS3 + Shower3) to get alpha3
- Get 0-th order values for beta1 (1.0), beta2, beta3 using pion peak of calibration data
  - Fit Landau-gaus to the MIP peak of each module, then align them to the same location

---
Cherencov Cut For Pions Or Electrons
1. Upstream Cherenkov (ch10) and the outer channel of Downstream Cherencov are not working properly
2. Pedestal of ch11 was jumping (grounding issue?)
These two channels are not used to identify particles!
adc[12] < 50 can remove most electrons
adc[12] > 250 can remove most pions
but neither of them can not completely reject pions or electrons.

---
Ecal: Do Landau-Gaus Fit, R=2cm, 6G
1

---
Ecal:Check Gain Match: Landau-Gaus, R=2cm, 6G
1

---
Preshower: Do Landau-Gaus Fit, R=2cm, 6G
1

---
Preshower: Check Gain Match: Landau-Gaus, R=2cm, 6G
1

---
Gain Match: Gaussian, R=2cm, 6G
1

---
Status
- Finish Coding using Tminuit from root
- Doing minimization for Alphas, could not get good result yet ...
  - using standard deviation to define the ‘width’

---
Back up ...

---
FADC Signals
sample index
ADC of sample

---
Method 1: Fit Profile after cut ...
Note:
1) Cut must be applied to remove events that a particle show up before the trigger.
2 ) So it has to be 2 iterations.
  The first iteration will determine the the mean value with a loose cut.
  The second iteration will apply a tight cut.
sample index
sample index
averaged ADC of sample
averaged ADC of sample

---
Method 2: Fit Signal Before Trigger
ADC of sample
These events have particle hit before trigger arrives
This is the best method to proceed
number of events

---
Method 3: Get Maximum Bin
ADC of sample
Apply cut: time < TimePeak + 10
A quick and dirty method to get the peak. It is a build-in function of histogram.
In most cases it works, but …
number of events

---
Example That Method 3 Fail
ADC of sample
ADC of sample
number of events
number of events

---
Example of Current Result
Averaged ADC of sample over the whole run

---
Current Result For All Channels

---
Signal for 8 Gev Calibration Runs, 1016

---
Signal for 8 Gev Calibration Runs, 1017

---
Signal for 8 Gev Calibration Runs, 1018

---
Pile up … 8 GeV
8 GeV, beam on top block, ~30k particles per spill, 6k triggers per spill

---
Pile up … 10 GeV
10 GeV, beam on top block, ~80k particles per spill, 9k triggers per spill

---
Simulated Result: Ecal only

---
Simulated Result: Ecal and Preshower

---
Signal Width