## Slide 1: Correlations between modifications and improvement in Energy Resolution
Zheng Huang, Sep. 22nd
University of Illinois at Chicago
Nonlinear and linear methods, run 1066

## Slide 2: General outline
With gain-calibrated data
Nonlinear: 1. Previous: Modified AdcSum = ECal_Cluster_AdcSum * position_gap factor * preshower factor All factors were calculated base on the mean of ECal_Cluster_AdcSum. 2. Check if there is any correlation between those modifications: New: ECal_Cluster_AdcSum * preshower factor = ECal_Cluster_AdcSum_P Modified AdcSum = ECal_Cluster_AdcSum_P * position_gap factor (mean is based on ECal…P, instead of ECal_Cluster_AdcSum)

## Slide 3: Preshower modification
Nonlinear, run 1066 = 10GeV
ECal_Cluster_Adcsum_gain
Preshower modification factor = mean of ECal_Cluster_AdcSum_gain / Fitted mean of each bin

## Slide 4: Position modification factor
Nonlinear, run 1066
Position modification factor = (mean of ECal_Cluster_Adcsum_Preshower)^2 / (mean of fitted radius * mean of fitted theta) Filled with certain theta angle ignored
ECal_Cluster_Adcsum_Preshower
ECal_Cluster_Adcsum_gain

## Slide 5: Energy resolution of each step
ER: 0.096343 0.090597 0.087695 0.064030 Previous: 0.064561

## Slide 6: Preshower modification
linear, run 1066
Linear_ECal_Adcsum = ECal_Cluster_AdcSum_gain + (-1)*slope*(Preshower_Cluster_AdcSum_gain)
Fitting function = p1+x*p0
lower limit=1000, upper limit = 3000
ECal_Cluster_Adcsum_gain
Linear_ECal_Adcsum

## Slide 7: Position modification factor
linear, run 1066
ECal_Cluster_AdcSum_total_linear = Linear_ECal_Adcsum * Position modification factor
Position modification factor = (Linear_mean)^2 / (Adc_Sum_radius * Adc_Sum_theta)
Final histogram was filled with certain theta ignored.
Previous: using the mean of original ECal_Cluster_AdcSum_gain

## Slide 8: Energy resolution comparison
Nonlinear total and linear total
Linear_total
0.064030
0.057888

## Slide 9
 | P0 | P1
Original | 0.072±0.003 | 0.168±0.005
Gain | 0.065±0.006 | 0.173±0.008
Preshower (nonlinear) | 0.068±0.006 | 0.137±0.009
Position | 0.047±0.004 | 0.121±0.006
Energy resolution for run 1066 (10 GeV)
Original : 0.096, New Gain: 0.091 (-6%), Preshower_Nonlinear: 0.088 (-3%), Position Dependence: 0.064 (-27%)
Original : 0.096, New Gain: 0.091 (-6%), Preshower_Linear: 0.084 (-7%), Position Dependence: 0.058 (-31%)
~10% improvement in energy resolution by gain and preshower correction
~30% additional improvement from position dependence correction
 | P0 | P1
Original | 0.072±0.003 | 0.168±0.005
Gain | 0.065±0.006 | 0.173±0.008
Preshower (linear) | 0.068±0.005 | 0.116±0.005
Position | 0.046±0.003 | 0.104±0.005

## Slide 11
Fifth Xbin, run 1066, projected from Preshower_2D_gain
Fifth Xbin, run 1066, by limiting the domain to be 12000-25000

## Slide 12: Run 1063
2D ECal in Cartesian coordinate
Fitted adc_sum over full data
1D Histogram of AdcSum over all data
Energy resolution = Sigma/Mean = 11.02%
Run information: 6GeV, requested lower rate after 5 spills.
Run 1063,1064,1065.

## Slide 13: Run 1063
2D ECal in Cartesian coordinate
Convert the x/y to the corresponding radius and theta.
Plot 2D histogram of adcsum vs. radius and theta.
Use FitSlicesY() method to compare the radius and angle dependence.
Shift the coordinate system so that the intersected point is the origin.

## Slide 14: Run 1063

## Slide 15: Run 1063
1. New_ECal_Cluster_AdcSum-> ECal_Cluster_AdcSum * Mean of AdcSum_Electron / Fitted Mean of AdcSum at corresponding radius/angle/both.
2. Perform the plotting using New AdcSum vs. radius and angle using the same FitSlicesY() method, and check if the radius and angle dependency reduce.

## Slide 16: Run 1063
Without modification
With modification

## Slide 17: Run 1063
Mean value of fittedSliceY() before modification
Mean value of fittedSliceY() after modification

## Slide 18: Run 1063
Energy resolution = 10.02%
Energy resolution = 10.29%
Original Energy resolution (without any modification on ECal_Cluster_AdcSum)= 11.02%
Energy resolution = 9.21%

## Slide 19: Run 1063
Original Energy resolution (without any modification on ECal_Cluster_AdcSum)= 11.02%
Skip certain theta (all three gaps)
Energy resolution = 10.06%
Skip certain theta(all three gaps)
Skip all gaps and with modifications on both
Energy resolution = 8.531%