## Slide 1: LHRS Optics Calibration Straight-through, good septum
Min Huang
10/23/2012

## Slide 2: Straight-thru Optics
Settings
  Beam energy 2.253GeV
  0T target field at 6 deg, Gep target magnet config
  Good septum
Optics runs
  Full delta scan on both arms (-3%, -2%, 0, 2%, 3%)

## Slide 3: Straight-thru Optics
Used Tg_y instead of VertexZ
The previous problem perhaps comes from other material contamination, tried to select only carbon (elastic) events

## Slide 4: Steps Tried
Dp vs. tg_y
Dp vs. tg_th
And a few other focal plane plots…

## Slide 5: Matrix Calibration
Jin suggested look at these plots with part of the acceptance, since it’s a multi-dimension problem
Cut each hole, and looked at dp vs. target phi/y/theta plots
Then decided to use dp vs. target theta

## Slide 6: Steps of cuts
These two are from #3181 dp=-3%
Tg_y vs. Tg_ph vetex cut for the whole run
Cut on each hole

## Slide 7: Steps of cut
These two are from #3181 dp=-3%
3. Cut carbon elastic for each hole

## Slide 8: Matrix Angle Calibration

## Slide 9: Matrix Dp calibration

## Slide 10: Next
Any suggestions from this meeting
Looks good enough to me, a good base for more realistic situations later

## Slide 11: Backup
Focal plane x vs. y