|  |  |  |  |
| --- | --- | --- | --- |
| Configuration | HRS p0 (GeV) |  | Run Number |
| No target field, 40mil C12 foil in LHe | | | |
| 0% | 2.251 |  | 2725 |
|  |
| No target field, 100mil CH2 foil in LHe, 1x1mm beam size | | | |
|  | 2.251 |  | 2752, 2753 |
|  |
| 2.5T target field, 40mil C12 in LHe | | | |
| pointing | 2.251 |  | 2921 |
|  |  |
| 2.5T target field, 40mil C12, **no** LHe, beam position scan | | | |
| (0,0) == 0% | 2.251 |  | 2928, 2929 |
|  |  |
| (0,4)(mm) |  |  | 2930 |
|  |  |  |  |
| (0,6) |  |  | 2933 |
|  |  |  |  |
| (0,-4) |  |  | 2937 |
|  |  |  |  |
| (0,-6) |  |  | 2939 |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

They are all at adaql3--7 machines. If you log in, and type 'gog2p', then cd min/Rootfiles, they are all there.