| Jefferson Lab Alignment Group Data Transmittal |  |  |  |
| --- | --- | --- | --- |
| TO: J. P. Chen, J. LeRose, D. Higinbotham |  | DATE: 28 Oct 2008 |  |
| FROM: J. Dahlberg | Checked: |  | # : A1191 |

DETAILS:							Data:  Step2b\HallA\BigBite_Detector\080916A, 080916B

Below are the results from the survey performed on the BigBite detectors and sieve.  The coordinates (in millimeters) are based on the ideal Hall A target center and straight ahead beam.  A +X is to the beam left, a +Z is downstream, and a +Y is up.  The corner points on the detectors are to the upstream of the detector frames.  Note:  The detector package was fiducialized in a vertical position on the floor.  During this survey in the installed location, as much as 2 millimeters of deformation was seen on the fiducial points.  The detector centers and corner points are derived from the fiducial points.

LOCATION	      Z		  X	         Y

SIEVE           	  943.84        -555.84           0.65

DETECTOR CENTERS		LOCATION	      Z		  X	         Y

1CL             	2472.12      -1401.24         68.02

2CL             	2583.87      -1465.18         80.59

3CL            	3176.39      -1806.91       219.00

DETECTOR CORNERS	LOCATION	      Z		  X	         Y

1TOPBR         	2131.91      -1672.18       952.92

1TOPBL         	2536.33        -967.20       950.87

1BOTBR         	2407.86      -1835.29      -814.59

1BOTBL         	2812.39      -1130.29      -817.12

2TOPBR        	2146.70      -1792.30     1272.20

2TOPBL         	2650.24        -917.50     1269.77

2BOTBR         	2517.17      -2013.47    -1108.66

2BOTBL         	3021.39      -1137.42    -1110.96

3TOPBR         	2739.26      -2133.55     1409.74

3TOPBL         	3241.61      -1257.96     1408.73

3BOTBR         	3111.11      -2355.96      -970.74

3BOTBL          3613.57      -1480.15      -971.74

DETECTOR FIDUCIALS	LOCATION	      Z		  X	         Y

HABBDTA    	4008.92      -1267.36     1650.27

HABBDTB    	2953.59        -603.80     1431.14

HABBDTC    	3362.88        -846.39    -1180.33

HABBDTD     	4101.87      -1331.23    -1023.07

HABBDTE     	2028.62      -2209.90     1428.66

HABBDTF     	3132.90      -2786.91     1645.84

HABBDTG     	3232.47      -2854.95    -1018.89

HABBDTH    	2433.28      -2447.86    -1158.24