| Jefferson Lab Alignment Group Data Transmittal |  |  |  |
| --- | --- | --- | --- |
| TO: Eugene Chudakov, Bogdan Wojtsekhowski, John LeRose |  | DATE: 08 Jun 2006 |  |
| FROM: James Dahlberg | Checked: |  | # : A1061 |

DETAILS:                                                                                Data: m:\algin\data\step2b\halla\gen\060516a

Given below are the results of the Big Bite detector survey carried out on May 10th, 2006. The center of each of the three chambers is shown, together with the four corners of each detector plane. This information is derived from the as found location survey of the external fiducials (May 10th), and the fiducialization survey carried out after the detector was shifted from the running position on May 16th.  The coordinates are in millimeters, with the Hall A target as origin, +z being downstream along the main beam line, +x being transverse beam left, and +y being up with respect to gravity (not pitched).

Z		     X		     Y

Ch1 center                 2016.62        -2060.84         169.60

Ch1 topbr                   1614.54        -2231.29        1053.90

Ch1 topbl                   2196.34        -1663.14        1054.20

Ch1 botbr                   1836.90        -2458.44        -714.98

Ch1 botbl                   2418.75        -1890.45        -714.75

Ch2 center                 2264.69        -2314.47         223.94

Ch2 topbr                   1755.23        -2512.25        1415.07

Ch2 topbl                   2477.70        -1807.45        1413.58

Ch2 botbr                   2051.67        -2821.45         -965.63

Ch2 botbl                   2774.18        -2116.75         -967.27

Ch3 center                 2500.72        -2559.24          292.12

Ch3 topbr                   1993.25        -2755.46        1485.10

Ch3 topbl                    2715.88        -2050.92        1481.01

Ch3 botbr                    2285.61        -3067.89        -896.92

Ch3 botbl                    3008.14        -2362.67         -900.72