Jefferson Lab Alignment Group

DATA TRANSMITTAL

TO:	 Javier Gomez, John LeRose				DATE: 21 Sep 2000

FROM:  Chris Curtis	                       			Checked:		# :  A629

DETAILS:

The position of the sieve slits relative to the target in hall A have been calculated and are listed below. The distance is to the upstream face of the large slit collimator. This information combines the spectrometer surveys of Aug 2000 (E080100a/H080200b) with slit measurements made with the Faro CMM later in August. The results from 1998 surveys previously given in Data Transmittal #483 are also shown for reference.

Aug 2000 Results

ELECTRON :

Target : Upstream Large slit 	1.1099m

HADRON:

Target : Upstream Large slit 	1.1010m

1998 Results (DTM #483)

ELECTRON :

Target : Upstream Large slit 	1.109m

HADRON:

Target : Upstream Large slit 	1.099m