Jefferson Lab Alignment Group

DATA TRANSMITTAL

TO:	J. Gomez, J. Mitchell, A. Saha, J. LeRose	DATE: 18 October, 2000

FROM:      C. J. Curtis                         		           Checked:		# : A636

DETAILS:

Below are the results from the spectrometer pointing and superharp surveys carried    out on the Electron arm on October 17, and the Hadron arm on October 16.

================ RESULTS ===============  E101700A

The central ray of the spectrometer is at  -20.865 degrees.

It is missing the defined target center by   1.32 mm   upstream,

and     .68 mm vertically (positive = up).

If the offset is corrected by secondary alignment, the

spectrometer will be at  -20.874 degrees.

*.3dd = 1.03

*.9pr = 0.11

================ RESULTS =============== H101600A

The central ray of the spectrometer is at   68.303 degrees.

It is missing the defined target center by    .05 mm downstream,

and    1.52 mm vertically (positive = up).

If the offset is corrected by secondary alignment, the

spectrometer will be at   68.303 degrees.

*.3dd = 1.50

*.9pr = 0.11

Superharps	 	   DX	       DY	 locations in mm (+ is beam left)

SH1H01A             	-0.11        -0.07

SH1H01B               	-0.06        -0.08

SH1H01C             	-0.05        -0.09

SH1H02A             	-0.50         0.19

SH1H02B             	-0.43         0.22

SH1H02C             	-0.43         0.28