Hall A racks and equipment operating on Clean Power:

Hall floor:

Nomenclature:			Equipment installed:

1H75B02			Möeller

1H75B03			Ethernet Switch,

Controls Switch,

Data Acquisition Switch,

Reset Relay Box

1H75B07			Beam Current Monitor,

Beam Position Monitor

1H75B08			Vacuum Gauges – target & exit beam pipe

Hall A FSD Interlock Chassis

1H75B10			Radiator

1H75B11			Electron – Proton Scattering Chamber

1H75B12			Möeller

1H75B13			Möeller Quadrupole power supplies

(Note – 120V only – reset box power)

1H75B14			Möeller

1H75B15			Möeller?  Lecroy power supply and 1 server

1H75B18			Compton Polarimeter

1H75B18			Compton Polarimeter

1H75B20			Beamline Vacuum Control Chassis

Ion Pump Power Suppiles:

VIP 1P01

VIP 1P03

VIP 1C20C

VIP 1P02A&B

Differential Pumping Station

Beamline Status/FSD Interlock Chassis

Spectrometers:

Nomenclature:			Equipment installed:

1H71(2)B05			Controls VME Crate

1H71(2)B06			Magnetometers

H.P. Multimeters (magnet current readback)

Field Gradient Compensating Coils Power Supply

AND all shielding hut power except lights and door motor power.