## Sheet1
Left Arm | harpileftlcw | 129.57.243.20
PV Name | Description | Units | ADC Address | ADC Channel
LHRSGantryLCW:DHighTemp | Dipole Power Supply LCW Input Temp | ⁰C
LHRSGantryLCW:DLowTemp | Dipole Power Supply LCW Output Temp | ⁰C
LHRSGantryLCW:Q1HighTemp | Q1 Power Supply LCW Input Temp | ⁰C
LHRSGantryLCW:Q1LowTemp | Q1 Power Supply LCW Output Temp | ⁰C
LHRSGantryLCW:Q2HighTemp | Q2 Power Supply LCW Input Temp | ⁰C
LHRSGantryLCW:Q2LowTemp | Q2 Power Supply LCW Output Temp | ⁰C
LHRSGantryLCW:Q3HighTemp | Q3 Power Supply LCW Input Temp | ⁰C
LHRSGantryLCW:Q3LowTemp | Q3 Power Supply LCW Output Temp | ⁰C
LHRSGantryLCW:HighPressure | Pressure of high pressure manifold | PSI
LHRSGantryLCW:LowPressure | Pressure of low pressure manifold | PSI
LHRSGantryLCW:HighPressOut | Output voltage of pressure sensor on high pressure manifold | V
LHRSGantryLCW:LowPressOut | Output voltage of pressure sensor on low pressure manifold | V
LHRSGantryLCW:PressVIn | Supply voltage for pressure sensors | V
LQ1Temp:LM35_1 | Left side flag with cables attached to right side of magnet | ⁰C
LQ1Temp:LM35_2 | Flag towards front with cables attached to other flag on same side of magnet | ⁰C
LQ1Temp:LM35_3 | Left power entry flag | ⁰C
LQ1Temp:LM35_4 | Left bottom coil | ⁰C
LQ1Temp:LM35_5 | Left top coil | ⁰C
LQ1Temp:LM35_6 | Flag towards back with cables attached to other flag on same side of magnet | ⁰C
LQ1Temp:LM35_7 | Right bottom coil | ⁰C
LQ1Temp:LM35_8 | Copper between coils on right side | ⁰C
LQ1Temp:LM35_9 | Right power entry flag | ⁰C
LQ1Temp:LM35_10 | Right side flag with cables attached to left side of magnet | ⁰C
LQ1Temp:LM35_11 | Right top coil | ⁰C
LQ1Temp:LM35_12 | LCW return manifold | ⁰C
Right Arm | harpirightlcw | 129.57.243.21
PV Name | Description | Units
RHRSGantryLCW:DHighTemp | Dipole Power Supply LCW Input Temp | ⁰C
RHRSGantryLCW:DLowTemp | Dipole Power Supply LCW Output Temp | ⁰C
RHRSGantryLCW:Q1HighTemp | Q1 Power Supply LCW Input Temp | ⁰C
RHRSGantryLCW:Q1LowTemp | Q1 Power Supply LCW Output Temp | ⁰C
RHRSGantryLCW:Q2HighTemp | Q2 Power Supply LCW Input Temp | ⁰C
RHRSGantryLCW:Q2LowTemp | Q2 Power Supply LCW Output Temp | ⁰C
RHRSGantryLCW:Q3HighTemp | Q3 Power Supply LCW Input Temp | ⁰C
RHRSGantryLCW:Q3LowTemp | Q3 Power Supply LCW Output Temp | ⁰C
RHRSGantryLCW:HighPressure | Pressure of high pressure manifold | PSI
RHRSGantryLCW:LowPressure | Pressure of low pressure manifold | PSI
RHRSGantryLCW:HighPressOut | Output voltage of pressure sensor on high pressure manifold | V
RHRSGantryLCW:LowPressOut | Output voltage of pressure sensor on low pressure manifold | V
RHRSGantryLCW:PressVIn | Supply voltage for pressure sensors | V
RQ1Temp:LM35_1 | Left power entry flag | ⁰C
RQ1Temp:LM35_2 | Left flag with cables going to right side | ⁰C
RQ1Temp:LM35_3 | Top sensor on left bottom coil | ⁰C
RQ1Temp:LM35_4 | Bottom sensor on left bottom coil | ⁰C
RQ1Temp:LM35_5 | Copper between coils on left side | ⁰C
RQ1Temp:LM35_6 | Bottom sensor on left top coil | ⁰C
RQ1Temp:LM35_7 | Top sensor on left top coil | ⁰C
RQ1Temp:LM35_8 | Copper between coils on right side | ⁰C
RQ1Temp:LM35_9 | Return manifold | ⁰C
RQ1Temp:LM35_10 | Supply manifold | ⁰C
RQ1Temp:LM35_11 | Top sensor on right bottom coil | ⁰C
RQ1Temp:LM35_12 | Bottom sensor on right bottom coil | ⁰C
RQ1Temp:LM35_13 | Right flag with cables going to left side | ⁰C
RQ1Temp:LM35_14 | Top sensor on right top coil | ⁰C
RQ1Temp:LM35_15 | Right power entry flag | ⁰C
RQ1Temp:LM35_16 | Bottom sensor on right top coil | ⁰C