Task Hazard Analysis (THA) Worksheet / (See ES&H Manual Chapter 3210 Appendix T1 / Work Planning, Control, and Authorization Procedure)

Author:	Jack Segal				Date:		08/08/21		Task #: / If applicable
Complete all information. Use as many sheets as necessary
Task Title:		Operation of the Super Big Bite Power Supply and Corrector Magnets' Power Supplies During Commissioning and SBS Experiments			Task Location: Hall A
Division:		Physics			Department:	Hall A		Frequency of use:		For Super Big Bite experiments
Lead Worker:			Jack Segal
Mitigation already in place: / Standard Protecting Measures / Work Control Documents				Machine Protection System

Sequence of Task Steps	Task Steps/Potential Hazards	Consequence Level	Probability Level	Risk Code (before mitigation)	Proposed Mitigation / (Required for Risk Code >2)	Safety Procedures/ Practices/Controls/Training	Risk Code / (after mitigation
	Electrical	Med	Low	2	OSP / Proper training & execution of approved procedures / Guard all exposed electrical connections	As required by Accelerator Operations	1
	Magnetic Field	Med	Low	2	OSP	Measure and post 5 Gauss boundary / Warning beacons	1
	Fire	Low	Low	1	OSP	Hall A Technical Work Permit / Protection Systems	1
	Missteering of Beam	High	Low	3	OSP / Proper training & execution of approved procedures	As required by Accelerator Operations	1

Highest Risk Code before Mitigation:	3	Highest Risk Code after Mitigation:	1

When completed, if the analysis indicates that the Risk Code before mitigation for any steps is “medium” or higher (RC≥3), then a formal Work Control Document (WCD) is developed for the task. Attach this completed Task Hazard Analysis Worksheet. Have the package reviewed and approved prior to beginning work. (See ES&H Manual Chapter 3310 Operational Safety Procedure Program.)

Form Revision Summary / Revision 0.2 – 07/26/21 – Periodic Review; updated header and footer / Periodic Review – 08/29/18 – No changes per TPOC / Periodic Review – 08/13/15 – No changes per TPOC / Revision 0.1 – 06/19/12 - Triennial Review. Update to format. / Revision 0.0 – 10/05/09 – Written to document current laboratory operational procedure. / ISSUING AUTHORITY TECHNICAL POINT-OF-CONTACT APPROVAL DATE REVIEW DATE REV. / ES&H Division Harry Fanning 08/29/18 07/26/24 0.2 / This document is controlled as an on line file. It may be printed but the print copy is not a controlled document. It is the user’s responsibility to ensure that the document is the same revision as the current on line file. This copy was printed on 8/15/2021.