|  | 3210Appendix T2 Task Hazard Analysis (THA) Worksheet |  |
| --- | --- | --- |

| Author: |  | Jack Segal |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date: | April 5, 2012 |  |  |  |  | Task #: If applicable |  |  |  |  | Frequency of use: |  |  | Frequent |
| Complete all information. Use as many sheets as necessary |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Task Location: |  |  |  | Hall A |  |  |  |  | Task Title: |  |  | Maintenance, testing and diagnosis of the HRS Dipole power supplies |  |  |
| Division: |  |  | Physics |  |  |  |  |  |  | Department: |  |  | Hall A |  |
| Lead Worker: |  |  |  |  | Ed Folts |  |  |  |  |  |  |  |  |  |
| Mitigation already in place: Standard Protecting Measures Work Control Documents |  |  |  |  |  |  | Plastic guards for AC power somponents Proper PPE OSP |  |  |  |  |  |  |  |

| Sequence of Task Steps | Task Steps/Potential Hazards | Consequence Level | Probability Level | Risk Code (before mitigation) | Proposed Mitigation (Required for Risk Code >2) | Safety Procedures/ Practices/Controls/Training | Risk Code (after mitigation |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | De-powering and safeing the power supply | H | M | 4 | Follow procedures in the OSP | Follow the OSP | N |
|  | Restarting the power supply | H | M | 4 | Follow procedures in the OSP | Follow the OSP | N |
|  | Working on controls (low voltage) | L | EL | N | Follow procedures in the OSP | Follow the OSP | N |
|  | Performing diagnostics | L | L | 1 | Follow procedures in the OSP | Follow the OSP | N |

|  | Highest Risk Code before Mitigation: | 4 |  | Highest Risk Code after Mitigation: | N |
| --- | --- | --- | --- | --- | --- |

When completed, if the analysis indicates that the Risk Code before mitigation for any steps is “medium” or higher (RC≥3), then a formal Work Control Document (WCD) is developed for the task.  Attach this completed Task Hazard Analysis Worksheet.  Have the package reviewed and approved prior to beginning work.  (See ES&H Manual Chapter 3310 Operational Safety Procedure Program.)

|  | ISSUING AUTHORITY | FORM TECHNICAL POINT-OF-CONTACT | APPROVAL DATE | EFFECTIVE DATE | EXPIRATION DATE | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ESH&Q Division | Harry Fanning | 10/05/09 | 01/01/09 | 10/05/12 | 0 |  |  |

This document is controlled as an on line file.  It may be printed but the print copy is not a controlled document.  It is the user’s responsibility to ensure that the document is the same revision as the current on line file.  This copy was printed on 7/29/2026.