## Tested
Tested 2/23/2004 |  | Test was done using a 4-20mA source fed into the input module of the PLC.
The current source corresponding to the resistance of the sensor at the target
temperature as given by Elin's data. The fit is broken up into three curves.
The relation between current and resistance is 4/20mA = 0 to 1200 Ohms.
CG-IN uses 2.334/20.0mA to 0.0/1325.0 Ohms
Redundant sensors curve fits were not tested at this time.
Temperaure | Fit # | 1 | 2 | 3 | 4 | In | Out | Lcl | Rcl
Target |  | K | K | K | K | K | K | K | K
300 | 1 | 298.625 | 305.933 | 299.99 | 306.461 | 310.948 | 307.421 | 311.005 | 310.586
77.35 | 1 | 77.516 | 75.413 | 77.602 | 75.94 | 76.97 | 77.482 | 77.378 | 78.262
50 | 1 | 49.401 | 50.906 | 49.833 | 51.759 | 50.075 | 50.057 | 50.037 | 50.043
50 | 2 | 49.971 | 49.788 | 49.948 | 50.815 | 49.85 | 49.796 | 49.908 | 49.913
20 | 2 | 19.094 | 19.763 | 19.834 | 19.763 | 20.056 | 20.023 | 20.02 | 20.024
20 | 3 | 19.62 | 19.706 | 193818 | 19.852 | 19.972 | 19.956 | 19.987 | 19.993
10 | 3 | 10.08 | 10.019 | 10.61 | 10.08 | 10.112 | 10.028 | 10.428 | 10.46
4.2 | 3 | 4.223 | 4.288 | 4.215 | 4.224 | 4.213 | 4.236 | 4.114 | 4.121
| Example: | Signal Conditioner gives 10 mA output signal
(10-4)*1200 Ohms/ 16 mA = 450 Ohms
450 Ohms is in the third curve fit for all C.G.s and ~ 9.0 K

## Quad_data
Carbon Glass Thermometers
|  | Q1 |  |  |  |  | Q2 |  |  | Q3
| Temperature | CG1 |  | CG2 |  | CG1 |  | CG2 |  | CG1 |  |  | CG2
|  | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y
1 |  | 9.09 | 100 | 11.4 | 100 | 5 | 100 | 5 | 100 | 16 | 200 | 16 | 200
2 |  | 10.1 | 79.65 | 13.1 | 75.02 | 65 | 13.065 | 70 | 11.365 | 40 | 12.44 | 42 | 12.503
3 |  | 11.7 | 59.95 | 14.7 | 60.44 | 80 | 11.238 | 75 | 10.879 | 41 | 12.187 | 45 | 11.88
4 |  | 15 | 40.057 | 16.4 | 50.17 | 95 | 10.032 | 78 | 10.619 | 42 | 11.972 | 50 | 11.026
5 |  | 26.9 | 20.068 | 20.9 | 35.08 | 110 | 9.168 | 87 | 9.948 | 45 | 11.41 | 65 | 9.301
6 |  | 102 | 8.13 | 34.3 | 20.042 | 120 | 8.714 | 105 | 8.953 | 50 | 10.59 | 80 | 8.241
7 |  | 117 | 7.493 | 77 | 10.77 | 140 | 8 | 130 | 8.018 | 60 | 9.415 | 100 | 7.318
8 |  | 160 | 6.505 | 173 | 7.03 | 160 | 7.46 | 173 | 7.009 | 80 | 7.967 | 130 | 6.443
9 |  | 199 | 5.943 | 250 | 6.014 | 190 | 6.853 | 200 | 6.579 | 120 | 6.493 | 170 | 5.723
10 |  | 240 | 5.526 | 300 | 5.603 | 250 | 6.047 | 270 | 5.823 | 160 | 5.714 | 190 | 5.465
11 |  | 270 | 5.219 | 340 | 5.348 | 300 | 5.6 | 350 | 5.284 | 190 | 5.324 | 220 | 5.155
12 |  | 300 | 5.092 | 390 | 5.091 | 380 | 5.1 | 450 | 4.841 | 240 | 4.864 | 260 | 4.838
13 |  | 340 | 4.874 | 460 | 4.81 | 440 | 4.828 | 500 | 4.6735 | 270 | 4.658 | 290 | 4.659
14 |  | 370 | 4.735 | 520 | 4.618 | 490 | 4.644 | 560 | 4.5047 | 290 | 4.54 | 310 | 4.51
15 |  | 410 | 4.577 | 560 | 4.509 | 540 | 4.488 | 600 | 4.407 | 310 | 4.435 | 340 | 4.396
16 |  | 450 | 4.44 | 600 | 4.411 | 590 | 4.3546 | 650 | 4.298 | 330 | 4.3406 | 360 | 4.311
17 |  | 490 | 4.322 | 650 | 4.302 | 640 | 4.2373 | 700 | 4.202 | 370 | 4.1763 | 390 | 4.197
18 |  | 540 | 4.193 | 700 | 4.205 | 680 | 4.1547 | 730 | 4.149 | 420 | 4.0067 | 450 | 4.005

## Dipole_Data
Carbon Glass Thermometers
| Temperature |  | T_Lhe_1 | T_Lhe_1r | T_Lhe_2 | T_Lhe_2r | T_Lhe_3 | T_Lhe_3r | T_Lhe_4 | T_Lhe_4r
1 | 300 |  | 50.2 | 54.7 | 53.8 | 54.6 | 50 | 50.2 | 54.7 | 50
2 | 250 |  | 54.5 | 59.7 | 58.9 | 59.3 | 54.5 | 54.7 | 60 | 54.4
3 | 200 |  | 60.8 | 65.6 | 64.5 | 64.5 | 61 | 61.1 | 66 | 60.6
4 | 150 |  | 68.9 | 74.7 | 73.8 | 73.5 | 69.4 | 69.3 | 75.5 | 67.4
5 | 100 |  | 82.1 | 88.3 | 87.3 | 85.6 | 83.7 | 82.8 | 89.4 | 82.7
6 | 77.35 |  | 93.4 | 100 | 99.2 | 97.6 | 94.9 | 93.7 | 101.3 | 93.7
7 | 50 |  | 115.1 | 119.7 | 118 | 111.3 | 117.1 | 115.1 | 120.8 | 115.8
8 | 20 |  | 166.8 | 165.3 | 159.3 | 136.4 | 171.2 | 170.5 | 162.3 | 171.5
9 | 10 |  | 391.6 | 371.6 | 380.5 | 363 | 389.8 | 367.8 | 392 | 392.5
10 | 5.2 |  | 907.8 | 889.4 | 980.6 | 925 | 885.8 | 836.1 | 938.3 | 930.6
11 | 4.2 |  | 1163.2 | 1165.325 | 1208.525 | 1208.525 | 1130.35 | 1081.4 | 1211.025 | 1214.75
| Temperature |  | T_Lhe_In | T_Lhe_Inr | T_Lhe_Out | T_Lhe_Outr | T_Lhe_LCLC | T_Lhe_LCLCr | T_Lhe_RCLC | T_Lhe_RCLCr
1 | 300 |  | 49.3 | 48.5 | 49.5 | 51.7 | 48.6 | 48.052 | 49.1 | 48.46
2 | 250 |  | 53.9 | 53.4 | 54.2 | 56.4 | 55 | 54.4 | 55.4 | 54.5
3 | 200 |  | 59.8 | 59.6 | 60.2 | 62.2 | 61.2 | 62.617 | 61.5 | 61.3
4 | 150 |  | 68.2 | 68.5 | 68.9 | 71.1 | 70.5 | 69.9 | 70.3 | 70.2
5 | 100 |  | 81.1 | 81.6 | 82.2 | 84.2 | 84.9 | 87.777 | 87.5 | 89.104
6 | 77.35 |  | 90 | 91 | 92.3 | 93.9 | 98 | 96 | 98.3 | 97.8
7 | 50 |  | 106.7 | 107.4 | 111.7 | 112.8 | 122.4 | 119.6 | 122.8 | 122.3
8 | 20 |  | 146.1 | 141.3 | 155.7 | 160.5 | 211.4 | 205.2 | 210.6 | 212.8
9 | 10 |  | 381.8 | 370.1 | 386.7 | 361.9 | 362.3 | 347.972 | 355.3 | 357.617
10 | 5.2 |  | 993.2 | 924.1 | 931.1 | 857.9 | 656.4 | 636.9 | 638.96 | 651.892
11 | 4.2 |  | 1321.35 | 1202 | 1202.175 | 1120.4 | 806.1 | 788.8 | 778.4 | 806
Ohm
[12 empty] | Range | Fit Equation
T_Lhe_1 |  | Unit = Kelvin |  |  |  | T_Lhe_1r |  | Unit = Kelvin |  |  | T1.1 | 40-114.999 | 1492336 xR^ -2.1744
| T1.1 | T1.2 | T1.3 |  |  |  | T1.1r | T1.2r | T1.3r
| 299.1276 | [5 empty] | 303.2729 |  |  |  | T1.2 | 115-169.999 | 6158367.7406 x R^ -2.4698
| 250.1762 | [5 empty] | 248.2149
| 197.2181 | [5 empty] | 200.0242 |  |  |  | T1.3 | 170-1230 | 1190.277 x R^ -0.7992
| 150.2598 | [5 empty] | 148.5474
| 102.6405 | [5 empty] | 101.272
| 77.5433 | [5 empty] | 76.1583 |  |  |  | T1.1r |  | 2900929.49301 xR^ -2.29041
|  | 50.006 | [5 empty] | 50.0012
|  | 20.0026 | [5 empty] | 20.0005 |  |  | T1.2r |  | 39652826.2068 xR^ -2.8388
|  |  | 10.0797 | [5 empty] | 10.3274
|  |  | 5.1478 | [5 empty] | 5.1655 |  | T1.3r |  | 1132.83621 xR^ -0.79382
|  |  | 4.2226 | [5 empty] | 4.1683
T_Lhe_2 |  | Unit = Kelvin |  |  |  | T_Lhe_2r |  | Unit = Kelvin |  |  | T2.1 | 40-117.999 | 2648924.81732 xR^ -2.2765
| T2.1 | T2.2 | T2.3 |  |  |  | T2.1r | T2.2r | T2.3r
| 304.0491 | [5 empty] | 305.151 |  |  |  | T2.2 | 118-159.999 | 105905565.97 xR^ -3.0532
| 247.4014 | [5 empty] | 248.9232
| 201.1903 | [5 empty] | 202.3159 |  |  |  | T2.3 | 160-1230 | 908.26319 xR^ -0.75464
| 148.0605 | [5 empty] | 146.5947
| 101.0068 | [5 empty] | 100.6647
| 75.5111 | [5 empty] | 72.8371 |  |  |  | T2.1r |  | 5876137.31054 xR^ -2.46638
|  | 50.0091 | [5 empty] | 50.0004
|  | 20.0038 | [5 empty] | 20.0002 |  |  | T2.2r |  | 83150913765.8212 xR^ -4.5057
|  |  | 10.2559 | [5 empty] | 9.9908
|  |  | 5.0201 | [5 empty] | 5.1368 |  | T2.3r |  | 660.92949 xR^ -0.71118
|  |  | 4.2876 | [5 empty] | 4.2473
T_Lhe_3 |  | Unit = Kelvin |  |  |  | T_Lhe_3r |  | Unit = Kelvin |  |  | T3.1 | 40-116.999 | 1179178.48533 xR^ -2.11513
| T3.1 | T3.2 | T3.3 |  |  |  | T3.1r | T3.2r | T3.3r
| 300.6333 | [5 empty] | 304.3456 |  |  |  | T3.2 | 117-171.999 | 4891419.9266 xR^ -2.4125
| 250.5389 | [5 empty] | 252.3229
| 197.4126 | [5 empty] | 197.4769 |  |  |  | T3.3 | 172-1230 | 1365.7116 xR^ -0.82229
| 150.2674 | [5 empty] | 149.1558
| 101.1033 | [5 empty] | 99.2321
| 77.5183 | [5 empty] | 75.5117 |  |  |  | T3.1r |  | 1510023.25811 xR^ -2.17521
|  | 50.0082 | [5 empty] | 50.0048
|  | 20.0036 | [5 empty] | 20.0021 |  |  | T3.2r |  | 3200614.8633 xR^ -2.3319
|  |  | 10.1143 | [5 empty] | 10.6092
|  |  | 5.1498 | [5 empty] | 5.4003 |  | T3.3r |  | 1365.7116 xR^ -0.82229
|  |  | 4.2144 | [5 empty] | 4.3706
T_Lhe_4 |  | Unit = Kelvin |  |  |  | T_Lhe_4r |  | Unit = Kelvin |  |  | T4.1 | 40-119.999 | 2607465.81541 xR^ -2.26173
| T4.1 | T4.2 | T4.3 |  |  |  | T4r.1 | T4.2r | T4.3r
| 305.7458 | [5 empty] | 296.7689 |  |  |  | T4.2 | 120-162.999 | 144285717.8808 xR^ -3.1028
| 248.0394 | [5 empty] | 247.7453
| 199.9408 | [5 empty] | 196.6351 |  |  |  | T4.3 | 163-1230 | 1013.14054 xR^ -0.77192
| 147.506 | [5 empty] | 156.5979
| 100.6514 | [5 empty] | 101.0626
| 75.8703 | [5 empty] | 77.3552 |  |  |  | T4.1r |  | 1286682.51381 xR^ -2.14074
|  | 50.0018 | [5 empty] | 49.9997
|  | 20.0008 | [5 empty] | 19.9999 |  |  | T4.2r |  | 3265968.2985 xR^ -2.3332
|  |  | 10.0893 | [5 empty] | 10.2413
|  |  | 5.1435 | [5 empty] | 5.1654 |  | T4.3r |  | 1166.34916 xR^ -0.79283
|  |  | 4.224 | [5 empty] | 4.1817
T_Lhe_In |  | Unit = Kelvin |  |  |  | T_Lhe_Inr |  | Unit = Kelvin |  |  | TIn.1 | 40-105.999 | 2554447.79506 xR^ -2.31399
| TIn.1 | TIn.2 | TIn.3 |  |  |  | TIn.1r | TIn.2r | TIn.3r
| 309.0766 | [5 empty] | 312.4535 |  |  |  | TIn.2 | 106-146.999 | 40955874 xR^ -2.9156
| 251.4305 | [5 empty] | 251.8115
| 197.7098 | [5 empty] | 196.8458 |  |  |  | TIn.3 | 147-1322 | 668.24657 xR^ -0.705
| 145.8607 | [5 empty] | 144.0843
| 97.6881 | [5 empty] | 97.3271
| 76.7714 | [5 empty] | 76.2215 |  |  |  | TIn.1r |  | 1879459.59797 xR^ -2.24189
|  | 50.0035 | [5 empty] | 49.9915
|  | 20.0015 | [5 empty] | 19.9964 |  |  | TIn.2r |  | 303988058.3669 xR^ -3.3402
|  |  | 10.1098 | [5 empty] | 9.9774
|  |  | 5.1526 | [5 empty] | 5.1394 |  | TIn.3r |  | 726.05842 xR^ -0.72497
|  |  | 4.2133 | [5 empty] | 4.2475
T_Lhe_Out |  | Unit = Kelvin |  |  |  | T_Lhe_Outr |  | Unit = Kelvin |  |  | TOut.1 | 40-110.999 | 1688720.07743 xR^ -2.20842
| TOut.1 | TOut.2 | TOut.3 |  |  |  | TOut.1r | TOut.2r | TOut.3r
| 305.603 | [5 empty] | 305.3663 |  |  |  | TOut.2 | 111-155.999 | 22359888.6152 xR^ -2.759
| 250.1261 | [5 empty] | 249.948
| 198.3632 | [5 empty] | 199.5302 |  |  |  | TOut.3 | 156-1230 | 924.36785 xR^ -0.75938
| 147.2304 | [5 empty] | 146.6687
| 99.7049 | [5 empty] | 99.3819
| 77.191 | [5 empty] | 77.3254 |  |  |  | TOut.1r |  | 2682075.63249 xR^ -2.30153
|  | 49.9909 | [5 empty] | 49.9994
|  | 19.9961 | [5 empty] | 19.9997 |  |  | TOut.2r |  | 10741594.3893 xR^ -2.5981
|  |  | 10.0241 | [5 empty] | 10.2884
|  |  | 5.1434 | [5 empty] | 5.1655 |  | TOut.3r |  | 1134.60188 xR^ -0.79829
|  |  | 4.2362 | [5 empty] | 4.1741
T_Lhe_LCLC |  | Unit = Kelvin |  |  |  | T_Lhe_LCLCr |  | Unit = Kelvin |  |  | TLCLC.1 | 40-121.999 | 679684 xR^ -1.9806
| TLCLC.1 | TLCLC.2 | TLCLC.3 |  |  |  | TLCLC.1r | TLCLC.2r | TLCLC.3r
| 310.281 | [5 empty] | 318.2744 |  |  |  | TLCLC.2 | 122-211.999 | 158389.1463 xR^ -1.6768
| 242.8537 | [5 empty] | 248.3234
| 196.5473 | [5 empty] | 187.422 |  |  |  | TLCLC.3 | 212-807 | 9830 xR^ -1.1624
| 148.5196 | [5 empty] | 150.3982
| 102.7809 | [5 empty] | 95.3715
| 77.3543 | [5 empty] | 79.7317 |  |  |  | TLCLC.1r |  | 735377.87218 xR^ -2.00017
|  | 49.9958 | [5 empty] | 49.9909
|  | 19.9981 | [5 empty] | 19.9959 |  |  | TLCLC.2r |  | 168124.789 xR^ -1.6974
|  |  | 10.4206 | [5 empty] | 10.5253
|  |  | 5.2225 | [5 empty] | 5.2379 |  | TLCLC.3r |  | 9044.78118 xR^ -1.15448
|  |  | 4.1131 | [5 empty] | 4.0917
T_Lhe_RCLC |  | Unit = Kelvin |  |  |  | T_Lhe_RCLCr |  | Unit = Kelvin |  |  | TRCLC.1 | 40-121.999 | 691473.87337 xR^ -1.98094
| TRCLC.1 | TRCLC.2 | TRCLC.3 |  |  |  | TRCLC.1r | TRCLC.2r | TRCLC.3r
| 308.9191 | [5 empty] | 310.4247 |  |  |  | TRCLC.2 | 122-210.999 | 176975.8396 xR^ -1.6987
| 243.2134 | [5 empty] | 246.9394
| 197.7523 | [5 empty] | 196.3927 |  |  |  | TRCLC.3 | 211-779 | 11197.34438 xR^ -1.18783
| 151.7288 | [5 empty] | 150.8143
| 98.35 | [5 empty] | 94.7814
| 78.0992 | [5 empty] | 79.0585 |  |  |  | TRCLC.1r |  | 595429.44349 xR^ -1.94785
|  | 50.0026 | [5 empty] | 50.0061
|  | 20.0012 | [5 empty] | 20.0027 |  |  | TRCLC.2r |  | 141988.4018 xR^ -1.6543
|  |  | 10.4578 | [5 empty] | 10.5512
|  |  | 5.2082 | [5 empty] | 5.2371 |  | TRCLC.3r |  | 10051.87036 xR^ -1.16665
|  |  | 4.1196 | [5 empty] | 4.0886