## PLC Modules Software
|  | Date 2/07/2007 |  | 0.74
JEFFERSON LAB CONTROLOGIX REDUNDANCY PROJECT PROPOSAL
Qty | Catalog # | Description | Price | Ext. Price
Fiscal Year 20120
|  | Software |  |  | Summary of Software: |  | Date | PO | Ordered | unit Cost | Total Cost
1 | 9324RLD700NXENE | RS-Logix 5000 Pro Edition | 5500 | 5500 | 9324RLD700NXENE | RS-Logix 5000 Pro Edition
1 | 9701-VWSTENE | RSVIEW Studio | 2000 | 2000 | 9701-VWSTENE | RSVIEW Studio
1 | 9701-VWSS100LENE | RSView Enterprise extra 100 displays | 4800 | 4800 | 9701-VWSS100LENE | RSView Enterprise extra 100 displays
1 | 9701-VWSCWAENE | SE Client | 2200 | 2200 | 9701-VWSCWAENE | SE Client
0 | 9301-OPCSRVENE | KPServer | 2000 | 0
0 | 9356PRO2100 | RSSQL Prof 150 Tags | 2800 | 0 | [5 empty] | Total | 0
|  |  | Subtotal: | 14500
[5 empty] | Summary of Hardware: |  | Date | PO | Ordered | unit Cost | Total Cost
|  | Subsystem of New System : Redundant CLX |  |  | 1756-L62M | LOGIX5562 PROCESSOR WITH 4 MBYTE NV MEMORY | 2010-03-10 | 10-P1267 | 2 | 5626.96 | 11253.92
2 | 1756-A7 | 4 SLOT CONTROLLOGIX CHASSIS | 442 | 884 | 1757-SRC1 | 1757 REDUNDANCY MODULE CABLE - 1 METER, 3.28FT | 2010-03-10 | 10-P1267 | 1 | 111 | 111
4 | 1756-CNB | CONTROLNET BRIDGE MODULE | 1312 | 5248 | 1757-SRM | SYSTEM REDUNDANCY MODULE | 2010-03-10 | 10-P1267 | 2 | 3422.5 | 6845
2 | 1756-ENBT | CLX ETHERNET/IP 10/100 BRIDGE MODULE - TWISTED PR | 1760 | 3520 | 1756-CNB | CONTROLNET BRIDGE MODULE | 2010-03-10 | 10-P1267 | 8 | 1457.8 | 11662.4
2 | 1756-L62M | LOGIX5562 PROCESSOR WITH 4 MBYTE NV MEMORY | 8457 | 16914 | 1756-ENBT | CLX ETHERNET/IP 10/100 BRIDGE MODULE - TWISTED PR | 2010-03-10 | 10-P1267 | 2 | 1962.48 | 3924.96
2 | 1756-N2 | EMPTY SLOT FILLER CARD (ONE FILLER PER PACKAGE) | 21 | 42 | 1756-N2 | EMPTY SLOT FILLER CARD (ONE FILLER PER PACKAGE) | 2010-03-10 | 10-P1267 | 2 | 19.24 | 38.48
2 | 1756-PA72 | 85-265 VAC POWER SUPPLY (5V @ 10 AMP) | 805 | 1610 | 1756-PA72 | 85-265 VAC POWER SUPPLY (5V @ 10 AMP) | 2010-03-10 | 10-P1267 | 8 | 623.08 | 4984.64
1 | 1757-SRC1 | 1757 REDUNDANCY MODULE CABLE - 1 METER, 3.28FT | 156 | 156 | 1786-XT | CONTROLNET 75 OHM TERMINATOR PLUG | 2010-03-10 | 10-P1267 | 2 | 6.66 | 13.32
2 | 1757-SRM | SYSTEM REDUNDANCY MODULE | 4860 | 9720 | 1786-TPS | CONTROLNET T-TAP/STRAIGHT | 2010-03-10 | 10-P1267 | 14 | 81.4 | 1139.6
2 | 1786-XT | CONTROLNET 75 OHM TERMINATOR PLUG | 7 | 14 | 1756-TBCH | 36 PIN SCREW CLAMP BLOCK WITH STANDARD HOUSING | 2010-03-10 | 10-P1267 | 54 | 56.98 | 3076.92
14 | 1786-TPS | CONTROLNET T-TAP/STRAIGHT | 99 | 1386 | 1756-TBNH | 20 NEMA Screw Clamp Block | 2010-03-10 | 10-P1267 | 4 | 45.88 | 183.52
1 | 1786-RG6 | CONTROLNET RG6 SHIELD HIGH FLEX CABLE-1000FT ROLL | 568 | 568 | 1756-IV16 | DC (10-30V) Sourcing Input Module | 2010-03-10 | 10-P1267 | 5 | 244.94 | 1224.7
|  |  | Subtotal: | 40062 | 1756-DNB | Devicenet Bridge | 2010-03-10 | 10-P1267 | 1 | 806.6 | 806.6
[5 empty] | 1756-OW16I | N.O. ISOLATED RELAY OUTPUT 16 PTS (36 PIN) | 2010-03-10 | 10-P1267 | 12 | 427.72 | 5132.64
|  | Subsystem of New System : Bender Dipole I/O |  |  | 1756-IF16 | ANALOG INPUT - CURRENT/VOLTAGE 16 PTS (36 PIN) | 2010-03-10 | 10-P1267 | 30 | 1065.6 | 31968
1 | 1756-A10 | 10 SLOT CONTROLLOGIX CHASSIS | 542 | 542 | 1756-A7 | 7 slot chassis | 2010-03-10 | 10-P0996 | 2 | 344.1 | 688.2
1 | 1756-CNB | CONTROLNET BRIDGE MODULE | 1312 | 1312 | 1756-A10 | 10 slot chassis | 2010-03-10 | 10-P0996 | 6 | 420.32 | 2521.92
1 | 1756-IV16 | 79-132 VAC INPUT 16 PTS (20 PIN) | 408 | 408 | 1756-OG16 | 0-5 TTL output | 2010-03-10 | 10-P0996 | 2 | 316.72 | 633.44
1 | 1756-IB16D | 16 channel Digital Input Module | 1397 | 1397 | 1756-OF4 | 0-10V analog output 6 outputs |  |  | 5 | 830 | 4150
2 | 1756-OW16I | N.O. ISOLATED RELAY OUTPUT 16 PTS (36 PIN) | 559 | 1118 | 1756-IB16D | 16 channel Digital Input Module |  |  | 0 | 416 | 0
5 | 1756-IF16 | ANALOG INPUT - CURRENT/VOLTAGE 16 PTS (36 PIN) | 1397 | 6985 | MVI94-GSC | Prosoft ASCII Generic Serial Communication Module |  |  | 5 | 1150 | 5750
1 | 1756-PA72 | 85-265 VAC POWER SUPPLY (5V @ 10 AMP) | 805 | 805 | 1794-ACN15 | SINGLE MEDIA ADAPTER FOR CONTROLNET |  |  | 1 | 508 | 508
9 | 1756-TBCH | 36 PIN SCREW CLAMP BLOCK WITH STANDARD HOUSING | 67 | 603 | 1794-PS13 | 85-264 VAC TO 24 VDC 1.3A POWER SUPPLY |  |  | 1 | 144 | 144
1 | 1794-ACN15 | SINGLE MEDIA ADAPTER FOR CONTROLNET | 671 | 671
1 | 1794-PS13 | 85-264 VAC TO 24 VDC 1.3A POWER SUPPLY | 190 | 190 |  |  |  |  | PR not written yet |  |  | 10552
1 | MVI94-GSC | Prosoft ASCII Generic Serial Communication Module | 1056 | 1056
|  |  | Subtotal: | 15087 | [5 empty] | Total | 96761.26
|  | Subsystem of New System : Quadrupole 1 |  |  | New Components
1 | 1756-A10 | 10 SLOT CONTROLLOGIX CHASSIS | 542 | 542 | Obsolete Components
1 | 1756-CNB | CONTROLNET BRIDGE MODULE | 1312 | 1312
1 | 1756-IV16 | 79-132 VAC INPUT 16 PTS (20 PIN) | 408 | 408
1 | 1756-IB16D | 16 channel Digital Input Module | 1397 | 1397
2 | 1756-OW16I | N.O. ISOLATED RELAY OUTPUT 16 PTS (36 PIN) | 559 | 1118
5 | 1756-IF16 | ANALOG INPUT - CURRENT/VOLTAGE 16 PTS (36 PIN) | 1397 | 6985
1 | 1756-PA72 | 85-265 VAC POWER SUPPLY (5V @ 10 AMP) | 805 | 805
9 | 1756-TBCH | 36 PIN SCREW CLAMP BLOCK WITH STANDARD HOUSING | 67 | 603
1 | 1794-ACN15 | SINGLE MEDIA ADAPTER FOR CONTROLNET | 671 | 671
1 | 1794-PS13 | 85-264 VAC TO 24 VDC 1.3A POWER SUPPLY | 190 | 190
1 | MVI94-GSC | ProSoft ASCII Generic Serial Communication Module | 1056 | 1056
|  |  | Subtotal: | 15087
Subsystem of New System : Quadrupole 2
1 | 1756-A10 | 10 SLOT CONTROLLOGIX CHASSIS | 542 | 542
1 | 1756-CNB | CONTROLNET BRIDGE MODULE | 1312 | 1312
1 | 1756-IV16 | 79-132 VAC INPUT 16 PTS (20 PIN) | 408 | 408
1 | 1756-IB16D | 16 channel Digital Input Module | 1397 | 1397
2 | 1756-OW16I | N.O. ISOLATED RELAY OUTPUT 16 PTS (36 PIN) | 559 | 1118
5 | 1756-IF16 | ANALOG INPUT - CURRENT/VOLTAGE 16 PTS (36 PIN) | 1397 | 6985
1 | 1756-PA72 | 85-265 VAC POWER SUPPLY (5V @ 10 AMP) | 805 | 805
9 | 1756-TBCH | 36 PIN SCREW CLAMP BLOCK WITH STANDARD HOUSING | 67 | 603
1 | 1794-ACN15 | SINGLE MEDIA ADAPTER FOR CONTROLNET | 671 | 671
1 | 1794-PS13 | 85-264 VAC TO 24 VDC 1.3A POWER SUPPLY | 190 | 190
1 | MVI94-GSC | ProSoft ASCII Generic Serial Communication Module | 1056 | 1056
|  |  | Subtotal: | 15087
Subsystem of New System : Quadrupole 3
1 | 1756-A10 | 10 SLOT CONTROLLOGIX CHASSIS | 542 | 542
1 | 1756-CNB | CONTROLNET BRIDGE MODULE | 1312 | 1312
1 | 1756-IV16 | 79-132 VAC INPUT 16 PTS (20 PIN) | 408 | 408
1 | 1756-IB16D | 16 channel Digital Input Module | 1397 | 1397
2 | 1756-OW16I | N.O. ISOLATED RELAY OUTPUT 16 PTS (36 PIN) | 559 | 1118
5 | 1756-IF16 | ANALOG INPUT - CURRENT/VOLTAGE 16 PTS (36 PIN) | 1397 | 6985
1 | 1756-PA72 | 85-265 VAC POWER SUPPLY (5V @ 10 AMP) | 805 | 805
9 | 1756-TBCH | 36 PIN SCREW CLAMP BLOCK WITH STANDARD HOUSING | 67 | 603
1 | 1794-ACN15 | SINGLE MEDIA ADAPTER FOR CONTROLNET | 671 | 671
1 | 1794-PS13 | 85-264 VAC TO 24 VDC 1.3A POWER SUPPLY | 190 | 190
1 | MVI94-GSC | ProSoft ASCII Generic Serial Communication Module | 1056 | 1056
|  |  | Subtotal: | 15087
Subsystem of New System : Dipole I/O
1 | 1756-A10 | 10 SLOT CONTROLLOGIX CHASSIS | 542 | 542
1 | 1756-CNB | CONTROLNET BRIDGE MODULE | 1312 | 1312
1 | 1756-IV16 | 79-132 VAC INPUT 16 PTS (20 PIN) | 408 | 408
1 | 1756-IB16D | 16 channel Digital Input Module | 1397 | 1397
2 | 1756-OW16I | N.O. ISOLATED RELAY OUTPUT 16 PTS (36 PIN) | 559 | 1118
5 | 1756-IF16 | ANALOG INPUT - CURRENT/VOLTAGE 16 PTS (36 PIN) | 1397 | 6985
9 | 1756-TBCH | 36 PIN SCREW CLAMP BLOCK WITH STANDARD HOUSING | 67 | 603
1 | MVI94-GSC | Prosoft ASCII Generic Serial Communication Module | 1056 | 1056
|  |  | Subtotal: | 13421
Subsystem of New System : Cryogenics/Other
1 | 1756-A10 | 10 SLOT CONTROLLOGIX CHASSIS | 542 | 542
1 | 1756-CNB | CONTROLNET BRIDGE MODULE | 1312 | 1312
2 | 1756-IB16D | 16 channel Digital Input Module | 542 | 1084
5 | 1756-IF16 | ANALOG INPUT - CURRENT/VOLTAGE 16 PTS (36 PIN) | 1397 | 6985
2 | 1756-OW16I | N.O. ISOLATED RELAY OUTPUT 16 PTS (36 PIN) | 559 | 1118
1 | 1756-PA72 | 85-265 VAC POWER SUPPLY (5V @ 10 AMP) | 805 | 805
9 | 1756-TBCH | 36 PIN SCREW CLAMP BLOCK WITH STANDARD HOUSING | 67 | 603
1 | 1794-ACN15 | SINGLE MEDIA ADAPTER FOR CONTROLNET | 671 | 671
1 | 1794-PS13 | 85-264 VAC TO 24 VDC 1.3A POWER SUPPLY | 190 | 190
1 | MVI94-GSC | Prosoft ASCII Generic Serial Communication Module | 1056 | 1056
|  |  | Subtotal: | 14366
|  |  | Total | 142697
|  |  | Discounted Total | 105595.78
Note on D24: Steven Lassiter:
Note on D25: Steven Lassiter:

## Signal Conditioners
|  |  |  | DataForth Signal Conditioners | Date Oct. 20, 2006
| Qty | Qty | Catalog # | Description | Price | Price/magnet | total price
| per | per |  |  |  | 1 | plus spares
Spares | HB | magnet |  | Magnets |  |  |  | Date | PR/PO | Ordered | unit Cost | Total Cost | Used | Returned
4 | 12 | 12 | SCM5B-34-1562 | RTD custom | 265 | 3180 | 16960 | 3/3/210 | 289237 / 10-P1266 | 64 | 265 | 16960 | 60
7 | 7 | 7 | SCM5B-30-02D | Analog Input Narrow bandwidth 50mV in / 10V out | 140 | 980 | 5880 | 3/3/210 | 289237 / 10-P1266 | 42 | 140 | 5880 | 35
0 | 0 | 3 | SCM5B-31-03D | Analog Voltage Input Module 10V in / 10V out | 150 | 450 | 1650 | 3/3/210 | 289237 / 10-P1266 | 11 | 150 | 1650 | 11
2 | 4 | 1 | SCM5B-31-03D | Analog Voltage Input Module 10V in / 10V out | 160 | 160 | 1600 | 3/3/210 | 299653 | 11 | 160 | 1760 | 9
0 | 12 | 10 | SCM5B-38-35D | Strain Gage Input Module | 162 | 1620 | 8424 | 3/3/210 | 289237 / 10-P1266 | 52 | 162 | 8424 | 52
2 | 4 | 4 | SCM5B-43-05D | General Purpose with excitation 5V in / 10V out | 205 | 820 | 4510 | 3/3/210 | 289237 / 10-P1266 | 22 | 205 | 4510 | 20
0 | 6 | 6 | SCMXCA-004 12 | Cable | 35 | 210 | 1050 | 3/3/210 | 289237 / 10-P1266 | 30 | 35 | 1050 | 30
0 | 6 | 6 | SCMPB-05-02 | Backplane-8 channels with DIN mounts | 227 | 1362 | 6810 | 3/3/210 | 289237 / 10-P1266 | 30 | 227 | 6810 | 30
0 | 6 | 6 | SCMXIF-DIN | Breakout Board Din Mounted | 63 | 378 | 1890 | 3/3/210 | 289237 / 10-P1266 | 30 | 63 | 1890 | 30
30 | 6 | 6 | SCMXRK-002 | Rack Mounting Plate 19" | 61 | 366 | 3660 | 3/3/210 | 289237 / 10-P1266 | 30 | 61 | 274.5 | 0 | 30
34 | 6 | 6 | LVC-2500 | LVDT signal conditioner 24Vdc | 425 | 2550 | 27200 | 3/3/210 | 289228 / 10-P1264 | 64 | 425 | 27200 | 30
1 | 1 | 1 | SDP5-5-100T | PSU 5 volts | 92.4 | 92.4 | 554.4 | 3/3/210 | 289255 / 10-P1249 | 6 | 92.4 | 554.4 | 5
2 | 2 | 2 | SDN10-24-100P | PSU 24V Psu | 292.3 | 584.6 | 3507.6 | 3/3/210 | 289255 / 10-P1249 | 12 | 292.3 | 3507.6 | 10
[5 empty] | Subtotal: |  | 83696 |  |  |  |  | 80470.5
3225.5
restocking fee

## Rack Termination cabling
Date 2/07/2007
|  | I/O Rack / Hardware / Cable per Magnet |  |  |  |  | Date | PR/PO | Ordered | unit Cost | Total Cost
Qty per magnet/rack | Catalog # | Description | Price | Disc. Price | Ext. Price
1
|  | Rack Chassis |  | 0.737
1 | XFR-317824 | Vertical Frame 31.562 deep 82.375 Tall 27.562 wide | 663.52 | 663.52 | 663.52
4 | XMA-78 | Mounting Angle Pair | 45 | 45 | 180
1 | XPN-7324 | Panel 73.5" Tall 24" wide | 105 | 105 | 105
1 | DS-XSR-7824 | Front Door | 160 | 160 | 160
1 | DS-XSL-7824 | Rear Door | 160 | 160 | 160
1 | XES-2024 | Equipment Shelf | 36 | 36 | 36
2 | XSP-3178-S | Side Panel | 130 | 130 | 260
1 | XPN-2819 | Top Panel | 40 | 40 | 40
2 | XPN-0324-CAP | Data Cable Access Panel | 28 | 28 | 56
100 | HW-092 | Threaded captive clip nut | 0.4 | 0.4 | 40
100 | HW-103 | #10-32 thread truss head machin screw | 0.28 | 0.28 | 28
1 | 446149 | Latch/Slotted | 4 | 4 | 4
1 | A423008LP | SINGLE DOOR ENCLOSURE HOFFMAN | 750 | 750 | 750
1 | a42p30 | PANEL FOR ENCLOSURE | 175 | 175 | 175
3 | ABA-05 | Panel reducers | 51 | 51 | 153
|  |  | Subtotal: |  | 2810.52
|  | Rack hardware |  |  |  |  | Date | PR/PO | Ordered | unit Cost | Total Cost
800 | 1492-W4 | Terminal Blocks Single Level | 1.55 | 1.55 | 1240 |  | 2010-03-03 | 289237 / 10-P1267 | 2000 | 0.71 | 1420
100 | 1492-WD3 | Terminal Blocks Double Level | 3.4 | 3.4 | 340 |  | 2010-03-03 | 289237 / 10-P1267 | 400 | 2.07 | 828
200 | 1492-WTF3 | Terminal Blocks Triple Level | 5.05 | 5.05 | 1010 |  | 2010-03-03 | 289237 / 10-P1267 | 900 | 4.7 | 4230
20 | 1492-EB3 | End barrier for W4 | 0.6 | 0.6 | 12 |  | 2010-03-03 | 289237 / 10-P1267 | 50 | 0.6 | 30
30 | 1492-EA35 | End Anchor for W4 | 0.9 | 0.9 | 27 |  | 2010-03-03 | 289237 / 10-P1267 | 50 | 1.22 | 61
30 | 1492-GM35 | Terminal Group marker | 1.85 | 1.85 | 55.5 |  | 2010-03-03 | 289237 / 10-P1267 | 100 | 2.2 | 220
20 | 1492-EBD3 | End Barrier for WD3 | 1.01 | 1.01 | 20.2 |  | 2010-03-03 | 289237 / 10-P1267 | 200 | 0.77 | 154
30 | 1492-EAH35 | End Anchor for WD3 | 3.4 | 3.4 | 102 |  | 2010-03-03 | 289237 / 10-P1267 | 50 | 2.42 | 121
20 | 1492-EBFT3 | End Barrier for WTF3 | 1 | 1 | 20 |  | 2010-03-03 | 289237 / 10-P1267 | 50 | 0.97 | 48.5
15 | 1492-SJT5-20-B | JUMPERS 20-POLE PACAKGE OF 10 | 5.5 | 5.5 | 82.5 |  | 2010-03-03 | 289237 / 10-P1267 | 60 | 5.12 | 307.2
1 | 800T-H33B | KEYED SELECTOR SWITCH 2-POLE 2NO / 2NC | 133 | 133 | 133 |  | 2010-03-03 | 289237 / 10-P1267 | 6 | 87.15 | 522.9
11 | 800T-J91A | SWITCH 3-POSITION STC, 2NO, 2NC | 62 | 62 | 682 |  | 2010-03-03 | 289237 / 10-P1267 | 60 | 56.9 | 3414
1 | 700-ha33z24 | CONTROL RELAY 2PDT 24VDC 8-PIN | 13 | 13 | 13 |  | 2010-03-03 | 289237 / 10-P1267 | 6 | 12.37 | 74.22
1 | 700-HN126 | SOCKET FOR CONTROL RELAY | 7 | 7 | 7 |  | 2010-03-03 | 289237 / 10-P1267 | 6 | 5.76 | 34.56
2 | 1492-CB1G100 | CIRCUIT BREAKER 10 AMPS | 44 | 44 | 88 |  | 2010-03-03 | 289237 / 10-P1267 | 12 | 44.93 | 539.16
10 | 1492-CB1G050 | CIRCUIT BREAKER 5 AMPS | 44 | 44 | 440 |  | 2010-03-03 | 289237 / 10-P1267 | 6 | 44.93 | 269.58
10 | 1492-CB1G020 | CIRCUIT BREAKER 2 AMPS | 44 | 44 | 440 |  | 2010-03-03 | 289237 / 10-P1267 | 96 | 44.93 | 4313.28
10 | 199-DR1 | DIN MOUNTING RAIL | 6.3 | 6.3 | 63
10 | 885-2269 | BANANA JACK DOUBLE, BLACK | 2.4 | 2.4 | 24
1 | 90F7644 | RELAY TIMER | 84 | 84 | 84 |  | 2010-03-03 | 289237 / 10-P1267 | 6 | 173.91 | 1043.46
|  |  | Subtotal: |  | 4883.2 | 24416 |  |  |  |  | 17630.86
Connectors & hardware
30 | D2x4LKG6 | Wire Duct 2" x4" x 6ft length | 8 | 8 | 240
30 | C2LG6 | 2"x 4" Wire Duct cover 6ft length | 2 | 2 | 60
30 | D1.5x4LG6 | Wirer Duct 1.5'x4'x6ft length | 7.5 | 7.5 | 225
30 | C1.5LG6 | 1.5"x4" wire Duct cover 6ft length | 1.5 | 1.5 | 45
20 | 534-1301 | TERMINATION SUPPLIES, FERRULES, ETC | 50 | 50 | 1000
|  |  | Subtotal: |  | 1570 | 7850
Cables
1 | ALPHA 1736C/R1000 | CABLE 2 COND 22AWG 500 ft | 200 | 200 | 200
7 | ALPHA 5470/25C | CABLE 25 COND 20AWG 500 ft | 4560 | 4560 | 31920
2 | ALPHA 45470/20C | CABLE 20COND 20 AWG 500 ft | 3125 | 3125 | 6250
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  | Subtotal: |  | 38370 | 191850
|  |  |  | Total | 47633.72
Note on A57: FEET
Note on D32: :
Note on D42: POMONA 2269-0
Note on D43: CNT-35-96 TYCO ELECTRONICS
Note on D52: 22AWG FERRULES

## Instrumentation
| Instrumentation for all Magnets | Instrumentation for all Magnets |  |  | Date | PR/PO | Ordered | unit Cost | Total Cost
| 2007 prices and part number | 2010 part number | 2007 prices
qty | part # | Actual part # | unit cost | Total
12 | Honeywell FPG1BR,2P5B6A | OmegaDyne PX35D1-100GV | 565 | 6780 | 2010-03-09 | 289281 / 10-P1323 | 12 | 345.6 | 4147.2
6 | Edwards APG-M-NW16 | WRG-S-DN40CF Wide Range Vacuum Gauge | 230 | 1380 | 2010-03-09 | 289277 / 10-P1304 | 6 | 1123.2 | 6739.2
6 | Edwards AIM-X-DN40CF | (Combined gauge unit) | 560 | 3360 | 2010-03-09 | 289277 / 10-P1304 | 0 | 0 | 0
8 | Copper Nickel Alloy Film 120 Ohm GF=2.1 Half Bridge | (NOT NEEDED- PART OF MAGNET) |  |  |  | XXXXX
6 | Model 135 Monitor & Probe 80" | Model LM-500 with model 3DA sensor + cables | 3356 | 20136 | 2010-03-01 | 228063 /10-P1149 | 6 | 1762.5 | 10575
6 | Model 185 Ln2 level sensor and monitor | Model LM-500 with model LN2 sensor + cables | 2461 | 14766 | 2010-03-01 | 228063 /10-P1149 | 6 | 1845.8333 | 11075
12 | MKS MC20A00122LM26V | MCR-500SLPM-D_remote/5M,5IN,Gas:He | 3250 | 39000 | 2010-03-15 | 289247 / 10-P1271 | 10 | 2128 | 21280
4 | 3RTP100-2-2 Three axis Hall probe + accessories |  | 3685 | 14740 |  |  |  |  | 0
1 | 3 probes+ cable (10M) | 1060-R-7m (R=4,5,6) 10 meter cable from amp to unit | 7950 | 7950 |  |  |  |  | 0
6 | Relay Board | ICC-ER-B24 | 224 | 1344 | 2010-03-08 | 289357 / 10-M13120 | 6 | 223.94 | 1343.64
10 | Constant Current Source Board | CMA1D03A | 80 | 800 | 2010-03-18 | 289256 / 10-P1310 | 10 | 370.27 | 3702.7
5 | Ball Valve Actuactor (controller) | CE5-C-TX-HZ-G | 4000 | 20000
|  |  |  | 109456 |  |  |  |  | 55160.04
Note on D5: Honeywell Web page http://www.sensotec.com/pressure_transducer_instock.shtml 3/7/07
Note on D6: From PR 191738 8/23/2000
Note on D7: From PR 191738 8/23/2000
Note on D9: American Magnetics Model 135 Monitor and sensor probe
Note on D10: American Magnetics
Note on D11: Flow Controllers PR# 255827 Model #1559A Calibrated to He gas 4-20mA output
Note on D12: GMW web page Pricing www.GMW.com
Note on D13: GMW web page Pricing www.GMW.com

## Chassis Layout
PLC I/O Usage Table
Magnets
Module | IV16 | OF4 | OW16I | OW16I | IF16 | IF16 | IF16 | IF16 | IF16
Configuration |  | 0-5 volts output |  |  | Single_Ended voltage | Single_Ended Voltage/Current | Single_Ended_Mode Voltage | Differential_Mode Current | Differential_Mode Voltage
Chasis Slot # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Channel
0 | QD_U1 | Setpnt_m_flow_LCL | MOT_JTV1_Close | He_CG_Current_enabled | TP_He_PT_1 | TR_Coil_1 | SG_1 | LVDT_JTV1 | Current Lead R
1 | QD_L1 | Setpnt_m_flow_RCL | MOT_JTV1_Open | Vacuum_power | TP_He_PT_2 | TR_Coil_2 | SG_2 | LVDT_JTV2 | Coil 1
2 | QD_U2 |  | MOT_JTV2_Close | Keep_Alive_Reset | TP_He_PT_3 | TR_Coil_3 | SG_3 | LVDT_JTV3 | Coil 2
3 | QD_L2 |  | MOT_JTV2_Open | Keep_Alive_Control | TP_He_PT_4 | TR_Coil_4 | SG_4 | LVDT_JTV4 | Coil 3
4 | QD_U3 |  | MOT_JTV3_Close | Power_liquid_level_meter | TP_LN2_OT | TR_He_LCLC | SG_5 | LVDT_JTV5 | Coil 4
5 | QD_L3 |  | MOT_JTV3_Open | PLC_Fast_Relay | TP_LN2_OB | TR_He_RCLC | SG_6 | LVDT_JTV6 | Current Lead L
6 | QD_U4 |  | MOT_JTV4_Close | PLC_Slow_Relay | TP_LN2_BT | TR_LHe_Resv | SG_7 | Warm_Return_Position | Coils 1 and 2
7 | QD_L4 |  | MOT_JTV4_Open | MPS_CPU_Reset | TP_LN2_BB | SPARE | SG_8 | h_LHe / LN2 | Coils 3 and 4
8 | QD_Sum |  | MOT_JTV5_Close | MPS_diodes_Reset | TP_LN2_IN | Vac | SG_9 | N/A | N/A
9 | He_LL_alarm |  | MOT_JTV5_Open | Danf_QD_Reset | TP_LN2_Ret | p_He | SG_10 | N/A | N/A
10 | LN2_LL_alarm |  | MOT_JTV6-Close | He /LN2 LL select | TP_He_LCLW | p_N2 |  | N/A | N/A
11 | JVT Mtrs KS remote |  | MOT_JTV6_Open | Diode_Current_enabled | TP_He_RCLW | m_flow_LCL |  | N/A | N/A
12 | PSU_Control_pwr_on |  | Warm_return_Close |  | TD_LHe_CD | m_flow_RCL |  | N/A | N/A
13 | PSU_Main_pwr_on |  | Warm_return_Open |  | TD_LHe_Supply | MPS_Current_Signal |  | N/A | N/A
14 | PSU_ready |  |  |  | TD_LHe_Ret |  |  | N/A | N/A
15 | PSU_Sum_Interlocks |  |  |  | TD_LHe_WR |  |  | N/A | N/A
Dataforth Signal Conditioner Table SCM5B modules
Rack
Channel |  |  |  |  | 3 | 1 | 5 |  | 6
1 |  |  | JT1 LN2 Cooldown |  | 34-1562 [RTD - +/- 5V] | 30-02D [+/-50mV - +/-10V] | 38-35D [+/-20mV - +/-10V] |  | 31-09D [+/-40mV - +/-10V]
2 |  |  | JT2 LN2 Top Fill |  | 34-1562 [RTD - +/- 5V] | 30-02D [+/-50mV - +/-10V] | 38-35D [+/-20mV - +/-10V] |  | 31-09D [+/-40mV - +/-10V]
3 |  |  | JT3 He Cooldown |  | 34-1562 [RTD - +/- 5V] | 30-02D [+/-50mV - +/-10V] | 38-35D [+/-20mV - +/-10V] |  | 31-09D [+/-40mV - +/-10V]
4 |  |  | JT4 He Bottom Fill |  | 34-1562 [RTD - +/- 5V] | 30-02D [+/-50mV - +/-10V] | 38-35D [+/-20mV - +/-10V] |  | 31-09D [+/-40mV - +/-10V]
5 |  |  | JT5 He Top Fill |  | 34-1562 [RTD - +/- 5V] | 30-02D [+/-50mV - +/-10V] | 38-35D [+/-20mV - +/-10V] |  | 31-09D [+/-40mV - +/-10V]
6 |  |  | JT6 He Cold Return |  | 34-1562 [RTD - +/- 5V] | 30-02D [+/-50mV - +/-10V] | 38-35D [+/-20mV - +/-10V] |  | 31-09D [+/-40mV - +/-10V]
7 |  |  |  |  | 34-1562 [RTD - +/- 5V] | 30-02D [+/-50mV - +/-10V] | 38-35D [+/-20mV - +/-10V] |  | 31-09D [+/-40mV - +/-10V]
8 |  |  |  |  | 34-1562 [RTD - +/- 5V] |  | 38-35D [+/-20mV - +/-10V] |  | 31-09D [+/-40mV - +/-10V]
Channel |  |  |  |  | 2 | 4 | 6
1 |  |  |  |  | 34-1562 [RTD - +/- 5V] | 31-03D [+/-10V - +/-10V]
2 |  |  |  |  | 34-1562 [RTD - +/- 5V] | 38-35D [+/-20mV - +/-10V]
3 |  |  |  |  | 34-1562 [RTD - +/- 5V] | 38-35D [+/-20mV - +/-10V]
4 |  |  |  |  | 34-1562 [RTD - +/- 5V] | 31-03D [+/-10V - +/-10V]
5 |  |  |  |  | 43-05D [+/-5V - +/-10V] | 31-03D [+/-10V - +/-10V]
6 |  |  |  |  | 43-05D [+/-5V - +/-10V] | 31-03D [+/-10V - +/-10V]
7 |  |  |  |  | 43-05D [+/-5V - +/-10V] |  | 38-35D [+/-20mV - +/-10V]
8 |  |  |  |  | 43-05D [+/-5V - +/-10V] |  | 38-35D [+/-20mV - +/-10V]

## PRs
SHMS Electrical Components |  |  | 12CCMC | 12GEV | 43-014 & 43-053
PR | Sent Date | Due Date | PR Estimate | PO /Buyer | Vendor | PO Cost | Description | Initial Delivery | Delivery Complete | In House Value | Location
288063 | 2010-01-21 | 2010-04-30 | 38300 | 10-P1149-0 /AD | Cryomagnetics | 21650 | LL meters | 2010-05-10 | 2010-05-10 | 21650 | arc 500-25
289228 | 2010-03-03 | 2010-03-31 | 25856 | 10-P1264-0 / AD | Macro Sensor | 27200 | LVDT | 2010-03-22 | 2010-03-22 | 27200 | arc 500-25
289237 | 2010-03-03 | 2010-03-31 | 54884 | 10-P1266-0 / AD | Dataforth | 54884 | Signal Conditioners | 2010-03-22 | 2010-04-29 | 54884 | arc 500-25
289255 | 2010-03-03 | 2010-03-31 | 4680 | 10-P1249-0 / CP | Tiger Controls | 4062.24 | DC Power Supply | 2010-03-09 | 2010-03-18 | 4062.24 | arc 500-25
289247 | 2010-03-11 | 2010-03-31 | 26100 | 10-P1271-0 / AD | Alicat Scientific | 21280 | Flow meters | 2010-04-14 | 2010-04-29 | 21280 | arc 500-25
290013 | 2010-03-29 | 2010-03-31 | 4820 | 10-P1271-0 / AD | Alicat Scientific | 4820 | Flow meters LOI | 2010-04-14 | 2010-04-29 | 4820 | arc 500-25
289248 | 2010-03-05 | 2010-03-31 | 100965 | 10-P1267-0 / DL | EECO | 99996.56 | PLC parts | 2010-03-12 | 2010-03-22 | 99996.56 | arc 500-25
289256 | 2010-03-04 | 2010-03-31 | 2830 | 10-M1310-0 / CP | 4PCB | 2956.4 | CC Board | 2010-04-08 | 2010-04-08 | 2956.4 | arc 500-25
289430 | 2010-03-09 | 2010-03-31 | 800 | 10-P1310-0 / CP | 4PCB | 746.3 | CC Board LOI | 2010-04-08 | 2010-04-08 | 746.3 | arc 500-25
289277 | 2010-03-04 | 2010-03-31 | 6894 | 10-P1304-0 / CP | Tiger Controls | 6739.2 | Vacuum Gauges | 4/7/210 | 2010-04-12 | 6739.2 | arc 500-25
289357 | 2010-03-08 | 2010-03-31 | 1344 | 10-M1312 / CP | ESI | 1343.64 | Relay Board | 2010-03-12 | 2010-03-12 | 1343.64 | arc 500-25
289281 | 2010-03-04 | 2010-03-31 | 4320 | 10-P1323-0 / CP | Omega | 4147.2 | Pressure Gauges | 2010-06-07 | 2010-06-07 | 4147.2 | arc 500-25
289362 | 2010-03-25 | 2010-03-31 | 20000 | 10-P1852-0 / BR | Automax | 20470 | Warm Return Valve Actuator | 2010-07-26 | 2010-07-26 | 20470 | arc 101
289485 | 2010-03-11 | 2010-03-31 | 3843.56 | 10-P0996-0/ BR | EECO | 3843.56 | PLC Chassis | 2010-03-16 | 2010-03-25 | 3843.56 | arc 500-25
291622 | 2010-05-14 | 2010-06-02 | 4150 | 10-P2174-0 / CP | Tiger Controls | 4245 | I/O Modules | 2010-06-07 | 2010-06-07 | 4245 | arc 500-25
293267 | 2010-07-07 | 2010-07-13 | 1666 | 10-M2704-0 | Tiger Controls | 1660 | Cables for Prototype Rack | 2010-07-16 |  | 1145 | arc 500-25
299653 | 2010-12-08 | 2011-01-14 | 1760 |  | Dataforth |  | Signal Conditioners
|  |  | 40850 |  | EECO |  | I/O Modules
|  |  | 14500 |  | EECO |  | Software
|  |  | 6000 |  | Prosoft |  | ASCII Modules (PSU)
|  |  | 14740 |  |  |  | Hall Probes (HB,Q1,Q2,Q3)
|  |  | 8000 |  | MetroLab |  | NMR Probes x3 (Dipole)
|  |  | 22484.16 |  | Emcor |  | Racks (x8)
|  |  | 230220 |  |  |  | cables (x6) [Local racks to I/O + manget to I/O]
|  |  | 10990 |  |  | 300 | connectors & hardware (x7) |  |  | 300 | arc 500-25
|  |  | 650996.72 |  |  | 280344.1 | Total |  |  | 279829.1
| Reg needs writing/sending |  |  |  |  | Label # | Racks Needed:
| Req pulled for updating |  |  |  |  | 1 | HB
| Req sent for signatures |  |  |  |  | 2 | Q1
| Req assigned Buyer/PO |  |  |  |  | 3 | Q2
| Reg writtten by others |  |  |  |  | 4 | Q3
[6 empty] | 5 | Dipole
PO Cost in Red not final | [5 empty] | 6 | PSU/Quench Detectors/Crogenics
[6 empty] | 7 | I/O Chassis (upstairs)
[6 empty] | 8 | PLC (upstairs)

## Carbon Glass
Carbon Glass CGR-1-500 Typical table |  |  |  | Source Current = |  | 7e-05 | 70 micro amps
|  |  | 30-02D | IV16
K | ohms | Voltage | mV | I/O Volts | Delta Volts | Delta Temp | dV/dT
1.4 | 103900 | 7.273 | 7273 | 1454.6 | #VALUE! | #VALUE!
4 | 700 | 0.049 | 49 | 9.8 | 1444.8 | 2.6 | 555.6923
4.2 | 584.6 | 0.040922 | 40.922 | 8.1844 | 1.6156 | 0.2 | 8.078
10 | 85.64 | 0.0059948 | 5.9948 | 1.199 | 6.9854 | 5.8 | 1.2044
20 | 36.21 | 0.0025347 | 2.5347 | 0.50694 | 0.69202 | 10 | 0.069202
30 | 25.46 | 0.0017822 | 1.7822 | 0.35644 | 0.1505 | 10 | 0.01505
50 | 18.05 | 0.0012635 | 1.2635 | 0.2527 | 0.10374 | 20 | 0.005187
77.35 | 14.33 | 0.0010031 | 1.0031 | 0.20062 | 0.05208 | 27.35 | 0.0019042
100 | 12.75 | 0.0008925 | 0.8925 | 0.1785 | 0.02212 | 22.65 | 0.0009766
150 | 10.85 | 0.0007595 | 0.7595 | 0.1519 | 0.0266 | 50 | 0.000532
200 | 9.79 | 0.0006853 | 0.6853 | 0.13706 | 0.01484 | 50 | 0.0002968
250 | 9.08 | 0.0006356 | 0.6356 | 0.12712 | 0.00994 | 50 | 0.0001988
300 | 8.55 | 0.0005985 | 0.5985 | 0.1197 | 0.00742 | 50 | 0.0001484
resolution 0.00016V