XYPLOT 4.1

USER'S MANUAL

May 1994

Copyright (c) 1994 Creative Consulting for Research & Education

All Rights Reserved.

Credits:

Krishna Myneni

John Kielkopf

Helen Kielkopf

Bryan Frazar

Contents

1  Introduction

1.1  Highlights

1.2  Hardware Requirements

1.3  License Policy

2  How to Install XYPLOT

2.1  Installing the Software

2.2  Initialization Settings

2.2.1  Setting the Display Mode

2.2.2  Use of the Mouse

2.3  How to Print the Screen

3  The Basics

3.1  Getting Started

3.1.1  Selecting a File

3.1.2  A View of the Header

3.2  A Guide to the Plot Display

3.2.1  The Plot Cursor

3.2.2  The Menu Line

3.2.3  The Plot List

3.3  Two Simple Operations

3.3.1  Expansion

3.3.2  Editing with the Data Cursor

3.4  Using XYPLOT With the Keyboard

3.5  Exiting XYPLOT

4  How to Use Files

4.1  The Structure of Data Files

4.2  Operations on Files

4.2.1  New

4.2.2  Load

4.2.3  Set

4.2.4  Save

5  How to Select and Modify Data

5.1  The XYPLOT Database

5.1.1  Data Sets

5.1.2  Selecting Data

5.2  Viewing Headers

5.3  Deleting a Data Set

5.4  Pruning Data

5.5  Zeroing Data

5.6  Joining Two Data Sets

5.7  Duplicating a Data Set

6  How to Control What You See

6.1  Including a Plot

6.2  Dropping a Plot

6.3  Plotting Options

6.4  Plots of Complex Data Sets

7  How to Perform Mathematical Operations

7.1  Template

7.2  Rescaling Data

7.3  Generating Simple Functions

7.4  Plot Arithmetic

7.5  Polynomial Fitting

7.6  Differentiation

7.7  Integration

7.8  Sorting

7.9  Smoothing

7.10  Fast Fourier Transform

7.11  Digital Filtering in the Frequency Domain

7.12  Complex Operations

8  Examples

8.1  More on Generating Functions

8.1.1  The Gaussian Distribution

8.1.2  Single Slit Diffraction Pattern

8.2  Graphical Solution of Equations

8.2.1  Solve the equation cos(x) = x

8.2.2  Find the real roots of y = x^5 + x + 1

8.3  Illustration of the Rayleigh Criterion

8.4  Estimating the Noise Level of Data

8.5  Interpolating Data at Uniformly Spaced Abscissas

A  The Initialization File

B  Display Modes and Colors

C  Setup from Windows

D  Programs to Create XYPLOT Data Files

D.1  QuickBasic

D.2  Fortran

D.3  C

References

Chapter 1 Introduction

XYPLOT is a screen plotting and analysis tool for use by scientists,

engineers, students, and teachers. It displays the results from your

experiments or calculations in an interactive graphical environment.

Simple commands from the keyboard or menus allow you to select the style

of the display and perform a myriad of operations on data without

programming. XYPLOT has been developed over several years by those who

use it everyday. It is a friendly, stable program that has been

thoroughly tested on many different hardware configurations. Students

and professionals alike will find it an invaluable tool for visualizing

and working with their data. Teachers may also use it to illustrate

mathematical and physical ideas. Examples are given in Chapter 8.

1.1  Highlights

XYPLOT offers a combination of features that are not found in any other

program remotely like it. First, it is compact. Because it occupies a

minimal amount of disk space, it loads and runs quickly, and it does not

consume the space you would rather fill with data. Second, it makes

effective use of the hardware in today's (and yesterday's) PCs, and

provides fast computing with graphics that interact promptly to your

requests. Third, it provides the tools you need for day-to-day work.

Compare the slow cumbersome process of importing data into a spreadsheet

or other graphics program, creating a graph, waiting for it to

display, writing instructions to modify the data, creating a new graph

... to the instantaneous response of XYPLOT.

XYPLOT gives your PC the capabilities you may have thought were found

only on workstations running complex, expensive programs:

Screen Plotting

Data are displayed as plots of different color and styles, on a linear

or logarithmic grid. With a cursor you may read the coordinates of any

point on the graph.

Interactive Mathematics

You may operate on all or parts of your data, transforming x or y with

algebra or simple functions. Even entire curves may be combined by

multiplication, division, addition or subtraction, and you may

differentiate, integrate, sort, or smooth the data. All or parts of the

data may be fitted to a straight line, or to higher order polynomials.

Complex values of y are permitted. There are built-in forward and

inverse fast Fourier transforms.

Files

Data are loaded into XYPLOT through plain text files from many different

sources -- a computer-controlled experiment, calculations on a

mainframe, or a published table edited into a disk file. Text files are

easily moved between different computers and operating systems, and may

be transmitted without modification by electronic mail. You may easily

write your own BASIC, C, or FORTRAN programs to create these files. You

may also save data from XYPLOT to a file. The structure of a data file

is compatible with many other programs. In addition, the entire

workspace may be saved and retrieved in a compact binary file. This

allows you to save work in progress, or take it home with you.

Data Sets

The information which XYPLOT retains in memory for immediate access is

organized into data sets. Up to a total of 16,000 pairs of x, y values

may be in the computer's memory at once, separated into as many as 10

sets. These sets may be truncated, concatenated, or transformed by math

operations to create new data sets. You may select and edit single

points out of the data. Data sets may be exported to new files on disk.

Headers

A descriptive record is maintained in memory of the history of each data

set. We call this record a "header". You may view the header with a single

keystroke. The header is automatically included when a data set is saved

to a file. With a text editor you may easily write headers that XYPLOT

can read, and pass on to the new data sets it creates.

User Interface

With keyboard or mouse you may call menus, select files or directories,

view text files, or request a help screen. You may tailor some of the

characteristics of XYPLOT by changing the contents of an initialization

file it reads whenever it runs.

1.2  Hardware Requirements

XYPLOT is designed to run on almost any PC with some type of graphics

display device. As a minimum, the machine must have 512 KB of memory and

a CGA graphics card with a monochrome video monitor. However, the full

capability of the software will be realized only with an EGA or VGA

color display. Faster processors reduce the time for the computer to

carry out plotting and mathematical functions, and a math coprocessor

will speed numerical operations noticeably on large data sets.

XYPLOT is designed for use with a mouse, but it is almost equally easy

to use with the keyboard. The mouse offers ease of selection from menus,

simple expansion, and precise interactive  readings from a graphical

screen. The cursor keys allow you to change only x or y and to make

exact comparisons between different sets of similar data. When a mouse

is present on the system, it may be enabled or disabled with a simple

keystroke command.

1.3  License Policy

XYPLOT software is protected by copyright. The ShareWare version may be

copied and distributed freely as long as no fee is charged. The user who

wishes to continue using XYPLOT beyond a reasonable trial period should

register his or her copy of the program. Registration provides the

following benefits:

1. User support by e-mail

2. Free upgrade to the next version

3. Low cost upgrades to subsequent versions

For more information on registering your copy, please refer to the

README.DOC file distributed with the package.

If you are a teacher and you want to use XYPLOT in a class, please

inquire about our low-cost licensing for students and educators. Site

licensing for educational and research institutions is available.

Inquiries may be sent by e-mail to the following addresses

Internet: 73510.62@compuserve.com

CompuServe: 73510,62

Chapter 2  How to Install XYPLOT

This Chapter will tell you how to get XYPLOT running on your computer.

Appendix C contains additional notes on using XYPLOT as a DOS

application from within Windows.

2.1 Installing the Software

Follow these instructions to set up the program files on your hard disk.

1. Create a directory, e.g. C:\XYPLOT, for the program files.

2. Copy the distribution ZIP file into this directory.

3. Use PKUNZIP (2.04G or later) to de-compress the files.

3. Edit the initialization file XYPLOT.INI as described below.

4. Edit the AUTOEXEC.BAT file for you computer to include

a path to the program and an environment variable that

locates the initialization file:

path  c:\dos;c:\xyplot

set  xypini=c:\xyplot

If the AUTOEXEC.BAT file already contains a path statement,

simply append ";c:\xyplot" to the existing line, e.g.

path  c:\dos;c:\windows; ... ;c:\xyplot

With these two changes, you may simply type "xyplot" at the

DOS prompt and the program will run no matter which directory

or disk are current.

The changes to AUTOEXEC.BAT are optional. If you do not make

these changes you may still execute XYPLOT but first you must

select the directory in which the software and initialization

file are stored.

2.2  Initialization Settings

You must specify the display mode in the initialization file before

using XYPLOT. Other options may also be specified --- these are

described in Appendices A and B.

2.2.1  Setting the Display Mode

Use your editor to modify the line in the file XYPLOT.INI that reads

screen = vga

You may replace the keyword "vga" with the choice that is appropriate

for your system. The possible keywords are listed in Appendix B.

If your system has a monochrome monitor, add the following line to the

initialization file

monochrome

This turns off the colors.

2.2.2  Use of the Mouse

XYPLOT will detect a mouse if it is present. It will use the mouse by

default unless you tell it not to. You may include the line

mouse = off

in the file xyplot.ini if you do not want the mouse activated. If a

mouse is present, you may always toggle its presence by pressing the

'M' key.

2.3  How to Print the Screen

Microsoft DOS version 5.0 or later includes a "terminate and stay

resident" (TSR) screen dump utility. It provides an acceptable hardcopy

of the XYPLOT graphics screen for several different printers. If your

system has an HP LaserJet II printer, for example, edit your

AUTOEXEC.BAT file to include this line

graphics laserjetii

Earlier versions of DOS do not support graphics printing from the VGA

screen. If you want this capability and you do not have DOS 5.0 or

higher, you need to upgrade the operating system of your computer.

Details about graphics are found in your DOS 5.0 Manual.

DOS graphics uses a dither pattern to represent different colors on the

screen. Some colors do not translate well to the high contrast output of

a printer. You may temporarily wish to use the monochrome setting in the

initialization file for the best quality screen dumps on a black and

white printer.

XYPLOT is an analytic tool, and while it is not designed to produce

printed graphs itself, the screen images will serve for quick

hardcopies. For "publication quality" printed output, you may import

the text files created by XYPLOT into other programs capable of

producing high quality hardcopies. You may also export XYPLOT

workspace data to the popular Lotus 1-2-3 spreadsheet format,

supported by many presentation graphics applications.

Chapter 3  The Basics

This chapter describes some of the elementary operations you can perform

with XYPLOT. Advanced topics are covered in the subsequent chapters.

3.1  Getting Started

XYPLOT is started by typing one of these commands and pressing Enter:

xyplot

to start the program and display a directory of files, or

xyplot filename

to start the program and plot filename

When you include a filename on the command line, XYPLOT will read the

file, display its header, and then graph the data in the file. This is a

handy way to start a quick analysis of one data file. XYPLOT looks for

files with extensions XSP and DAT in the current directory. For example,

when you type

xyplot parab

the program will search for the file PARAB.XSP in the current directory.

If it does not find a file by that name, it will look for PARAB.DAT.

Failing that, it will display a directory of files and let you decide

what it was that you meant.

3.1.1  Selecting a File

As mentioned earlier, files are used to pass data into and out of

XYPLOT. Along the top of the screen are reminders that there are three

keys for special functions. Press

F2  to change the current drive or directory.

F3  to view the contents of a text file.

Esc to exit from this screen.

If no data files are loaded, you will be asked if you want to quit

XYPLOT. If there are data loaded, this key will make the plot display

reappear.

At the bottom of the screen there is a prompt for a file name:

Select the file >>

Type the name of the file you want to work with and press Enter.

If the computer has a mouse, you may pick the file by pointing at its

name, and clicking the left mouse button. If the file list is too long

for the screen, point at PgUp or PgDn on the display and click the left

mouse button to see other entries.

Directories are distinguished from files by their color on the display,

and by square brackets around their name. Point at a directory and click

with the left button to view its contents. Among the directories there

will be the symbol [..]. This is the branch of the directory tree to

which the current subdirectory is attached. Point and click on [..] to

move toward the top level directory. Use the F2 key to change the

default drive specification.

You may also simply press Enter at the prompt to create a Template

instead of loading data from a file. Templates are useful for

generating simple functions --- they are described in 7.1.

3.1.2  A View of the Header

Once a file has been chosen, XYPLOT will display any text information

that is stored in the file. As you will see when we look closely at the

structure of data files, XYPLOT may process about 50 lines of

documentation about the file. Since this text is written at the top of

the file, before the data, it is called a header. If the header is too

long for the display, the keys PgUp and PgDn scroll through the header.

With a mouse you may point and click at the PgUp and PgDn labels for the

same effect. Point and click at the button Continue to proceed.

A view of the header is not the same as the file view option (F3)

offered on the directory screen. If you want to see the contents of a

file, press F3 and enter the filename.

XYPLOT will proceed and display a graph of the data when you press

Enter, or point and click on the Continue button. To discard the present

file and select a new one, point and click on the Cancel button or press

Esc.

3.2  A Guide to the Plot Display

A plot of the data in the file that you have selected appears on the

Plot Display. The Plot Display also contains the following items

Plot Cursor:  A pointer movable within the plot window.

Cursor Coordinates: The (x, y) coordinates of the plot cursor.

Menu Line:    An index to commands.

Plot List:    A color coded numerical index to data.

Each of these has a special function. In this overview we will look at

how they are used in XYPLOT.

As much space as possible on the screen is allocated to the plot so that

the data always will be displayed at the highest possible resolution.

Data is plotted within the "plot window". When new data are loaded, the

limits will be adjusted automatically to show you the entire plot,

however, you may change the limits with the mouse, or through the menus.

How this is done is described in Section 3.3.

A frame, its inner edges marked with fixed tics, surrounds the plot

window. A dotted grid may be superimposed on the frame. The grid is

toggled on or off by the 'G' key. In this sense the plot display behaves

as a piece of graph paper that sets the scales on its axes automatically

to show the data that you have.

3.2.1  The Plot Cursor

The mouse will move a cursor on the graph. If there is no mouse, or if

you toggle the mouse mode off by pressing 'M', the "cursor" or "arrow"

keys move the plot cursor.

You can read the coordinates of any point on the graph, not just one of

the data points, but any place within the frame surrounding the data.

For example, you use a graph to estimate a value at some point you have

not measured, then place the cursor at that point and you can read the

(x, y) coordinates at the upper right corner of the screen. As the

cursor moves across the screen, the numbers in the upper right corner

change continually to tell you its present position.

You may notice that the form of the cursor will be different for

different states of XYPLOT.

+  appears when the mouse is active

x  appears when the mouse is deactivated

An arrow pointer appears when the mouse driven cursor points outside of

the plot window.

3.2.2  The Menu Line

With the mouse you may select one of the commands listed on the menu

line.

File    for input and output of files, operations on sets,

and for exiting the program.

Plot    for changing the characteristics of the selected plot,

or the display.

Math    for mathematical operations on selected data sets.

<>      expansion icon for changing the plot window limits.

Point to the label and click the left mouse button. A new menu will

appear, and the desired menu item is selected by pointing to it and

clicking the left mouse button again. To cancel a menu, move the cursor

away from the menu or press 'Esc'. Some of the entries in the menus are

menus themselves.

From the keyboard you may obtain one of these menus with the key

combinations

Alt+F   File Menu

Alt+P   Plot Menu

Alt+M   Math Menu

E       Expand

Use the up and down arrow keys to move to the desired menu item, then

press Enter to select it. Press Esc to cancel the menu.

3.2.3  The Plot List

When there is more than one plot, a sequence of numbers appear at the

top of the display in colors matching the plots. The "active plot" is the

one on which operations act. For example, if you rescale data, only the

active plot will be changed, or if you store data to a file, only the

active plot will be stored. The active plot is indicated by a box around

the plot number.

You may select any plot to be the active plot simply by pressing the

number key of the plot 1 through 9, You may do this with the mouse too,

by pointing to the desired number on the plot list and clicking the left

button. Although the plot list display shows only three numbers out of

the 9 that are possible, you may change which ones are shown with the

mouse by pointing and clicking on the symbols < and > to the left or

right of the plot list.

A few functions connect two sets of data. For example, you may want to

divide one plot by another, or perform one of the other operations of

plot arithmetic. To distinguish two sets of data from all those in

memory, the plot list will designate the active plot with a box and and

"operand plot" with a pair of parentheses. The list will be similar to

this example

< 2 (3) [4] >

where 4 is the active plot, 3 is the operand plot, and 2 is a plot that

will not be operated on. To mark an operand plot, point to the number

on the plot list and click the right mouse button, or use the key

combination Alt+#, where # is the plot number.

3.3  Two Simple Operations

With the help of  the mouse or the cursor keys, you can view portions of

the plot in detail by performing an expansion, and you can edit the data

in memory point by point.

3.3.1  Expansion

XYPLOT automatically sets the plot window limits from the minimum and

maximum values in all the data. You may specify new window limits

1. by defining an expansion box with the plot cursor

2. by manually entering new window limits

The first method is a quick way to get an expanded view of a region of

interest. You can inspect fine detail in whatever region interests you.

The second method sets the limits precisely. It is useful because in

XYPLOT the x limits of the plot window also serve to select data for

operations such as storing parts of a data set, calculating areas, or

making a polynomial fit. This is in analogy to selecting text for editing

in a word processing program.

Setting window limits with the plot cursor

You may zoom in on part of the plot window with the mouse or keypad.

Move the cursor to point at the lower left corner of a region you want

to see in more detail. Hold down the left mouse button and move the

mouse to define an expansion box. Release the button and the graph will

be redrawn with the new window limits. The portion of the plot window

that had been inside the box will now fill the entire plot window.

With the keypad instead of a mouse, use the cursor keys to locate the

lower left corner of the expansion box you want to define and then press

Enter. The keypad arrows now control the size of the expansion box.

Press Enter again and the portion of the plot window inside the box will

expand to fill the entire window.

Press Esc to return to a previous expansion level. Up to 4 expansion

levels may be stacked. Esc will return through them one at a time.

Setting the window limits by input

Point with the mouse arrow cursor to the expansion label <> and click

the left mouse button, or press the key E, and you will be prompted for

the new window limits with a line reading

Enter new window limits  x1,  y1,  x2,  y2 :

where (x1,  y1) is the lower left hand corner and (x2,  y2) is the upper

right hand corner of the window. You need not specify all of the new

coordinates. For example, to change only y1 and y2, you couly type

,y1, ,y2

Example

Assume the graphics window is set to (-10, 0) for the lower left hand

corner, and (10, 100) for the upper right hand corner. To change the

limits to (-20, 0) and (20, 100)

Click on the expand icon < > with the left mouse button

or press the 'E' key.

Enter -20,0,20,100.

The display will appear with the new window limits.

The expand icon appears as <*>.

To return to the previous display limits, point at <*> and

press the right mouse button, or press the Esc key.

Since you did not change the y limits in this example, you could also

enter

-20,,20

and the unspecified old limits will be used by default.

Cancelling an Expansion

Every time you ask for an expansion XYPLOT makes a record of the

previous window limits. Up to four levels of expansion are kept in

memory. To return to the previous expansion level press Esc, or click on

the expand icon using the right mouse button.

3.3.2  Editing with the Data Cursor

Unlike the plot cursor, which may be freely positioned over the entire

plot window, the "data cursor" points to one (x, y) pair in the active

plot. It may be used to read the (x, y) coordinates of one point

exactly, without the need to place the plot cursor precisely on a point.

The data cursor may also be used to select points for Insert and Delete

point editing functions.

To enter the data cursor mode click the right mouse button or press the

Spacebar while the plot cursor is visible. The data cursor 'x' moves

from wherever it was to the nearest point in the active plot. Use the

left and right cursor keys to move the cursor from point to point. The

coordinates of the current point are displayed at the top of the screen.

They will look something like this --

[Data Cursor]     i: i     x: x     y: y

The index i  identifies where this point is in the data set. It is an

integer which counts from 1 for the first point. The coordinates of

this, the ith data point are (x, y).

There are other keys that may be used in the data cursor mode too. A

complete list is

Esc     Exit data cursor mode. Spacebar also exits.

<-      Move one point left (decreasing x).

->      Move one point right (increasing x).

Home    Go to the leftmost point on the screen.

End     Go to the rightmost point on the screen.

Ins     Insert a new point into the data set.

Del     Delete the current point.

The point editing functions are selected by pressing the Ins or Del key.

These act only on the active data set, so be certain to select the data

set you want first, before entering data cursor mode. The color of

[Data Cursor] identifies the active data set if you are in doubt. It

will be the same color as the plot of that set.

Use Del to delete the point on which the data cursor resides.

Use Ins to tell XYPLOT that you want to insert a new point into the

active data set. You will be prompted to enter the values of x and y.

Any value of x and y may be entered. It is not necessary for the cursor

to be near the desired point. The new point is inserted automatically at

the appropriate index within the data set.

The data set header is updated whenever points are inserted or deleted.

The insert and delete functions are not supported for complex data.

3.4  Using XYPLOT With the Keyboard

The mouse mode is used by default if you have a mouse on your computer.

You may toggle between keyboard and mouse modes by pressing the M key.

The keyboard mode can be useful if you want to compare y's for a fixed x

in different data sets, since you may move the cursor vertically with

the arrow keys.

All of the functions may be selected with the keyboard, whether or not

the mouse mode is selected. You will find key commands handy for

avoiding layers of menus. Three important keys are F1, Esc and Spacebar.

F1  Press F1 to obtain a help screen, which shows the key

combinations equivalent to menu selections. On the help

screen a caret ^ before a character represents holding

down Ctrl while pressing the key.

Esc If the program is waiting for user input, the Esc key

aborts the currently selected function or menu. If the

plot cursor is visible, Esc may be used to return to a

previous expansion level.

Spacebar Press the Spacebar to change the mode between a data

cursor, where the cursor follows the data from point to

point, and a plot cursor, where the cursor moves freely

over the graph.

3.5  Exiting XYPLOT

Choose Exit from the File menu or press Alt+X. The Exit menu will

appear. To exit XYPLOT, choose Exit from this menu. To run other

programs or use DOS functions while XYPLOT remains in memory, choose DOS

Shell. You may return to XYPLOT from the DOS Shell by typing exit at the

DOS prompt.

If you are running XYPLOT from Windows and wish to switch to another

task, press Alt+Esc. You may return to XYPLOT by double clicking on its

icon from your Windows desktop.

Chapter 4  How to Use Files

XYPLOT offers a unique graphical environment for working with sets of

(x, y) data. The XYPLOT workspace treats each set as a single entity.

You may think in terms of operations on sets, rather than on individual

numbers. This structure allows you to use fast simple procedures to

perform powerful operations. Sets of data and their visual

representations constitute the workspace.

The workspace holds up to 16,000 (x, y) pairs in memory, partitioned

into a maximum of 10 data sets. XYPLOT may read a file on disk and place

the information in a data set, or it may create a file and save the

contents of a data set on disk. XYPLOT also reads and writes files that

contain its entire workspace. This chapter describes the program's use

of these files.

4.1  The Structure of Data Files

XYPLOT reads data from and stores data to plain text files. These are

the files that appear sensibly displayed on the screen when you type

type filename.dat

for example. To be more precise, they are known as ASCII files, which

stands for the widely adopted American Standard Code for Information

Interchange. Information saved in files of this sort may be read by

almost any computer.

Data set files contain numbers arrayed in one or more columns preceeded

by an optional header.

1.  A single column of data represents y values with x,

understood, a running index from 1 to the number of

points.

2.  A 2-column file represents (x, y) pairs. The first

column is x.

3.  With files of 3 or more columns, you specify from the

keyboard whether to treat it as a 1 or 2 column file

and which columns to be read. You may also specify

three columns, representing a complex data set -- see

sections 4.2.2 and 5.1.1 for more information.

Most mathematical operations require that the values of x are either in

ascending or descending order in the file.

If lines of text are included at the beginning of the file and enclosed

between the /* and */ symbols, XYPLOT interprets the information as a

descriptive header. The example below illustrates a data file with two

columns. Use your favorite text editor to create this or other data

files, or write them with other programs.

[Beginning of file]

/*

Test data to illustrate file format.

Parabola

*/

-3.0   9.0

-2.0   4.0

-1.0   1.0

0.0   0.0

1.0   1.0

2.0   4.0

3.0   9.0

[End of file]

In the example the numbers are in floating point format, and the column

delimiter is a space. Information on selecting formats for file output

is found in section 4.2.4.

View the demonstration data files included on the distribution disk for

other examples. If you are a programmer, it is simple to create and read

XYPLOT files with your application. Simple programs are given in

Appendix D.

4.2  Operations on Files

All operations on disk files are found in the File menu, which is

selected by clicking the left mouse button on File, or by pressing

Alt+F. When the menu appears on the screen you will see the following

items.

New     Clear the workspace and start over.

Load    Load a new data set file into the database.

Set     Menu for data set operations.

Save    Save menu.

Exit    Exit or shell from XYPLOT.

4.2.1   New

New from the File menu clears the current workspace and prepares XYPLOT

to start over with a new file. If you have not saved the current

workspace, you will be asked to confirm this selection before it takes

effect. Once the workspace has been erased, you will be asked to Load a

file.

4.2.2   Load

Load from the File menu allows you to read the contents of a file into a

new data set in the database. It displays a list of files in the current

directory. Place the mouse cursor on the file you want and click the

left mouse button to load it. You may also type the name of the file and

press Enter.

Many-column Files

Data from ASCII files with more than 2 columns may be loaded one data

set at a time. If you select a file with more than 2 columns, XYPLOT

chirps and displays the following message:

FILE CONTAINS n COLUMNS -- Please specify columns to load:

You may enter from 1 to 3 column numbers separated by commas. XYPLOT

interprets the data according to its convention for files with 1, 2, or

3 columns.

For example, suppose the file test.dat contains 6 columns of data. When

you load this file, XYPLOT will issue the message shown above with n = 6.

If you want to load column 2 as x and column 4 as y, simly enter

2, 4

If you specify one number, that column will be loaded as y and x will be

a running index. Specify 3 columns to load complex data. The first

column will be x and the next two columns will be the real and imaginary

parts of y.

Viewing a File

You may view the contents of any text file listed in the current

directory by placing the mouse cursor on the desired filename and

clicking the right mouse button, or press F3 and enter the filename at

the prompt.

If you select a file that does not contain text, for instance a

workspace (filename.xsp) or a program (filename.exe), the effect on the

screen will be unpredictable.

4.2.3   Set

Set in the File menu will provide a new menu for modifying data in the

workspace. The next chapter, Chapter 5, describes how to use these

commands.

4.2.4   Save

To save the data for the active plot in a file, click Save from the File

menu. A new menu will appear. It will look like this.

Data Set    Save the active plot to a data file.

Workspc     Save everything in a workspace file.

Lotus WK1   Export data sets to a Lotus worksheet file.

Options     Specify output format of data files.

To save data for the active plot, click Data Set from the Save menu. You

will be asked

Output Filename >>

If no extension is specified in your response, the default extension

.DAT is used.

The Save menu may also be accessed by pressing Alt+V.

Data within a specified domain may be saved by expanding the graph

before you select Save. In this case you will be asked whether you want

to save the entire data set, or just the portion falling within the plot

domain:

OK to save only displayed data?

Respond with

Yes     Save only data in plot domain.

No      Save all the data.

Cancel  Forget this request.

Click on the desired choice, or use the arrow keys and press Enter.

Remember that you may always press Esc to cancel an action.

The format of the data files created by XYPLOT may be important to later

applications. If you want files in a particular format, select Options

from the Save menu before saving the data set.

Output Format Options

Several output format options are available in the Save Options menu,

which appear when you click on Options or press Alt+O. The options will

appear in a numbered list. Press the number key for each item to step

through the various options that are available for that item.

1.  Write header

The choices are yes - include the header in the file,

or no - omit it. The default is yes.

2.  Number format

The choices are exponential, floating point, or integer.

The default is exponential.

3.  Delimiter

The choices are a space or a comma between columns in the

data file. The default is space.

Exponential format

This format produces numbers with a sign and seven digits for the

mantissa, followed by an E, a sign, and two digits for the exponent.

Exponential format is useful for writing very large or very small

numbers. For example, the wavelength of a helium-neon laser in units of

meters  is 0.0000006328. This number can be written in exponential

format as

6.328E-07

Exponential format should be used whenever it is important to retain the

maximum number of significant digits in the number. XYPLOT internally

stores numbers with a precision that provides for 7 significant digits.

Floating point format

Floating point format stores numbers as you would write them with a

decimal point.

Integer format

Only whole numbers are written in integer format. Stored values are

rounded to the nearest integer, not truncated. The value 3.6 would be

stored as 4.

Column delimiter

There are two possible delimiters to separate the columns of data:  a

space, or a comma. In input files there may be additional spaces

following this delimiter. By default,  the delimiter for output data

files is a single space, but this may be changed to a comma by pressing

3 in the Save Options menu.

Workspace Files

The entire XYPLOT workspace may be saved to a file. This groups several

related data sets and their plots, and makes it easy to restore your

work. Workspace files are in binary format. Files written this way are

more efficient than ASCII files for storage of large data sets, and

reloading a workspace file is much faster than loading data files.

XYPLOT names its workspace files filename.xsp. You may load a workspace

file from the command line by typing

xyplot filename

XYPLOT will look for and load  filename.xsp in the current directory.

You must always select New before loading a workspace file from the File

menu.

Workspace files are used primarily to save and restore work in progress.

Select Workspace from the Save menu or press F9 to save the entire

XYPLOT workspace. Workspace files are independent of the hardware on

which they were created. For example, although a workspace file may have

been created on an 80486 PC with a VGA graphics display and a mouse, the

same file may be used on a laptop with a CGA display and no mouse.

Workspace files cannot be edited with a text editor, and they cannot be

directly imported into other programs.

Lotus WK1 Files

Workspace data may be exported to the popular Lotus 1-2-3 spreadsheet

format (WK1 format) by selecting "Lotus WK1" from the Save menu. This

function will write the x and y values of each plotted data set into

columns in the worksheet file. Many publication-quality graphics

packages have the ability to import Lotus WK1 files.

Chapter 5  How to Select and Modify Data

Several non-mathematical operations on data sets are selected by

pressing Alt+S or by clicking on Set in the File menu. The Set menu

allows you to edit all or part of whole data sets. Single entries in a

data set may be edited in the data cursor mode described in section

3.3.2.

5.1  The XYPLOT Database

The XYPLOT database holds up to 16,000 (x, y) pairs in memory,

partitioned into a maximum of 10 data sets. Data sets may be loaded into

the database from files (see Section 4.2.2) or created by operations

from within XYPLOT. Data sets may be pruned, concatenated, duplicated,

or deleted from the database.

5.1.1   Data Sets

A data set consists of (x, y) pairs and additional descriptive text

information in a header.

Data sets may be either real or complex. In complex data sets y is a

complex number with a real and an imaginary part. Most operations in

XYPLOT apply to both real and complex data sets but the exceptions are

noted.

5.1.2   Selecting Data

Data sets are selected for mathematical and other operations by

selecting their corresponding plots from the plot list (section 3.2.3).

This means that a data set in XYPLOT's database must appear as a plot

for any operation to be performed upon it. The active plot represents

the data set upon which single set operations are performed. The active

plot is identified by a box around its number in the plot list, e.g.

1  (2)  [3]

Two set operations are specified by selecting the active plot and the

operand plot in the plot list. The operand plot is identified by

parentheses surrounding its plot number in the plot list. In the example

above, plot 3 is the active plot, and plot 2 is the operand plot.

If the desired data set does not appear as a plot, you may use the

"Include" function from the Plot menu to make a plot of the data set.

Include may also be used to see a list of data sets stored in the

database. This function is described in the next chapter.

Many operations can also be performed on a specific portion of the

selected data set. The x limits of the plot window may be set to specify

that only data falling within this domain will be operated upon. Section

3.3.1 described how to set the plot window limits.

5.2  Viewing Headers

The header information of the active data set may be viewed by selecting

Header from the Set menu.  Other information such as the filename from

which the data set originated, and number of points in the set are also

displayed.  You may scroll through the header information of other plots

in the display by using the up and down arrow keys to move from plot to

plot.  Use the PgDn and PgUp keys to view a long header. The Esc key

returns you to the plot display.

5.3  Deleting a Data Set

To delete a data set from XYPLOT's database, first select its plot to be

the active plot and press Ctrl+X or use Delete from the Set menu. This

command removes the entire active data set from the database, and any

plots that are associated with it. The Delete data set operation is not

the same as the Drop plot operation, which only removes a plot of a data

set.

A data set which is not plotted at all cannot be selected from the plot

list.  In order to delete it from memory, you must make a plot of it

using the Include function from the Plot menu.

5.4  Pruning Data

To delete part of a data set, make this set the active data set, and set

the x limits of the plot window to specify the interval over which you

want to delete. Press Ctrl+Y or click on Prune from the Set menu to

removes the points within the current plot domain from the active data

set.

5.5  Zeroing Data

You may sometimes wish to set y = 0 for some points in a data set. To

accomplish this, select this data set, and set the x limits of the plot

window to contain only the points you want to set to zero. Press Ctrl+Z

to set the y values of these points to 0. This function is not available

on a menu.

5.6  Joining Two Data Sets

The Join function in the Set menu creates a new data set that is the

union of the operand data set and the active data set. Recall that the

active set is indicated by a box and the operand set by parentheses

within the plot list. A new plot appears with the combined points of the

two sets, sorted automatically in ascending order of x values. Press

Ctrl+J to join two data sets without using menus.

5.7  Duplicating a Data Set

Duplicate from the Set menu creates an exact copy in memory of the data

set represented by the active plot. This will be useful if you want to

keep a copy of the original data to compare with the results of

functions such as Rescale or Smooth. Press Ctrl+D to duplicate a data

set without using menus.

Chapter 6  How to Control What You See

Plot operations are found in the Plot menu, which can be selected by

clicking on Plot, or by pressing Alt+P. The menu will look similar to

this

Include         Make plot of one of the data sets.

Drop            Remove a plot.

Grid            Toggle whether a dotted grid appears.

Symbol          Change the current plot symbol.

Color           Change the current plot color.

Log/Linear      Toggle linear and log scale on y-axis.

See Re(y)/Im(y) Toggle whether real or imaginary part appears.

Keep in mind that a plot and its associated data set are distinct

entities. A plot is always associated with a data set, but a data set

does not necessarily have to appear as a plot. A single data set may

also appear as multiple plots. A  maximum of 9 plots may be displayed at

one time.

6.1  Including a Plot

When you choose Include from the Plot menu, you will see a list of all

data sets in the workspace. Select a data set to include a plot of it on

the display. The same data set may be plotted several times without

having to load the file more than once. This is useful when, for

example, you wish to plot data with a combination of plotting symbols.

It is also useful for simultaneously viewing both the real and imaginary

parts of a complex data set.

6.2  Dropping a Plot

Select Drop from the Plot menu or press D to remove a plot from the plot

window. The active plot is removed from the display, but its data set

remains in the database so that a plot of the data may be included

later. A data set can only be deleted from the  database by explicity

using the Delete function from the Set menu.

6.3  Plotting Options

The Grid option in the Plot menu toggles on or off the display of

cartesian grid lines at every tic mark on the X and Y axes. You may use

Grid with either the linear display or the logarithmic display (see

below).

The Symbol menu is selected from the Plot menu. Choose one of the symbol

selections for the active plot. Symbol choices are:

Line

Point

Line+Point

Stick

Broken

Big Point

Stick may be used for a histogram display. Big Point is useful when

there are only a handful of data points.

The color of the active plot may be selected by choosing Color

from the Plot menu or by pressing 'C'. A palette of colors will be

displayed at the top of the screen.

The Linear/Log option on the Plot menu toggles the display between a

vertical scale which is linear and one which is logarithmic on base e.

The minimum y value in all the data sets must be greater than zero to

use logarithmic display mode.

6.4  Plots with Complex Data Sets

If the active plot is associated with a data set that has complex

numbers for y, you may toggle between viewing Re(y) versus x, and Im(y)

versus x. The Plot menu contains the additional option See Im(y) or See

Re(y) when the active plot is of a complex data set. Select this item to

toggle between the real and imaginary parts of y.

To display both real and imaginary parts simultaneously, use the Include

function to make another plot of the same data set. Then click on See

Im(y)/See Re(y) to view the imaginary part.

Chapter 7  How to Perform Mathematical Operations

Mathematical operations are found in the Math menu, which is selected

by clicking on Math, or by pressing Alt+M. The menu will contain the

following

Template        Create a data set with y=x.

Rescale         Modify x or y.

Arithmetic      Multiply, divide, add, or subtract data sets.

Fit             Least squares polynomial fitting.

Derivative      Numerical differentiation.

Area            Numerical integration.

Sort            Ascending sort by x.

Smooth          Three point smoothing.

FFT             Fast Fourier Transform.

Complex         Magnitude, phase, complex conjugate, conversion.

With the exception of Template, these operations act on one or two sets

of data already in memory. Section 3.2.3 describes how to identify and

select the active and operand plots.

Some operations -- derivative, area, polynomial fitting, and FFT -- act

only on data within the plot domain, i.e. the x limits of the plot

window. To review how to change these limits, refer to Section 3.3.1.

This feature enables you to select any continuous portion of a data set

as the operand data. All other functions -- rescale, smooth, plot

arithmetic, complex math -- operate on the entire data set.

This chapter introduces these operations and gives a few examples.

7.1  Template

The Template command from the Math menu creates a new set of real data

with y = x for every point. When you select this command, you will be

asked to specify the starting X, ending X, and the increment DX between

points by the prompt

Enter X1, X2, and DX:

To this you should respond with three numbers separated by commas.

XYPLOT will make a set with as many points as necessary to meet your

request. Suppose that a plot appears on the display from 0 to 1000. You

may decline to enter one or more numbers and type, for example

Enter X1, X2, and DX: 500,,

in response. XYPLOT will use defaults whenever you do not specify the

value. The default limits are the lower and upper limits of the current

plot window. The default increment is a step of 1/100th of the

difference between the current limits. So in the example, Template will

make a data set starting at x = 500 and continuing to x = 1000 (the

default upper limit). There will be 100 points in the new data set.

Template is usually used to create data that you modify later with the

Rescale function described below. You can make all sorts of useful

functions this way. If you want to make a template that is complex,

create a real template using the Template function. Then select the

Complex menu and click on the item Cmpl(y). This will create a second

template with complex numbers for y. There is more information about

this later in the chapter, in the discussion of complex math.

You may choose to create a Template instead of loading a file when

you first start XYPLOT. At the prompt

Select the file >>

you may simply press Enter instead of selecting a file to load. You

will be prompted to create a template. This is handy if you just

want to use XYPLOT to generate and display functions.

7.2  Rescaling Data

One of the simplest, yet most powerful, features of XYPLOT is the

Rescale operation. It allows you to modify at once all the x or y values

of a data set. With Rescale you may apply a function to x or y, or

perform arithmetic operations between x or y and a constant. The

functions that may be used in rescaling are shown below.

trigonometric   sin(x)     cos(x)     tan(x)     atn(x)

angular         rad->deg   deg->rad

base e          exp(x)     log(x)

base 10         10^x       log10(x)

powers          x^p   or   p^x

arithmetic      x + c,  x - c,  c - x,  cx,  x/c,  c/x

polynomial      a + bx + cx^2 + dx^3 + ...

Rescale functions operate on x or y. The trigonometric functions assume

that their argument is in radians.

At the input prompt,

Rescale >>

you may enter expressions such as cos(y), log(y), exp(x), or d>r(x) in

either upper or lower case. The parentheses are optional. Some

expressions and functions to note are: ^ to represent raising to a

power, L10 for log10, and d>r or r>d for conversion to radians or

degrees. The functions always act on all x or y entries in the data set,

and replace each entry with the result of the operation. For example,

the Rescale operation

cos(y)

produces the substitution

y -> cos(y)

for every y in the data set.

Here are some examples to illustrate the rescale operations that are

possible.

Operation               Expression

(to create this...      type this)

x+5                     x+5

y/2.5                   y/2.5

3.0-y                   3.0-y

y^2                     y^2

1+5*x+2.4*x^2           pol x,1,5,2.4

10^x                    10^x

1/y                     1/y

y*3.14                  y*3.14

log10(x)                l10(x)

ln(y)                   log(y)

e^x                     exp(x)

sin(y)                  sin(y)

i*y                     y*(0, 1)

You may use x or y as the argument of a function such as cos. The

parentheses in sin(x), for example, are optional. The data stored in

memory are actually modified by rescale. That is why the plot will

change with each operation. A note is added to beginning of the data

set's header automatically to record the history of the modifications.

Arithmetic with a constant allows stretching, translation, reflection,

or inversion of the x or y values of a data set. This may be used to

transform measurements from one system of units to another, or to apply

a linear calibration to measurements. Polynomial rescale may be used to

apply a non-linear calibration to the x or y values.

Rescale with Complex Data For complex data sets, where y has a real and

an imaginary part, Rescale permits complex number constants and still

allows most of the function operations. Complex numbers are entered by

giving their real and imaginary parts in the form (a, b) for a + b*i

where i = sqrt(-1). Three functions -- atn, log, and log10 -- are not

permitted to act on a complex data set.

7.3  Generating Simple Functions

The combination of Template and Rescale can be used to generate simple

functions from within XYPLOT. It is best to illustrate this with an

example.

Example

Create a plot of  sin(x) versus x  from x = 0 to x = 10pi.

Follow these steps

1. Click on the Math menu and select Template. Enter X1 = 0, X2 = 1800,

and DX = 1 to make a straight line.

2. Press R or click on Rescale from the Math menu. Enter the command

d>r(x) to convert the x scale to radians.

3. Use Rescale again with d>r(y) to convert the y scale to radians.

4. Select Rescale and enter the command sin(y) to create a sine curve

from the straight line, which is the active plot.

Use arithmetic between data sets, described in the next section, to

generate even more complex functions. Some examples are given in

Chapter 8.

7.4  Plot Arithmetic

The Rescale command allows you to manipulate a single set of (x, y)

pairs by modifying either x or y in some way. At times, you may want to

combine two or more sets of data. We just saw how this allows us to

generate many useful functions from a template.

A more practical example comes from a typical experimental measurement.

Two sets of data are recorded. One includes the signal plus the

background, and the other includes only the background, both as a

function of some external stimulus. To use XYPLOT to extract just the

signal, you create plots of both measurements and select Subtract from

the Arithmetic menu. XYPLOT instantly calculates and plots a third set

of data that shows their difference.

Two data sets may be added, subtracted, multiplied, or divided to yield

a third data set. The four arithmetic functions appear in the Arithmetic

menu, which can be selected directly by pressing Alt+A. The functions

may also be executed by pressing the keys +, -, *, or /.

Two data sets must be specified. The active plot represents the first

data set, and the operand plot represents the second data set in an

arithmetic operation. For example, to divide plot 3 by plot 4, the plot

list should look like this --

< 2 [3] (4) >

The active plot must be plot 3 and the operand plot must be plot 4. If

it is not the way you want it to be, then point at the plot number 3 and

click with the left mouse button (or press 3) to make plot 3 active.

Point at plot number 4 and click with the right mouse button (or press

Alt+4) to make it the operand plot. When the desired plots are selected,

press / to divide one by the other, create a new data set with the

result, and plot the result.

If the abscissas (values of x) in both sets are not identical, then

XYPLOT makes two adjustments. First, it calculates only over the region

where the values of x in the two sets overlap. Then, if those overlapped

values of x are not identical, XYPLOT will use x and y from the active

data set. It will find y's from the operand data set by linear

interpolation at the x values of the active set. The new data set

produced by the arithmetic operations will always be computed at the

abscissas of the active data set.

Arithmetic works on complex data sets in the same way.

* Arithmetic between a real data set and a complex data set

will result in a new complex data set.

* Arithmetic between two complex data sets will produce

another complex data set.

7.5  Polynomial Fitting

The Fit menu contains the single item Polynom for performing

least-squares polynomial fits of up to 9th order on a data set. Only

data within the current plot domain will be used in the fit. When you

select Polynom, or press P, you will be asked to enter the order of the

polynomial. Respond to the prompt

Enter the order of the polynomial:

with

0  for a constant       y = a

1  for a line           y = a + bx

2  for a quadratic      y = a + bx + cx^2

:

9  for y = a+bx+cx^2+dx^3+ex^4+fx^5+gx^6+hx^7+ix^8+jx^9

Next, you will be asked to input three numbers to specify the interval

and step size for computing the fitted polynomial:

Enter X1, X2, and DX for computing fitted data:

Although the fitting is done only over the plot domain, you may

extrapolate the fit over any domain you desire. Enter the starting X,

ending X, and the increment DX separated by commas and press Enter. You

do not have to enter all three numbers. For any value you do not

specify, XYPLOT will use a default based on the limits of the current

plot window. If you simply press Enter at this prompt, XYPLOT will

calculate the best fit values of y for the same x's that are in the data

being fitted.

A new plot of the fitted polynomial will be overlaid as the active plot.

The plot of the data will be there too, so you may instantly see how the

fit and the data compare to one another. You may Subtract the two plots

to calculate and plot the fitting residuals, the difference between the

fit and the original data.

The data set for the fit will have a header that states the source of

the original data, the domain used for the fitting, the order of the

polynomial, the fitted coefficients (a, b, c, ...) and the value of the

reduced chi-square. The reduced chi-square is a measure of the variance

of the fit -- it is the root mean square of the deviations from the

fitted curve to the actual data. The reduced chi-square may be used to

assess the goodness of fit, or to obtain an estimate of the uncertainty

of the data, but not both.

More information on least-squares fitting is given in references 1 and

2. Also, see Chapter 8 on how to estimate noise in data by using

polynomial fitting.

Example: Fitting with a polynomial

Assume that the domain of your data is [-50, 120].  You want to fit the

data between x = -15 and x = 36 with a fourth order polynomial.  The

spacing between the data points is large, and you want to compute the

fitted polynomial at a finer step size of DX = 0.5.

1. Press E or point with the mouse at the < > icon and click the left

button. This allows you to expand the plot between well-defined

points. The program will ask for the four corners of the expansion

region:

Enter the new window limits x1,  y1, x2, y2:

Type in -15,,36 and press Enter. This instructs XYPLOT to expand the

plot in x but retain the present limits on y.

2. Select Polynom from the Fit menu, or press P.

3. After the prompt

Enter the order of the polynomial to be fitted:

type the polynomial order 4 and press Enter.

4. After the prompt

Enter X1, X2, and DX for computing fitted data:

type

,,0.5

and press Enter to specify the step size but keep the window limits

as the domain of the calculated fitted curve.

5. The least-squares fit is performed. The fitted curve is calculated at

x values of -15.0, -14.5, ..., 35.5, 36.0 and plotted.

Example: Fitting with an Exponential Curve

The log y  function may be used in conjuction with a polynomial fit of

order 1 to obtain an approximate fit to an exponentially increasing or

decreasing curve,

y = ae^(bx)

The 0th order coefficient is the fitted value of a, and the 1st order

coefficient is b. You should note, however, that this procedure is not

equivalent to an exponential  "least-squares" fit, and the fitted

coefficients are approximations of the true least-squares coefficients.

7.6  Differentiation

Click on Derivative from the Math menu (or press V) to compute the

numerical derivative of the active data set over the current plot

domain. The derivative is a new data set whose plot is overlaid on the

display in a new color.

Differentiation of the data is accomplished by averaging the forward and

backward slopes at each point. This method will approximate the actual

derivative of the data very closely when the abscissas are uniformly

spaced, and the data is a smooth curve. However, distortion will occur

at the endpoints.

7.7  Integration

Click on Area from the Math menu (or press A) to calculate the numerical

integral of the active plot for points falling in the plot window

domain. The numerical integral is the area between the curve and the

axis y = 0. The computed area, and the interval over which it was

computed, are displayed at the top of the screen.

If the abscissas are uniformly spaced, Area uses Simpson's rule to

compute the integral. For non-uniformly spaced abscissas, Area

automatically uses parabolic interpolation to compute the integral.

7.8  Sorting

The Sort function performs an ascending sort by x on the active

data set.

7.9  Smoothing

Choose Smooth from the Math menu to perform a three-point convolution on

the active data set. Smooth reduces fluctuations in the data, giving it

a cleaner appearance. This is accomplished by replacing the y value at a

point by a weighted average with the two adjacent y values, and

repeating the process at the next point until every y has been replaced.

The value of y(i) is replaced by

0.25*y(i-1) + 0.5*y(i) + 0.25*y(i+1)

Smoothing should only be performed on data having uniformly spaced

abscissas.

Although smoothing gives the appearance of reducing noise in the data,

it is not the best method of noise removal. It is, however, useful as a

visual aid because it produces a smooth curve through noisy data. When

the noise frequencies of the data are know, digital filtering in the

frequency domain is the preferred method of removing noise. The Fast

Fourier Transform, described in the following section, allows you to do

this. More information on smoothing may be found in references 1-3.

7.10  Fast Fourier Transform

The Fast Fourier Transform function may be used to transform data from

the time domain to the frequency domain and back. The FFT menu may be

selected through the Math menu or by pressing Alt+T. FFT Forward

transforms from the time domain to frequency domain, and FFT Inverse

performs the inverse transformation from frequency to time. You may find

the formal definition of the Fourier transform in reference 2.

FFT operates on the active data set for data falling within the current

plot domain. It requires that the points (x, y) are uniformly spaced in

time (x). For example, y could be a voltage measured every millisecond,

and x would be the number of milliseconds elapsed. The Fast Fourier

Transform algorithm must use 2^N points (..., 64, 128, 256, 512, 1024,

...) so XYPLOT automatically fills in the data to be transformed by

adding more points with y = 0 until there are 2^N points available. This

procedure produces an accurate transform of data with fewer than the

necessary number of points.

FFT produces a complex data set, whether the transform is forward or

inverse. The plot of the active data is removed from the plot display,

but its data set stays in memory. The transform is added to the database

and its plot appears on the screen instead. You may toggle between

viewing the real and imaginary parts of the transform by clicking with

the mouse on See from the Plot menu. If you want to see both the real

and imaginary parts on the display, select Include from the Plot menu

and make a second plot of the Fourier transform. Then, point and click

on See to toggle the second plot to Im(y).

Complex data set operations, described in section 7.12, may be used to

compute magnitude and phase of the transformed data. For example, you

may compute the magnitude, and then take its square using Rescale to

obtain the power spectrum.

Further information on Fourier transforms may be found in Ref. 2.

7.11  Digital Filtering in the Frequency Domain

Noise may be filtered out of data if the noise frequencies are known or

can be identified. The process works like this:

1. Fourier transform the data from time to frequency with FFT Forward.

2. Remove the noise by setting amplitudes to zero at frequencies known

to be due to noise. If you remove low frequencies, this is high-pass

filtering. If you remove high frequencies, this is low-pass

filtering. If you remove all but one frequency band, this is

band-pass filtering. If you remove one narrow frequency band, this is

notch filtering. With XYPLOT you may apply these and any other filter

functions using the plot arithmetic or Zero Data (Ctrl+Z) functions.

3. Fourier transform back to time from frequency with FFT Inverse.

To apply a filter function calculated before hand, use plot arithmetic

to Multiply the frequency domain data by the filter function. The active

plot should be the transformed data, and the operand plot should be the

filter function. The filter function should be defined for both negative

and positive frequencies, and symmetric if the original data set was

real. After computing the product, you may use the inverse transform to

obtain the filtered data in the original time domain. The inverse

transform also produces a complex data set and you should take its

magnitude if the original data was real.

The filtered data will have an offset in its abscissas which may be

corrected with the Rescale function -- make note of the minimum x value

for your original data.

7.12  Complex Operations

To perform a variety of special operations on complex data, click on

Complex from the Math menu or press Alt+C. If the active data set is

complex, you will see a menu with the following items

Mag             Create a real data set with (x, |y|).

Phase           Create a real data set with (x, q).

Conjugate       Create a new complex data set with (x, y*).

Real(y)         Create a real data set with (x, Re(y)).

Imag(y)         Create a real data set with (x, Im(y)).

If the active data set is real, the menu will contain the following items

Mag             Create a real data set with (x, |y|).

Cmpl(y)         Create a complex data set with (x, y).

Mag

Mag computes the magnitude of y for a real or complex set:

|y| = sqrt (Re(y)^2 + Im(y)^2)

A new, real, data set and plot are created by this function.

Cmpl(y)

Choose Cmpl(y) to convert a real data set into a complex one. Each y in

the real data set becomes the real part of the complex number that is y

in the new data set, which is to say that

y = y + i*0

for each value created by this operation.

The original data set and the result of the operation Cmpl(y) are

equivalent mathematically, but operations such as rescaling with a

complex constant may only be performed on a complex set.

Phase

Phase computes the phase angle in radians of the complex y values in a

complex data set. The phase q is computed from

q = arctan(Im(y) / Re(y))

The magnitude and phase provide an alternate way of specifying a complex

number. If  r = Mag(y)  and q = Phase(y), then

y = r*e^(iq)

A new, real data set and plot are created by Phase.

Conj

Use Conj to take the complex conjugate of a complex data set. This

operation changes the sign of the imaginary part of y. It will revise

the plot, and the data, but it will not create a new data set.

Real(y)  and  Imag(y)

These functions convert a complex data set into a real data set. Real(y)

discards the imaginary part of y, and Imag(y) discards the real part of

y from the data set of the active plot. This modifies the data and

revises the plot but does not create a new data set. The original

complex data set will no longer be in the database, so copy it with

Duplicate if you want to keep it in memory.

Chapter 8  Examples

This chapter contains additional examples of things you can do with

XYPLOT. Several applications for analyzing measured data have been

mentioned in the preceding chapters. XYPLOT can also be useful in the

classroom to illustrate mathematical ideas. Applications for the

classroom are presented below, as well as more examples of practical

calculations with data.

8.1  More on Generating Functions

8.1.1  The Gaussian Distribution

The Gaussian or Normal distribution is often used to describe random

processes such as noise in a measurement,  or distribution of test

scores. Use the following sequence of steps to generate a Gaussian

distribution with mean = 0, and a standard deviation of 1:

Template:	-10, 10, 0.1	Create data for the function y = x

from x = -10  to  x = 10 with a step

size of  0.1.

Rescale>>       y^2             Transform the data to make y = x^2.

Rescale>>       -0.5*y          Make  y = -x^2 / 2.

Rescale>>       exp(y)          Make y = exp(-x^2 / 2).

The above sequence generates a Gaussian distribution; however it must be

normalized so that the area under the curve is unity. The following

steps may be used to normalize the curve:

Area                            Find the area under the curve. Note

this value for use in the next step.

Rescale>>       y/area          Normalize the curve so that its area

is 1.

Now that the curve is properly normalized, you may use the Area function

to compute the probability that a measurement will fall between the

limits x1, and x2.

8.1.2  Single Slit Diffraction Pattern

Follow the steps below to create a function that is commonly seen in the

diffraction of a wave through an aperture.

Template:	1, 1800, 1	Create y = x.

Rescale >>	d>r(x)		Convert x to radians.

Rescale >>	d>r(y)		Convert y to radians.

Duplicate			Make a duplicate copy of the data set.

Rescale >>	sin(y)		Transform the second line into a sine

wave.

Divide                          Divide the curve y = sin(x) by the

curve y = x. We chose the lower limit

of the template to avoid dividing by

zero.

Rescale >>	y^2		Make the function

y = (sin(x)/x)^2

You may drop the two templates used to create the function shown in

Figure 8.2. This is the famous sinc function, the Fraunhofer diffraction

pattern of a slit.

If there is a function you use often, then store that data set on disk

in its own file. Click on File, Save, and Data. Enter a name, and the

data will be on disk ready to use the next time you need that function.

Save the curve generated in 8.1.1 in a file named gauss.dat, for

example. It is easy to recall its contents that way. If you forget the

file's contents, view the header information at the top of the file --

this will tell you what operations were used to create it.

8.2 Graphical Solution of Equations

8.2.1 Solve the equation cos(x) = x

The value of x at which the function y = x and the function y = cos(x)

intersect is to be found. Template and Rescale may be used in the

following manner to find the solution:

Template:  -3.2, 3.2, 0.05	Make the function y = x over the interval

[-3.2, 3.2] with a step size of  0.05.

Symbol Line                     Change from point to line plot.

Duplicate			Make a duplicate copy of the curve y=x.

Rescale >> cos(y)		Transform the second curve to create

y = cos(x).

The two functions, y = x, and y = cos(x) are plotted on the screen. Use

the plot cursor to read the x coordinate at the intersection point. This

x value is the solution to the equation. Note that we choose the

interval for the templates [-3.2, 3.2] based on where the solutions are

likely to be.

8.2.2 Find the real roots of  y = x^5 + x + 1

We want to determine the values of  x  for which  x^5 + x + 1 = 0.

Follow these steps.

Template:	-2, 2, 0.01	Make a straight line through the region

where we expect to find the root.

Duplicate			Make a duplicate copy of the data.

Rescale >>      y^5             Create the curve  y = x^5.

Add                             Add the two curves to create

y = x^5 + x.

Rescale >>      y+1             Transform the last curve to create

y = x^5 + x + 1.

You have created a plot of the function  y = x5 + x + 1. The roots of

this equation are the values of x where the curve passes through y = 0.

Use the plot cursor and expansions to find the root by inspecting the

graph.

8.3  Illustration of the Rayleigh Criterion

(example courtesy of Dr. Stephen Shafroth, University of  North

Carolina, Chapel Hill)

In optics, the Rayleigh criterion specifies the minimum separation

between the maxima of two diffraction spots in order for the two spots

to be resolvable. A Gaussian function approximates the diffraction spot

profile fairly well, so we can use our generated function from section

8.1.1 to approximate the intensity pattern of a point source in an

optical system. Using two such patterns, we can determine the minimum

separation required for their sum to be resolvable into two spots. Here

is how to proceed:

First generate the function given in example 1. Next, make a duplicate

copy of the Gaussian curve:

Duplicate

The two plots will overlap completely. Use Rescale to shift the second

plot by a small amount, e.g.

Rescale >>  x + 1.0

The two plots are now offset in the horizontal direction. Compute their

sum:

Add

Look at the plot of the sum of the two curves and see if a distinct

minimum appears in its center; can two distinct peaks be resolved? If

not, delete the sum:

Delete

Use Rescale again to shift the second plot by an additional offset, and

add the two curves once more. Repeat the above procedure until the sum

of the two curves can be clearly seen to have two peaks -- you can

expand about the region of the peak to magnify the plot. Use the plot

cursor, or keep track of how much the second Gaussian had been shifted,

to measure the separation between the two curves. This is the minimum

separation required to resolve the two sources. Figure 8.3 illustrates

the sum of two diff raction patterns showing a minimum in the intensity

profile.

8.4  Estimating the Noise Level of Data

Noise level is defined as the root mean square (rms) of deviations in

the data from an average value. Polynomial fitting of order 0 may be

used to compute both the average value and the noise level.

First, expand the plot over a region of the data that is flat (i.e. no

overall slope). Choose polynomial fitting and specify the order to be 0

(Press Enter when prompted for the interval and step size of the fitted

function). You will see a plot of the horizontal fitted line through the

data. View the header of the fit. Note the 0 order coefficient and the

value of the reduced chi-square.

The 0 order coefficient is the average value of the data over the plot

domain. The square root of the reduced chi-square is the rms deviation

of the data from the average value, i.e. the noise level.

8.5  Interpolating Data at Uniformly Spaced Abscissas

If you have a set of data whose abscissas are not evenly spaced, you can

create a new data set with uniformly spaced abscissas using linear

interpolation. Here's how:

1. Use Template to create a data set over the same interval as the

non-uniformly spaced data. Specify the template's step size for the

desired uniform spacing between points.

2. With the template plot selected as the active plot, press ^Z to zero

the y values.

3. Select as the operand plot (enclosed by parentheses in the plot list)

the non-uniformly spaced data. The active plot should be the template

plot.

4. Use the plot arithmetic function Add to compute the sum of the zero

data and the non-uniformly spaced data. The new data set will have the

same abscissas as the template, and the interpolated values of y.

Many of the math functions in XYPLOT will work on data regardless of

whether the abscissas are uniformly spaced or not. One exception is the

Fast Fourier Transform.

Appendix A  The Initialization File

Various options can be selected at startup by listing them in a file

called xyplot.ini. The path to the initialization file and the XYPLOT

programs should be specified by the following statements in the

autoexec.bat file on the boot drive of your computer

set xypini = c:\xyplot

path c:\dos;...;c:\xyplot

The initialization file must be named xyplot.ini. A sample file is

included on the distribution diskette and you can edit this with any

text editor. It contains statements to identify the type of graphics

display, plot and window colors, default plotting symbol, and other

options. An exclamation point, ! at the beginning of a line denotes a

comment; this line is ignored. The following options may be specified:

screen = vga    specifies the graphics mode. See Appendix B for

a list of recognized modes.

monochrome      disables colors.

plot colors  = n1, n2, ... , n9   specifies the colors of the

9 possible plots. See Appendix B for a list of

colors and their numerical codes.

window colors = k1, k2, k3, m1, m2, m3, n1, n2, n3

Each group of three numbers selects the colors

of a window: the directory, header, and

file-viewing windows, respectively. In each

group, the first number is the background color,

the second is the foreground color, and the third

is the auxiliary color. See Appendix B for a list

of display colors and their numerical codes.

symbol = line   selects the default plotting symbol that will be

used automatically. Acceptable entries are line,

point, line+point, and stick.

grid = on       defines whether the grid appears automatically.

mouse = off     means that you do not use a mouse. A mouse will be

automatically detected if it is present. This

setting tells XYPLOT not to use the mouse unless

you request it by pressing M.

save = header, exponential, space

defines the default format for saving data files.

The possible entries are

header, no header;

floating point, exponential, integer;

space, comma.

Here is a sample initialization file:

[Beginning of file]

! Sample initialization file for XYPLOT

screen = vga

symbol = line+point

grid = on

plot colors = 10,12,11,13,14,15,6,9,8

save = comma

[End of file]

Appendix B  Display Modes and Colors

This Appendix includes the technical information you need to modify the

file XYPLOT.INI. The following table lists the graphics adapters

supported by XYPLOT. The keyword is the text that must be assigned to a

setting, for example

screen = egalo

that informs the program what mode you want the adapter to employ. The

possible adapters are the standard ones: CGA, EGA, MCGA, and VGA. Super

VGA is supported only in VGA mode.

A VGA card is capable of running all of the modes. The modes whose

keywords end in lo are 40-column screen modes. The mouse is not

supported for these modes. Consult the manual for your computer system

to determine the graphics adapter it has. XYPLOT will give you an error

message if you specify a graphics mode not supported by your system. If

you are in doubt, try VGA first.

Screen       Number of

Keyword     Requires		Resolution      Colors

_______________________________________________________

cgalo           CGA             320 x 200          4

cga             CGA             640 x 200         (2)

egalo           EGA <64K        320 x 200         16

egamed          EGA  64K        640 x 200         16

ega             EGA 128K        640 x 350         16

egamono         EGA monochrome  640 x 350         (2)

mcgalo          MCGA            320 x 200        256

mcga            MCGA            640 x 480         (2)

vga             VGA             640 x 480         16

Table B.1  Graphics Adapter Modes

The following table gives the correspondence between numbers and colors

for use in the initialization file.

Number         Color

0             Black

1             Dark Blue

2             Dark Green

3             Dark Cyan

4             Dark Red

5             Dark Magenta

6             Brown

7             White

8             Gray

9             Blue

10             Green

11             Cyan

12             Red

13             Magenta

14             Yellow

15             Bright White

Table B.2 Color numbers for use in Initialization File.

Appendix C  Setup From Windows

From the Windows Program Manager, open the Applications group. Pull down

the File menu and choose New. Choose Program Item and specify the

program properties.

For example, if XYPLOT resides in the directory c:\xyplot, the following

properties would be specified.

Description:            xyplot

Command Line:           c:\xyplot\xyplot.exe

Working Directory:      (desired directory or leave blank)

Choose a suitable icon from the list.

You may also run XYPLOT from the File Manager. If you use workspace

files a lot, the Windows Associate feature will allow you to double

click on an xsp file to start up XYPLOT with the selected workspace

already loaded. To do this, you must first create an association between

files with an extension of xsp and the program xyplot.exe. Consult your

Windows User's Guide for more information.

Appendix D  Programs to Create XYPLOT Data Files

Simple programs are included here to provide an example of how to create

data files from QuickBasic, Fortran, and C for use with XYPLOT.

D.1  QuickBasic

'

' Sample QuickBasic program to write XYPLOT style

'   data set file.

'

DIM X(100), Y(100)

NPTS = 100

'

' Generate sample data

'

FOR J = 1 TO NPTS

X(J) = J - NPTS/2 - 1

Y(J) = X(J)^3 / 500

NEXT J

'

' Open file for output

'

OPEN "XYFILE.DAT" FOR OUTPUT AS #1

'

'  Write a header

'

PRINT #1, "/*"

PRINT #1, "Sample data file."

PRINT #1, "*/"

'

'  Write x, y pairs

'

FOR J = 1 TO NPTS

PRINT #1, X(J), Y(J)

NEXT J

'

' Close output file

'

CLOSE #1

END

D.2  Fortran

C

C  Sample FORTRAN program to write XYPLOT style

C    data set file.

C

REAL X(100), Y(100)

NPTS = 100

C

C  Generate sample data.

C

DO J = 1, NPTS

X(J) = SNGL(J - NPTS/2 - 1)

Y(J) = X(J)**3 / 500.

END DO

C

C  Open output file

C

OPEN(UNIT=22,FILE='XYFILE.DAT', ACCESS='SEQUENTIAL')

C

C  Write a header

C

WRITE (22, 10)

10   FORMAT('/*')

WRITE (22, 20)

20   FORMAT('Sample data file.')

WRITE (22, 30)

30   FORMAT('*/')

C

C  Write x, y pairs

C

DO J = 1, NPTS

WRITE (22, *) X(J), Y(J)

END DO

C

C  Close output file

C

CLOSE(22)

END

D.3  C

/*

Sample C program to write XYPLOT style

data set file.

*/

#include <stdio.h>

main ()

{

float x[100], y[100];

int npts, j, k;

FILE *fp;

/* Generate sample data */

npts = 100;

for (j = 0; j < npts; ++j) {

x[j] = (float) (j - npts/2);

for (y[j] = 1., k = 1; k <= 3; y[j] *= x[j], ++k)

;

y[j] /= 500.;

}

/* Open file for output */

fp = fopen ("XYFILE.DAT", "w");

/* Write a header */

fprintf (fp, "/*");

fprintf (fp, "\nSample data file.");

fprintf (fp, "\n*/");

/* Write x, y pairs */

for (j = 0; j < npts; ++j)

fprintf (fp, "\n%f  %f", x[j], y[j]);

/* Close output file */

fclose (fp);

}

References

[1] P.R. Bevington,  Data Reduction and Error Analysis for the Physical

Sciences, (McGraw-Hill, New York, 1969).

[2] W.H. Press, B. P. Flannery, S. A. Teukolsky and W. T. Vetterling,

Numerical Recipes: The Art of Scientific Computing, Cambridge

University Press, Cambridge, 1986).

[3] A. Savitzky and M.J.E. Golay, Smoothing and Differentiation of Data

by Simplified Least Squares Procedures, Analytical Chemistry, 36,

(1964).