Utility software diskette program descriptions:

TERMINAL.EXE  -  Terminal program to transmit and receive ASCII data

thru selected communications port. COM1: or COM2:

supportted and baud rates are 300 to 115.2K baud.

TERMINAL.PAS  -  Turbo Pascal source code for TERMINAL.EXE. Compatible with

Turbo Pascal version 4.0 or greater.

REPEATRD.PAS  -  Turbo Pascal program that continuously transmits commands

to a module until a key is pressed. This program is

intended for illustration purposes only and utilizes

procedures and functions from the Turbo Pascal file

COMANDS.PAS.

COMANDS.PAS   -  Turbo Pascal unit that contains procedures and functions

that will read and write analog and digital values to

modules.

TIME.PAS      -  Turbo Pascal time and date string handling routines for

general purpose usage.

RS_232.PAS    -  Turbo Pascal unit that handles all RS-232 communications

for TERMINAL.EXE and other Turbo Pascal programs on disk.

RS-232.C      -  Terminal program to transmit and receive ASCII data

thru selected communications port. Program is written in

Turbo C and contains the necessary RS-232 functions to

build a larger application program.

TERMASC.BAS   -  BASIC program that will transmit and receive ASCII

strings thru selected communications port. Program also

outlines how to control the RS-232 Request to Send(RTS)

signal if required by RS-485 communications cards.

MODEMPRG.BAS  -  BASIC program that outlines the required steps to dial

a 1200 baud modem. Program will request 5 data samples

from a remote device whose address is ASCII character 1.

LOGDATA.BAS   -  BASIC program located on the D1000 data sheet. This

program will log X number of readings from a device and

file the data to disk. The data stored to diskette may

also be recalled.

HIBAUDS.BAS   -  BASIC program that illustrates how to run an IBM-PC,

or clone, serial port up to 38.4K baud.

RADIOMOD.BAS  -  BASIC program that illustrates how to communicate with

remote devices thru radio modems. Request-to-Send(RTS)

and Clear-to-Send(CTS) support is provided. Program will

prompt for command that will be continuously transmitted

to device(typically '$1'). Program will also prompt

for serial communications port COM1: or COM2:.