SCANNING SOFTWARE 3.0 FIXES:

06-01-92 (VERSION 3.01 Reflects the following changes)

a. If a analog or digital input was specified in graphics

screen and that channels scan interval was 0 seconds

the program would terminate prematurely.

b. Some channels were not properly displayed on text screens when

other analog or digital channels in the database contained

scan intervals of 0 seconds.

03-22-93 (VERSION 3.02 Reflects the following changes)

a. The analog channels configured as Event Counters (using RE command)

improperly parsed response data. The single units digit in the

device response was previously cut-off. This problem has been

fixed.

b. The logged data storage method APPEND/OVERWRITE always appended

new data to the end of an existing file. Previously when file

'OVERWRITE' was selected, a prompt was displayed to append data

or actually overwrite a file before data logging began. A NO

response was to OVERWRITE the old data file. However, a code

error never allowed the OVERWRITE. This problem has been fixed

and the OVERWRITE selection will NO longer prompt before the

actual overwrite and storage occurs.

c. The menu system and some editting screens have been modified to

fill screens using coordinates larger that 80 columns by 25 rows.

d. The program did not report DISK FULL error messages when writing

program configuration data to disk. Disk errors are now reported

as disk write errors are encountered.

e. The 'Reports' PREPARE PRINTER prompt previously indicated "Press

any key when ready, <ESC> for menu" when the program would only

accept the "<ENTER>" key to continue. The screen prompt has been

changed to indicate "Press <ENTER> when ready, <ESC> for menu".

f. The analog input GAIN and OFFSET terms were interchanged in the

formula used to calculate the actual analog value. The equation

now computes analog values as follows:

Analog Value = (Module Response + Offset) * Gain

g. The linegraph(s) X-Axis could potentially be overwritten during

data logging. This was due to round-off errors and has been fixed.

h. Graphics screens specified as the first data logging screen with

no graphics driver files (*.BGI) located on disk by the program

would cause premature program termination.

08-11-93 (VERSION 3.03 Reflects the following changes)

a. The software would randomly stop scanning modules in an RS-232

daisy-chain configuration. This software bug has been repaired.

11-12-93 (VERSION 3.04 Reflects the following changes}

a. The Reports output to printer would incorrectly load the stored

tag names when printing "Logged Data". The error was only visible

if more than 11 tagnames were stored in the data file.

b. Addition of command line software switch to change the program video

attributes to acceptable values for laptop and notebook style

computers with LCD displays. To use the program with the correct

video attributes for LCD displays type: 100030 /L and press <ENTER>.

c. Allowable numeric entry values for "Host Tx Delay" and

"Host Rx Delay" has been expanded from 3500 (3.5 Sec) to 7500

(7.5 Sec).

d. Printout of "Hardware Info" would randomly fail with a large number

of channels in database.

11-15-94 (VERSION 3.05 Reflects the following changes)

a. Peak and Valley values are both initialized to first reading

received from module at the beginning of each data acquisition run.

06-06-95 (VERSION 3.06 Reflects the following changes)

a. Alarm indications to printer now include the date on which the

alarm condition occured.

01-04-96 (VERSION 3.07 Reflects the following changes)

a. RS-232 daisy-chained module values would sometimes switch at the

crossing of midnight on the computer clock. Meaning that channel

number one data values would be displayed in channel number two

position, or visa-versa.

b. Better parsing and error checking of received data values.

c. Event counter channel (RE) VALLEY values initialized to ZERO.