TDS Rear Interface Comparison

| Feature | TDS300 | TDS400 | TDS520A TDS620A | TDS524A | TDS540A TDS640A | TDS544A TDS644A | TDS820 | TLS216 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A Trigger out | No | No | No | No | Yes | Yes | No | Yes |
| B Trigger out | No | No | No | No | Yes | Yes | No | Yes |
| Ext. Trigger in | No | Yes | No | No | Yes | Yes | No | Yes |
| Channel 3 out | No | No | No | No | Yes | Yes | No | No |
| GPIB Interface | Option 14 | Standard | Standard | Standard | Standard | Standard | Standard | Standard |
| RS-232 Interface | Option 14 full talk/listen | Opt. 13 hardcopy only | Opt. 13 hardcopy only | Standard hardcopy only | Opt. 13 hardcopy only | Standard hardcopy only | Opt. 13 hardcopy only | Standard hardcopy only |
| Centronics Int. | Option 14 full talk/listen | Opt. 13 hardcopy only | Opt. 13 hardcopy only | Standard hardcopy only | Opt. 13 hardcopy only | Standard hardcopy only | Opt. 13 hardcopy only | Standard hardcopy only |
| Analog VGA out | No | Yes, 9-pin | Yes, 15-pin | Yes, 15-pin (Color) | Yes, 15-pin | Yes, 15-pin (Color) | No | Yes, 15-pin (Color) |
| Test Signal out | No | No | No | No | No | No | Yes | No |
| Clock out | No | No | No | No | No | No | Yes | No |
| Printer-pack power | Yes | Yes | No | No | No | No | No | No |
| Floppy disk | No | No | Option 1F | Standard | Option 1F | Standard | No | Standard |
| Advanced Math | No | Option 2F | Option 2F | Standard | Option 2F | Standard | Option 2F | No |