DMMLOG V0.96

This program is used to extend the capabilities of the DMM in the TekScope.

It will log the active measurement of the DMM at a user-defined sample

interval during a user-defined number of samples.

Run 'DMMLOG -?' for commandline options.

To be sure that the THS7X0 communicates with your PC, use the instrument

RS232 default settings AND then set EOL to CR.

Antoon Milatz

Tektronix Holland

NO WARRANTY NO SUPPORT - NO WARRANTY NO SUPPORT - NO WARRANTY NO SUPPORT

NO WARRANTY NO SUPPORT - NO WARRANTY NO SUPPORT - NO WARRANTY NO SUPPORT

NO WARRANTY NO SUPPORT - NO WARRANTY NO SUPPORT - NO WARRANTY NO SUPPORT

NO WARRANTY NO SUPPORT - NO WARRANTY NO SUPPORT - NO WARRANTY NO SUPPORT