## SNHRT
YSI Precision Temperature Group
2670 Indian Ripple Road
Dayton, Ohio 45440-3605 USA
937 427 1231 fax 937 427 1640
FINDING RESISTANCE AND TEMPERATURE USING STEINHART & HART EQUATION
1/T = a + b(Ln R) + c(Ln R)^3, T in degrees Kelvin
Serial No.: | 55031
Fill in temperatures and resistance for basis of calculating a,b,and c.
| Temp C | Resistance | Temp K | LnR
Low | 0 | 29490 | 273.15 | 10.2918
Mid | 12 | 17220 | 285.15 | 9.7538
High | 25 | 10000 | 298.15 | 9.2103
Ln(R1) - Ln(R2) | 0.53798
Ln(R1) - Ln(R3) | 1.0815
(1/T1) - (1/T2) | 0.00015407
(1/T1) - (1/T3) | 0.00030698
Coefficients
a= | 0.0010335
b= | 0.00023846
c= | 1.5895e-07
Solving for R, given T: |  | Resistance | dR/dT | %dR/dT | alpha | beta
Degrees C= | 1 | 28157.2001 | -1298.4853 | -4.6116 | -16446.5796 | 13881.269
Temp K | 274.15
Solving For T, given R:
Ohms= | 28137 | Temp C= | 1.0156
To find resistance -
| Degree C | Resistance | DRDT | alpha | beta
Enter Temp: | 0 | 29490 | -1367.7768 | -16530.5943 | 13906.1954
| 5 | 23463.2106 | -1057.5964 | -16116.562 | 13784.1585
| 10 | 18788.0283 | -823.2747 | -15717.1521 | 13668.3704
| 15 | 15137.3037 | -645.0281 | -15331.6033 | 13558.453
| 20 | 12268.3792 | -508.5296 | -14959.2065 | 13454.0551
| 25 | 10000 | -403.3269 | -14599.3 | 13354.8502
|  | 29490 | -1367.7768 | -16530.5943 | 13906.1954
|  | 29490 | -1367.7768 | -16530.5943 | 13906.1954
|  | 29490 | -1367.7768 | -16530.5943 | 13906.1954
R vs. T Table
Enter Lowest Temperature (C): |  |  | 0
Enter Highest Temperature (C): |  |  | 25
Enter Temperature Increment (C): |  |  | 1
Temperature | Resistance | DR/DT | alpha | beta
0 | 29490 | -1367.7768 | -16530.5943 | 13906.1954
1 | 28157.2001 | -1298.4853 | -16446.5796 | 13881.269
2 | 26891.7454 | -1233.0463 | -16363.1757 | 13856.6054
3 | 25689.901 | -1171.2275 | -16280.3757 | 13832.2013
4 | 24548.1562 | -1112.8119 | -16198.1733 | 13808.0534
5 | 23463.2106 | -1057.5964 | -16116.562 | 13784.1585
6 | 22431.9602 | -1005.3909 | -16035.5354 | 13760.5135
7 | 21451.4849 | -956.0174 | -15955.0872 | 13737.1152
8 | 20519.037 | -909.3094 | -15875.2113 | 13713.9606
9 | 19632.0299 | -865.1105 | -15795.9016 | 13691.0467
10 | 18788.0283 | -823.2747 | -15717.1521 | 13668.3704
11 | 17984.7387 | -783.6647 | -15638.9568 | 13645.9289
12 | 17220 | -746.1519 | -15561.3101 | 13623.7192
13 | 16491.776 | -710.6158 | -15484.206 | 13601.7386
14 | 15798.1472 | -676.9433 | -15407.6389 | 13579.9841
15 | 15137.3037 | -645.0281 | -15331.6033 | 13558.453
16 | 14507.5385 | -614.7707 | -15256.0937 | 13537.1427
17 | 13907.241 | -586.0774 | -15181.1045 | 13516.0503
18 | 13334.8917 | -558.8603 | -15106.6304 | 13495.1733
19 | 12789.0559 | -533.0369 | -15032.6661 | 13474.5091
20 | 12268.3792 | -508.5296 | -14959.2065 | 13454.0551
21 | 11771.5824 | -485.2653 | -14886.2464 | 13433.8087
22 | 11297.457 | -463.1756 | -14813.7806 | 13413.7674
23 | 10844.8613 | -442.1958 | -14741.8043 | 13393.9289
24 | 10412.7157 | -422.2653 | -14670.3123 | 13374.2906
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502
25 | 10000 | -403.3269 | -14599.3 | 13354.8502