Post Beam Checklist for maintenance period

Revised 7/5/00

#### This checklist will be performed after every restricted access to Hall A that maintenance is performed

People checking list _______________________________________________________

Spectrometers

___	NOTE :  LOOK FOR “RADIATION AREA” SIGN and OBEY

___	Install yellow covers on inlets to spectrometers

Target

___	NOTE :  LOOK FOR “RADIATION AREA” SIGN and OBEY

___	Install protective shields over vacuum windows if Cryo target is installed

Power supplies

( from a computer console )

# Electron

___	set current to 0 amps by remote control on Q1

___	set current to 0 amps by remote control on Q2

___	set current to 0 amps by remote control on Q3

___	set current to 0 amps by remote control on Dipole

## Hadron

___	set current to 0 amps by remote control on Q1

___	set current to 0 amps by remote control on Q2

___	set current to 0 amps by remote control on Q3

___	set current to 0 amps by remote control on Dipole

Entrance beam tube

___	NOTE :  LOOK FOR “RADIATION AREA” SIGN and OBEY

Exit beam tube

___	NOTE :  LOOK FOR “RADIATION AREA” SIGN and OBEY

Dump

___	NOTE :  LOOK FOR “RADIATION AREA” SIGN and OBEY

___	Inspect visible areas for water leaks

Hall

___	NOTE :  LOOK FOR “RADIATION AREA” SIGN and OBEY

___	Inspect power supply platforms, spectrometers, and the rest of the Hall, looking for water leaks and cryogenic plumes

___	Man lift and Forklift removed from truck ramp