FAST DUMP							**

TRANSITION LEAD 1 UPPER ALARM			**

TRANSITION LEAD 1 LOWER ALARM			**

TRANSITION LEAD 2 UPPER ALARM			**

TRANSITION LEAD 2 LOWER ALARM			**

UPPER COIL ALARM					**

LOWER COIL ALARM					**

SLOW DUMP							**

UPPER COIL  (T1) OVERTEMP ALARM (8K)		**

LOWER COIL (T4) OVERTEMP ALARM (8K)		**

+ He LEAD FLOW (12 SLM)				**

- He LEAD FLOW (12 SLM)					**

He LEVEL ( 50 %)						**

Please set the +/- He lead flows to alarm state major at less than or equal to 12 SLM, and please set the He level to alrm state major at less than or equal to 50%.